## Input
Enter information into the gray areas.
Project Name:
LGU Name:

## 2.4 Cur. Population - Method 1
Table 2.4. Current Population Analysis Method 1 - Limited Service Area
0
0
Complete the areas shown in gray. Links are toU.S. Census websites for use with the table.
U.S. Census Place or County:
Appendix Reference for U.S. Census Information:
Bedrooms/Dwelling Unita | Dwelling Units | Bedrooms
2 |  | 0
3 |  | 0
4 |  | 0
5 |  | 0
Total Dwelling Units: | 0 | 0
Total Current Population from ACS:
Persons per Dwelling Unit: | #DIV/0!
Dwelling Units in Service Area:
Current Population in Sewershed Service Area: | #DIV/0!
Total Bedrooms/Dwelling Unit: | #DIV/0!
aZero- or one-bedroom dwellings should be included within the 2 bedroom category.

## 2.4 Cur. Population - Method 2
Table 2.4. Current Population Analysis Method 2 - Large Service Area
0
0
Complete the areas shown in gray. Links are to U.S. Census Bureau websites for use with this table.
U.S. Census Place or County:
Appendix Reference for U.S. Census Information:
Total ACS Population:
Persons per Square Mile in LGU:
LGU Land Area (miles2):
WWTP Service Area (miles2):
% of LGU in WWTP Service Area: | #DIV/0!
% of WWTP Service Area in Sewershed Service Area:
Current Population in Sewershed Service Area: | 0

## 2.5 Current Flow
Table 2.5. Current Flow Analysis
0
0
Complete the cells in gray. Some cells have pulldown menus. Please use if present.
Current and Obligated Wastewater Treatment Plant Flow
Average Daily Flow for Most Recent Year (gpd):
Estimated Obligated Average Daily Flow (gpd):
Current Collection System Flow
Current Flow Determination Methodology:
Current Flow Appendix Reference:
Metered Flow
Current Average Daily Flow via Meter | Current Average Daily Flow at WWTP | Percentage of Flow to WWTP from Sewershed
(gpd) | (gpd)
0
Pump Runtime
Pump Rate Times (gpm):
Pump Runtime (hrs/day):
Current Flow (gpd):
North Carolina 2T Standards
Is flow data available:
If Yes, Peak Hour Flow Rate (gpd):
If Yes, Average Daily Flow (gpd):
If No, select Current Population Methodology Used:
Current Population:
Peaking Factor: |  | #VALUE!
Average Daily Flow (gpd):
| Peak Flow (gpd): | #VALUE!

## 3.1 Future Population
Table 3.1. Future Population Analysis
0
0
Complete the cells in gray. Note that some cells may contain pulldown menu. If so, please use pulldown menus to select data.
Current Population Methodology: |  |  | Method 2 - Large Service Area |  |  | SDC Data Appendix Reference:
Current LGU Population: |  |  | 0 |  |  | County Name:
Current Sewershed Service Area Population: |  |  | 0 | Current Year County Population:
Percentage of LGU Population in County: |  |  | #DIV/0! |  |  | Percentage of Service Area in LGU: | #DIV/0!
|  | State Data Center |  |  | Alternate Data Source:
| Year | County Population | LGU Population | Sewershed Service Area Population | County Population | LGU Population | Sewershed Service Area Population
1 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
2 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
3 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
4 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
5 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
6 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
7 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
8 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
9 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
10 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
11 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
12 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
13 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
14 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
15 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
16 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
17 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
18 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
19 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
20 |  |  | #DIV/0! | #DIV/0! |  |  | #DIV/0!
If using an alternative source of data, provide a justification for use of this data below and provide supporting information in an appendix of the ER/EID.
Appendix Reference:

## Flow (hidden)
Metered | WWTP Only |  | Method 1 - Limited Service Area | Yes | SDC
Pump Runtime | WWTP & Water |  | Method 2 - Large Service Area | No | Other
North Carolina 2T Standards
0.1
70
15

## 3.2 Future Flow
Table 3.2. Future Peak Flow Analysis
0
0
Complete the table by filling in the gray boxes. Use the pulldown menus when supplied.
Appendix Reference:
Current Flow Estimation Method:
Alternative Population Methodology Used?
Alternative Flow Projections Used?
Current Flow (gpd):
Year 20 Flow Projection Via Alternative Flow Projection Method:
Other Flowa(gpd) (if applicable):
Peaking Factor:
Year 20 Average Daily Flow Projection (gpd): |  | #DIV/0!
Year 20 Peak Flow Projection (gpd): |  | #DIV/0!
Provide a justification for the peaking factor utilized in this calculation.
aMay consist of Industrial or other known on-residential or non-commercial flow.

## 3.3 Downstream Analysis
Table 3.3. Downstream Analysis
0
0
Enter information into the gray cells. Where appropriate, use pulldown menus to select information.
Projected Peaking Factor for WWTP: |  |  | Current Average Daily Flow at WWTP (gpd): |  |  | 0
| WWTP Service Area Current Population: |  | WWTP Service Area Year 20 Population:
| Other Flowa (if applicable): |  | WWTP Permitted Flow (gpd):
Downstream Sewer Capacity
| Project Sewershed | Downstream Sewershed A | Downstream Sewershed B | Downstream Sewershed C | Downstream Sewershed D | Downstream Sewershed E
Year 20 Projected Peak Flow (gpd): | #DIV/0!
Downstream Sewer Capacity (gpd):
| Does Downstream Sewer have enough capacity? | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
WWTP Capacity
| Year 20 WWTP Average Daily Flow (gpd): | 0 | Percent Permitted Flow Used: |  |  | #DIV/0!
If the downstream sewer does not have enough capacity, discuss what plans the Applicant has to ensure that capacity will be available in the future.
Provide a brief discussion of how the current and future WWTP service area populations were obtained.
Provide a justification of the peaking factor used for the WWTP.
If the percentage of permitted flow exceeds 100 percent, discuss any plans that the Applicant has for expanding its WWTP to handle projected flows.