## metal-cwf calc_ Example
SIU NAME (POTW)= CDC (Rocky Mount) |  | 6/23/98; from synopsis/application
COMBINED WASTESTREAM FORMULA CALCULATIONS PERFORMED by DRF of DWQ Pretreatment Unit using data from source listed above
1.A. GET FLOWS FROM SIU/POTW DATA
REGULATED WASTEFLOWS, gpd: | 27000
UNREGULATED WASTEFLOWS, gpd:
DILUTION WASTEFLOWS, gpd: | 45000
2. DERIVE CWF RATIO
TOTAL WASTEFLOWS, gpd: | 72000
CWF RATIO = (TOTAL FLOW - DILUTION FLOW) / TOTAL FLOW = |  |  | 0.375
|  | ALTERNATIVE |  | ALTERNATIVE
| CATEGORICAL | CATEGORICAL | CATEGORICAL | CATEGORICAL
| DAILY MAXIMUM | DAILY MAXIMUM | MONTHLY AVERAGE | MONTHLY AVERAGE
PARAMETER | LIMIT, MG/L | LIMIT, MG/L | LIMIT, MG/L | LIMIT, MG/L
CADMIUM (Existing Sources) | 0.69 | 0.25875 | 0.26 | 0.0975
CADMIUM (New Sources) | 0.11 | 0.04125 | 0.07 | 0.02625
CHROMIUM | 2.77 | 1.0388 | 1.71 | 0.64125
COPPER | 3.38 | 1.2675 | 2.07 | 0.77625
LEAD | 0.69 | 0.25875 | 0.43 | 0.16125
NICKEL | 3.98 | 1.4925 | 2.38 | 0.8925
SILVER | 0.43 | 0.16125 | 0.24 | 0.09
ZINC | 2.61 | 0.97875 | 1.48 | 0.555
CYANIDE, TOTAL | 1.2 | 0.45 | 0.65 | 0.24375
TTO | 2.13 | 0.79875
1. B. GET APPLICABLE CATEGORICAL STANDARDS
3. MULITPLY RATIO TIMES STANDARD TO GET ALTERNATIVE STANDARDS
4. THE LIMITS APPLIED IN THE PERMIT CANNOT BE LARGER THAN THESE VALUES

## metal-cwf calc
SIU NAME = SIU Name HERE |  |  | DATE:
POTW NAME = Your POTW Name HERE
COMBINED WASTESTREAM FORMULA CALCULATIONS PERFORMED using data from source listed above.
REGULATED WASTEFLOWS, gpd:
UNREGULATED WASTEFLOWS, gpd:
DILUTION WASTEFLOWS, gpd:
TOTAL WASTEFLOWS, gpd: | 0
CWF RATIO = (TOTAL FLOW - DILUTION FLOW) / TOTAL FLOW = |  |  | #DIV/0!
|  | ALTERNATIVE |  | ALTERNATIVE | Actual Industrial | Actual Industrial
| CATEGORICAL | CATEGORICAL | CATEGORICAL | CATEGORICAL | User Permit | User Permit
| DAILY MAXIMUM | DAILY MAXIMUM | MONTHLY AVERAGE | MONTHLY AVERAGE | DAILY MAXIMUM | MONTHLY AVERAGE
PARAMETER of Concern | LIMIT, mg/l | LIMIT, mg/l | LIMIT, mg/l | LIMIT, mg/l | LIMIT, mg/l | LIMIT, mg/l
|  | #DIV/0! |  | #DIV/0!
|  | #DIV/0! |  | #DIV/0!
|  | #DIV/0! |  | #DIV/0!
|  | #DIV/0! |  | #DIV/0!
|  | #DIV/0! |  | #DIV/0!
|  | #DIV/0! |  | #DIV/0!
|  | #DIV/0! |  | #DIV/0!
|  | #DIV/0! |  | #DIV/0!
|  | #DIV/0! |  | #DIV/0!
|  | #DIV/0! |  | #DIV/0!
Note: Name the file using the date. This will allow you to track the version of the file.