Anti-Static Device Requirement for Total and Total Dissolved Residue Policy

(NC WW/GW LC Branch 6/7/2021)

Plastic type bags have been known to hold a static charge, which may cause weight fluctuations on an analytical balance.  When using StableWeigh™, or equivalent bags for Total and/or Total Dissolved Residue, anti-static devices must be in place.  This is important for achieving the method specified constant weight requirement of ± 0.5mg.