# Corrective Action Plan (CAP) Form

A Corrective Action Plan is a report, due within 10 business days of the date of the unacceptable PT letter from your auditor, detailing what the laboratory intends to investigate in terms of troubleshooting an existing out-of-control event, nonconformity, or undesirable condition and what possible corrective actions might be taken for each troubleshooting scenario. A good Corrective Action Plan addresses and documents the following:

- the existing problem – describe the problem referencing specific data and dates,

- the anticipated root cause of the problem,

- possible corrective actions that may be taken to correct the problem prevent recurrence,

- anticipated implementation dates of possible corrective actions, and

- data that required qualification or rejection as a result of this problem.

The format of this report is up to the individual laboratory. It may be written in a narrative format, entered into a table or documented on a template form. An example CAR form is given below.

# Example Corrective Action Plan Report Form

| Lab Name | Corrective Action Plan (CAP) Report |
| --- | --- |
|  | Document Control #: |
|  | Effective Date: |
| Non-conformance type: | Sampling Sample Receiving Proficiency Testing Calibration Analysis QC External Audit Other: |
| CAP Initiated by: | Date Initiated: |
| Description of Non-conformance: |  |
| Description of Suspected Root Cause: |  |
| Proposed Corrective Actions to Prevent Recurrence: |  |
| Sample Data Requiring Qualification/Rejection: |  |
| Follow-up Investigation/Continuous Monitoring: |  |
| Supporting Documents Attached: Yes No |  |