# Corrective Action Response (CAR) Form

A Corrective Action Response (CAR) report details the ultimate measures taken that effectively eliminated an existing out-of-control event, nonconformity or undesirable condition and is believed will prevent the recurrence of the situation. A good Corrective Action Response addresses and documents the following:

- the existing problem – describe the problem referencing specific data and dates,

- the root cause of the problem,

- corrective actions taken that corrected the problem and actions taken to prevent recurrence,

- future monitoring to check resolution – describe quality of data after corrective action

- implementation referencing specific data and dates – is further corrective action needed, and

- data that required qualification or rejection as a result of this problem.

The format of this report is up to the individual laboratory. It may be written in a narrative format, entered into a table or documented on a template form. An example CAR report form is given below.

# Example Corrective Action Response Report Form

| Lab Name | Corrective Action Report (CAR) |
| --- | --- |
|  | Document Control #: |
|  | Effective Date: |
| Non-conformance type: | Sampling Sample Receiving Proficiency Testing Calibration Analysis QC External Audit Other: |
| CAR Initiated by: | Date Initiated: |
| Description of Non-conformance: |  |
| Description of Root Cause Analysis: |  |
| Corrective Actions Taken to Prevent Recurrence: |  |
| Sample Data Requiring Qualification/Rejection: |  |
| Follow-up Investigation/Continuous Monitoring: |  |
| Corrective Action Successful: Yes No |  |
| Supporting Documents Attached: Yes No |  |
| Date CAR Closed: |  |