# Fecal Coliform Membrane Filter Culture Positive (NC WW/GW LC Policy 09/22/2016)

A culture positive must be analyzed with each batch of prepared media and once per week for purchased ready-to-use media. A sample volume that yields a countable plate must be analyzed so that individual colonies may be verified to have proper morphology (e.g., color, shape, size, surface appearance).