Correlation Coefficient for Linear Calibration Curves (NC WW/GW LC Policy 12/23/2014)

When linear regression is used, use the minimum correlation coefficient specified in the method. If the minimum correlation coefficient is not specified, then a minimum value of 0.995 (or a coefficient of determination, r2, of 0.99) is required.