## Fluoride Report
Application of Hydrofluosilicic Acid
Water System Name:
Water System Number:
SUPPLEMENTAL FLUORIDATION REPORT FOR THE MONTH OF:
DATE |  |  | DISTRIBUTION SYSTEM FLUORIDE CONCENTRATION (mg/l) |  | COMMENTS
/ 01 / 20
/ 02 / 20
/ 03 / 20 | / 03 / 20 | / 03 / 20
/ 04 / 20 | / 04 / 20 | / 04 / 20
/ 05 / 20 | / 05 / 20 | / 05 / 20
/ 06 / 20 | / 06 / 20 | / 06 / 20
/ 07 / 20 | / 07 / 20 | / 07 / 20
/ 08 / 20 | / 08 / 20 | / 08 / 20
/ 09 / 20 | / 09 / 20 | / 09 / 20
/ 10 / 20 | / 10 / 20 | / 10 / 20
/ 11 / 20 | / 11 / 20 | / 11 / 20
/ 12 / 20 | / 12 / 20 | / 12 / 20
/ 13 / 20 | / 13 / 20 | / 13 / 20
/ 14 / 20 | / 14 / 20 | / 14 / 20
/ 15 / 20 | / 15 / 20 | / 15 / 20
/ 16 / 20 | / 16 / 20 | / 16 / 20
/ 17 / 20 | / 17 / 20 | / 17 / 20
/ 18 / 20 | / 18 / 20 | / 18 / 20
/ 19 / 20 | / 19 / 20 | / 19 / 20
/ 20 / 20 | / 20 / 20 | / 20 / 20
/ 21 / 20 | / 21 / 20 | / 21 / 20
/ 22 / 20 | / 22 / 20 | / 22 / 20
/ 23 / 20 | / 23 / 20 | / 23 / 20
/ 24 / 20 | / 24 / 20 | / 24 / 20
/ 25 / 20 | / 25 / 20 | / 25 / 20
/ 26 / 20 | / 26 / 20 | / 26 / 20
/ 27 / 20 | / 27 / 20 | / 27 / 20
/ 28 / 20 | / 28 / 20 | / 28 / 20
/ 29 / 20 | / 29 / 20 | / 29 / 20
/ 30 / 20 | / 30 / 20 | / 30 / 20
/ 31 / 20 | / 31 / 20 | / 31 / 20
Operational Control Range for fluoride is between 0.6 mg/l and 1.0 mg/l.
Distribution System Monitoring: The supplier of water of a public water system that has multiple entry points that are either
NOT all fluoridated or the fluoride level at an entry point to the distribution system is not within the range of 0.6 mg/l to 1.0 mg/l
shall measure the fluoride concentration in the distribution system at least two times per month. One sample per month shall be
a Split Sample and analyzed in accordance to the Split Sample monitoring procedure below. Sample sites shall be rotated
throughout the distribution system at monitoring locations approved for coliform compliance sampling, and sample results
shall be available for review by the Department upon request.
Split Samples: One portion of the Split Sample shall be analyzed by water system personnel and the other portion analyzed by
the North Carolina State Laboratory for Public Health or another laboratory certified to analyze drinking water samples
for fluoride by the North Carolina State Laboratory of Public Health. A supplier of water that has all fluoride samples analyzed
by a laboratory certified to analyze drinking water samples for fluoride by the North Carolina State Laboratory for Public
Health shall not be required to conduct split sampling.
Form completed by: (Print Name) |  |  |  | Signature: |  | Date:
Phone: |  |  |  | Email: |  | System Affiliation: (√ check box)
 Owner or  Responsible person
08/2019