## Form B1
FORM B1
EMISSION SOURCE (WOOD, COAL, OIL, GAS, OTHER FUEL-FIRED BURNER)
REVISED 09/22/16 |  |  | NCDEQ/Division of Air Quality - Application for Air Permit to Construct/Operate | [14 empty] | B1
EMISSION SOURCE DESCRIPTION: | [12 empty] | EMISSION SOURCE ID NO:
CONTROL DEVICE ID NO(S):
OPERATING SCENARIO: |  |  |  |  | ______________ OF ______________ | [7 empty] | EMISSION POINT (STACK) ID NO(S):
DESCRIBE USE: |  |  |  | PROCESS HEAT |  |  |  | SPACE HEAT | SPACE HEAT |  |  |  |  | ELECTRICAL GENERATION
|  |  |  | CONTINUOUS USE |  |  |  | STAND BY / EMERGENCY | STAND BY/EMERGENCY |  |  |  |  | OTHER (DESCRIBE): _________________________________
HEATING MECHANISM: | [5 empty] | INDIRECT |  |  |  | DIRECT | DIRECT
MAX. FIRING RATE (MMBTU/HOUR):
WOOD-FIRED BURNER
WOOD TYPE: |  |  |  | BARK |  | WOOD/BARK |  |  | WET WOOD |  |  | ( ) | DRY WOOD |  |  | OTHER | OTHER (DESCRIBE): ____________
PERCENT MOISTURE OF FUEL:_________________
| UNCONTROLLED | UNCONTROLLED |  |  |  |  | CONTROLLED WITH FLYASH REINJECTION | FLYASH REINJECTION |  |  |  | NO FLYASH REINJECTION |  |  | CONTROLLED W/O REINJECTION
FUEL FEED METHOD: | [10 empty] | HEAT TRANSFER MEDIA: |  |  | STEAM AIR OTHER (DESCRIBE) _________________
COAL-FIRED BURNER
TYPE OF BOILER | [5 empty] | IF OTHER DESCRIBE:
PULVERIZED |  | OVERFEED STOKER |  |  |  | UNDERFEED STOKER |  |  |  |  | SPREADER STOKER |  |  |  | FLUIDIZED BED
c WET BED |  |  | UNCONTROLLED |  |  |  | UNCONTROLLED |  |  |  | UNCONTROLLED | [5 empty] | CIRCULATING
c DRY BED |  |  | CONTROLLED |  |  |  | CONTROLLED |  |  |  | FLYASH REINJECTION | [5 empty] | RECIRCULATING
NO FLYASH REINJECTION
OIL/GAS-FIRED BURNER
TYPE OF BOILER: |  |  |  |  | UTILITY |  | INDUSTRIAL |  |  |  | COMMERCIAL |  |  |  | INSTITUTIONAL
TYPE OF FIRING: |  |  |  |  | NORMAL |  | TANGENTIAL |  |  |  | LOW NOX BURNERS |  |  |  | NO LOW NOX BURNER
OTHER FUEL-FIRED BURNER
TYPE(S) OF FUEL: ____________________________ PERCENT MOISTURE: _____________
TYPE OF BOILER: |  |  |  |  | UTILITY |  | INDUSTRIAL |  |  |  | COMMERCIAL |  |  |  | INSTITUTIONAL
TYPE OF FIRING: ________________ | [6 empty] | TYPE(S) OF CONTROL(S) (IF ANY): ___________________________________________________________
FUEL USAGE (INCLUDE STARTUP/BACKUP FUELS)
[9 empty] | MAXIMUM DESIGN | [5 empty] | REQUESTED CAPACITY
FUEL TYPE |  |  |  |  | UNITS |  |  |  | CAPACITY (UNIT/HR) | [5 empty] | LIMITATION (UNIT/HR)
FUEL CHARACTERISTICS (COMPLETE ALL THAT ARE APPLICABLE)
[9 empty] | SPECIFIC |  |  |  |  | SULFUR CONTENT |  |  | ASH CONTENT
FUEL TYPE | [8 empty] | BTU CONTENT |  |  |  |  | (% BY WEIGHT) |  |  | (% BY WEIGHT)
COMMENTS:
Attach Additional Sheets As Necessary