## Sheet2
Facility Compliance Tracking Checklist revised 11-03-2016
Calendar Year ___________
Are calendar year emissions below exemption threshold? |  |  |  |  | Yes |  | No
Annual Throughput (quantity of materials made or processed) |  |  |  | _______________
(i.e. concrete, asphalt, cotton, woodwaste generated, etc.)
Units (i.e. tons, pounds, bales, etc.) |  |  |  | _______________
Quantity of Fuels Combusted: | Natural Gas |  |  | _______________ |  |  |  |  | ft3
| No. 2 fuel oil | Sulfur Content | _______ | _______________ |  |  |  |  | gallons
| LPG |  |  | _______________ |  |  |  |  | gallons
| Wood |  |  | _______________ |  |  |  |  | tons
Link to NSPS and NESHAP rule guidance:
http://deq.nc.gov/about/divisions/air-quality/air-quality-permits/specific-permit-conditions-regulatory-guide
NSPS Dc subject boilers:
Does fuel oil contain > 0.5% sulfur? |  |  |  |  | Yes |  | No |  | N/A
Was report submitted semi-annually? |  |  |  |  | Yes |  | No |  | N/A
Did you conduct timely opacity monitoring for >30mmBtu boilers on fuel oil? |  |  |  |  | Yes |  | No |  | N/A
Rock Quarries
Is updated equipment list and flow diagram on site? |  |  |  |  | Yes |  | No |  | N/A
NSPS Subpart OOO - Quarry
Are crushers, conveyors, and screens in compliance with appropriate VE standard? |  |  |  |  | Yes |  | No |  | N/A
For affected sources, have monthly inspections of spray nozzles been conducted ? |  |  |  |  | Yes |  | No |  | N/A
If required, have performance tests been conducted? |  |  |  |  | Yes |  | No |  | N/A
NESHAP 6J subject boilers:
Date of last biennial/5 yr tune-up? |  |  |  | _____________ |  |  |  |  | N/A
Compliance certification on site? |  |  |  |  | Yes |  | No |  | N/A
NESHAP 4Z / NSPS 4I / NSPS 4J subject engines:
New emergency and non-emergency engines:
Certificate of Conformity on site? |  |  |  |  | Yes |  | No |  | N/A
Does fuel oil contain > 0.0015% sulfur? |  |  |  |  | Yes |  | No |  | N/A
Existing emergency engines:
Date of last oil change/analysis, belt/hose/filter/plugs inspection & maintenance? |  |  |  | _____________ |  |  |  |  | N/A
Number of hours run for non-emergency (includes testing & maintenance)? |  |  |  | _____________ |  |  |  |  | N/A
Existing non-emergency engines using a Diesel Oxidation Catalyst (DOC):
Date of last compliance source test? |  |  |  | _____________ |  |  |  |  | N/A
Notice of testing submitted ≥ 60 days prior to testing? |  |  |  |  | Yes |  | No |  | N/A
Did source test show compliance? |  |  |  |  | Yes |  | No |  | N/A
Does fuel oil contain > 0.0015% sulfur? |  |  |  |  | Yes |  | No |  | N/A
Is temperature continuously recorded and tracked as a 4 hour rolling average? |  |  |  |  | Yes |  | No |  | N/A
Is pressure drop recorded monthly? |  |  |  |  | Yes |  | No |  | N/A
Facility-wide Applicability:
Visible emissions >20% from any sources/devices? |  |  |  |  | Yes |  | No
Any signs of dust leaving property or any complaints? |  |  |  |  | Yes |  | No
Any new sources or control devices added? |  |  |  |  | Yes |  | No
Were they evaluated for permitting? |  |  |  |  | Yes |  | No
Inspection & Maintenance on control devices? |  |  |  |  | Yes |  | No |  | N/A
**The checklist is being provided only as a guidance document. Complying with this checklist does not ensure compliance with the regulations and does not absolve you from ensuring your facility is in compliance with all appropriate air quality regulations.