# North Carolina Department of Environmental Quality

Division of Water Resources, Public Water Supply Section Level 2 Assessment Form for the Revised Total Coliform Rule

(Complete entire form and submit to the Public Water Supply Section’s Rule Manager within 30 days of the Level 2 Assessment Trigger Date)

| Water System Name: | Water System Number: | County: |
| --- | --- | --- |
| Trigger Event [Check the box(es) below that apply] | Level 2 Assessment Trigger Date |  |
| - System had an E.coli Maximum Contaminant Level (MCL) violation | Sample Analysis end date: |  |
| - System had a second Level 1 trigger within a rolling 12-month period | Second Level 1 trigger date: |  |
| - For systems on approved annual monitoring, a Level 1 trigger occurred in two consecutive years | Second Level 1 trigger date: |  |

Review and evaluate each of the listed elements below that typically relate to a water system. Check (√) “Yes” if any potential causes of contamination were identified, or check (√) “No” if none were identified, or check (√) “N/A” if the element is not applicable to this water system. For the “Yes” checked (√) items, describe the issue identified and indicate the corrective action(s) taken or proposed, including date(s). Attach additional pages, if necessary. [Note 1: Deficiencies and RTCR Sanitary Defects are denoted below with applicable codes, for example, (D112). Note 2: Drinking water sample(s) with results “absent” of total coliform bacteria are required to demonstrate completion of corrective actions.]

| 1. ATYPICAL EVENTS | YES | NO | NA | Issue Description | Corrective Actions (include dates) |
| --- | --- | --- | --- | --- | --- |
| a. Weather - Recent heavy precipitation/flooding/snowmelt/drought | ☐ | ☐ | ☐ |  |  |
| b. Power loss (MA11) | ☐ | ☐ | ☐ |  |  |
| c. Fire-fighting event (MA12) | ☐ | ☐ | ☐ |  |  |
| d. Signs of vandalism / tampering / forced entry at water system assets (MA13) | ☐ | ☐ | ☐ |  |  |
| e. Changes in plant operation (TA2) | ☐ | ☐ | ☐ |  |  |
| f. Changes in flow rates (TA3) | ☐ | ☐ | ☐ |  |  |
| g. Plant maintenance / construction activities (TA4) | ☐ | ☐ | ☐ |  |  |
| h. Other (MA1): | ☐ | ☐ | ☐ |  |  |
| 2. DISTRIBUTION SYSTEM MAINTENANCE & OPERATION | YES | NO | NA | Issue Description | Corrective Actions (include dates) |
| a. Temporary pressure loss / low or negative pressure (DA2) | ☐ | ☐ | ☐ |  |  |
| b. Inadequate pressure – pressure in mains is less than 20 psi during peak demand (fire flow design) or pressure is less than 30 psi during peak demand (non-fire flow design) (D105 or D107) | ☐ | ☐ | ☐ |  |  |
| c. Main or service lines – new installation (DA3) | ☐ | ☐ | ☐ |  |  |
| d. Main or service lines – leaks /breaks / repairs (DD2) | ☐ | ☐ | ☐ |  |  |
| e. Mains improperly sized to provide minimum pressure of 20 psi (fire flow design) or 30 psi (non-fire flow design) during peak demand (D102 or D103) | ☐ | ☐ | ☐ |  |  |
| f. Water main / line placed in service without satisfactory bacteriological tests (D120) | ☐ | ☐ | ☐ |  |  |
| g. Dead end mains do not have hydrant or flushing valve with aboveground discharge, protected from contamination (D112) | ☐ | ☐ | ☐ |  |  |

### Water System Name:	Water System Number:

| h. Flushing activity / fire hydrants and/or blow-offs (DA4) | ☐ | ☐ | ☐ |  |  |
| --- | --- | --- | --- | --- | --- |
| i. Improper disinfection of distribution system after flushing and/or leak testing / not disinfected as required by Rule .1003(a) (D119) | ☐ | ☐ | ☐ |  |  |
| j. Unprotected / unapproved cross-connection (D004) | ☐ | ☐ | ☐ |  |  |
| k. Backflow protection devices – Improper operation / not maintained or properly tested (DD3) | ☐ | ☐ | ☐ |  |  |
| l. Hydrants - Sheared, damaged or improperly used hydrants (DA5) | ☐ | ☐ | ☐ |  |  |
| m. Pumps - Improper operation or failure of pumps / repairs (PA2) | ☐ | ☐ | ☐ |  |  |
| n. Valves - Improper operation of valves / valve breakage (DA6) | ☐ | ☐ | ☐ |  |  |
| o. Air-relief or air-vacuum valves – Improper operation / leakage (DA7) | ☐ | ☐ | ☐ |  |  |
| p. Improper surge control (DA8) | ☐ | ☐ | ☐ |  |  |
| q. Low residual disinfectant concentration (<0.2 mg/L free chlorine residual or <1.0 mg/L total chlorine residual) at total coliform sampling sites (DD4) | ☐ | ☐ | ☐ |  |  |
| r. Known bio-film accumulation (DA9) | ☐ | ☐ | ☐ |  |  |
| s. Other (DA1): | ☐ | ☐ | ☐ |  |  |
| 3. STORAGE | YES | NO | NA | Issue Description | Corrective Actions (include dates) |
| a. Tank – Not disinfected properly in accordance with AWWA Standard C-652 or Rule .1003 or an approved method by the Department (F004) | ☐ | ☐ | ☐ |  |  |
| b. Tank - Elevation not adequate to produce a designed minimum distribution system pressure of 20 psi (fire flow) or 30 psi during peak flow (F115) | ☐ | ☐ | ☐ |  |  |
| c. Tank – Hydropneumatic tank does not have the capacity to maintain a minimum pressure of 30 psi during periods of peak flow (F116) | ☐ | ☐ | ☐ |  |  |
| d. Recent maintenance / observed leaks / repair on tank (FA2) | ☐ | ☐ | ☐ |  |  |
| e. Unsecured facility / unauthorized access allowed (FA3) | ☐ | ☐ | ☐ |  |  |
| f. Vandalism / tampering observed (FA4) | ☐ | ☐ | ☐ |  |  |
| g. Evidence of contamination or potential sources of contamination at or near the facility (FA5) | ☐ | ☐ | ☐ |  |  |
| h. High water age / low disinfectant residual (FA6) | ☐ | ☐ | ☐ |  |  |
| i. Inadequate cleaning and maintenance practices (FA7) | ☐ | ☐ | ☐ |  |  |
| j. Visibly unsanitary conditions - presence of debris / animals / insects / birds / bats etc. in tank or near openings (FD2) | ☐ | ☐ | ☐ |  |  |
| k. Deterioration, rust, holes, etc. in vent, overflow pipe, access hatch, screens, ladders, etc. (FD3) | ☐ | ☐ | ☐ |  |  |
| l. Vent installed improperly (FA8) | ☐ | ☐ | ☐ |  |  |
| m. Hatch not sealed properly (FD4) | ☐ | ☐ | ☐ |  |  |
| n. Improper operation of level control valves, altitude valves, and related appurtenances (FA9) | ☐ | ☐ | ☐ |  |  |
| o. Other (FA1): | ☐ | ☐ | ☐ |  |  |

### Water System Name:	Water System Number:

| 4. SOURCES - GROUNDWATER | YES | NO | NA | Issue Description | Corrective Actions (include dates) |
| --- | --- | --- | --- | --- | --- |
| a. Source – Unapproved / changed / new source added (SA2) | ☐ | ☐ | ☐ |  |  |
| b. Heavy rainfall or flooding (SA3) | ☐ | ☐ | ☐ |  |  |
| c. Well pit with standing water or evidence of flooding / run-off inundation (SD2) | ☐ | ☐ | ☐ |  |  |
| d. Operational changes/ changes in static / pumping levels (SA4) | ☐ | ☐ | ☐ |  |  |
| e. Inadequate or damaged well components – well cap / well seal / well casing / grout seal / pitless adaptor (SD3) | ☐ | ☐ | ☐ |  |  |
| f. Upper terminal of well casing not sealed watertight, with exception of vent pipe (S106) | ☐ | ☐ | ☐ |  |  |
| g. Vent – damaged / unscreened vent (SD4) | ☐ | ☐ | ☐ |  |  |
| h. Vent pipe or vent tube not downward-directed and screened (S107) | ☐ | ☐ | ☐ |  |  |
| i. Threaded hose bibs are not equipped with anti-siphon devices (S110) | ☐ | ☐ | ☐ |  |  |
| j. Potential cross-connections exist at well site (S501) | ☐ | ☐ | ☐ |  |  |
| k. Inadequate concrete slab or well house concrete floor (S108) | ☐ | ☐ | ☐ |  |  |
| l. Unprotected opening in pump / pump assembly (SA5) | ☐ | ☐ | ☐ |  |  |
| m. Nearby potential sources of contamination (SA6) | ☐ | ☐ | ☐ |  |  |
| n. Recent maintenance activity (SA7) | ☐ | ☐ | ☐ |  |  |
| o. New, repaired or reconditioned well was not properly cleaned and disinfected and/or representative bacteriological samples were not found to be free of contamination (S120) | ☐ | ☐ | ☐ |  |  |
| p. Other (SA1): | ☐ | ☐ | ☐ |  |  |
| 5. SOURCES - SURFACE WATER SOURCES | YES | NO | NA | Issue Description | Corrective Actions (include dates) |
| a. Source – Change in source / intake / new source added (SA8) | ☐ | ☐ | ☐ |  |  |
| b. Heavy rainfall or flooding / high raw water turbidity measurements (SA9) | ☐ | ☐ | ☐ |  |  |
| c. Changes in source water quality (lake turnover, algal blooms, etc.) (SA10) | ☐ | ☐ | ☐ |  |  |
| d. Recent maintenance activity (SA11) | ☐ | ☐ | ☐ |  |  |
| e. Other (SA1): | ☐ | ☐ | ☐ |  |  |
| 6. TREATMENT | YES | NO | NA | Issue Description | Corrective Actions (include dates) |
| a. Treatment malfunction or interruption (TD2) | ☐ | ☐ | ☐ |  |  |
| b. Disinfection equipment not provided as specified in approved plans and specifications. Stand-by disinfection equipment is not provided (T110) | ☐ | ☐ | ☐ |  |  |
| c. Minimum residual disinfection concentration at Entry Point not maintained as required (T138) | ☐ | ☐ | ☐ |  |  |
| d. Detectable residual disinfection concentration at water system MRT site not maintained as required (T139) | ☐ | ☐ | ☐ |  |  |
| e. Clogging of filters / media (TA5) | ☐ | ☐ | ☐ |  |  |
| f. Recent maintenance activity on treatment equipment (TA6) | ☐ | ☐ | ☐ |  |  |
| g. Other (TA1): | ☐ | ☐ | ☐ |  |  |

Water System Name:	Water System Number:

| 7. SAMPLING | YES | NO | NA | Issue Description | Corrective Actions (include dates) |
| --- | --- | --- | --- | --- | --- |
| a. Visibly unsanitary sampling site/tap (MA2) | ☐ | ☐ | ☐ |  |  |
| b. Infrequently used sample tap (MA3) | ☐ | ☐ | ☐ |  |  |
| c. Threads on inside of tap (MA4) | ☐ | ☐ | ☐ |  |  |
| d. Treatment device in use after service connection [Point of Entry (POE) or Point of Use (POU)] (MA5) | ☐ | ☐ | ☐ |  |  |
| e. Recent maintenance activity (MA6) | ☐ | ☐ | ☐ |  |  |
| f. Sample tap not disinfected (MA7) | ☐ | ☐ | ☐ |  |  |
| g. Aerator was not removed (MA8) | ☐ | ☐ | ☐ |  |  |
| h. Inadequate tap flushing (MA9) | ☐ | ☐ | ☐ |  |  |
| i. Other (MA1): | ☐ | ☐ | ☐ |  |  |

## Check box if ALL corrective actions have been completed

- Check box if drinking water samples were collected upon completion of corrective actions and the results were “absent” of total coliform bacteria (required to demonstrate completion of corrective actions)

Comments:

| Level 2 Assessment |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Water System Name: |  |  | Water System Number: |  |  |
| Depending on the Person Responsible for Conducting and Documenting the Assessment, Select Option A or B below |  |  |  |  |  |
| - Option A: Assessment Conducted and Documented by State-Approved Party [Complete Section 1 Only] |  | - Option B: Assessment Conducted and Documented by Public Water Supply Section Representative [Complete Section 2 Only] |  |  |  |
| Section 1: Water System Representative Information |  |  |  |  |  |
| Name: |  |  |  |  |  |
| Title: |  |  |  |  |  |
| Name of Firm: |  |  |  |  |  |
| Address of Firm: |  |  |  |  |  |
| Date of On-site Assessment: |  | Assessment Completion Date: |  |  |  |
| Qualification of State-Approved Party: (Complete all that apply) | - NC Certified Operator Number: |  |  | - NC Professional Engineer Number: |  |
| If NC Certified Operator, provide Certification Level: (Check all that apply) | Surface ☐ A ☐ B ☐ C |  | Well ☐ A ☐ B ☐ C ☐ D |  | Distribution ☐ A ☐ B ☐ C ☐ D |
| Public Water System Classification: (Check all that apply) | Surface ☐ A ☐ B ☐ C |  | Well ☐ A ☐ B ☐ C ☐ D |  | Distribution ☐ A ☐ B ☐ C ☐ D |
| Signature: |  |  |  |  |  |
| Phone Number: |  |  |  |  |  |
| Email: |  |  |  |  |  |
| Section 2: Public Water Supply Section Representative Information |  |  |  |  |  |
| Name: |  |  |  |  |  |
| Regional Office: |  |  |  |  |  |
| Date of On-site Assessment: |  | Assessment Completion Date: |  |  |  |
| Signature: |  |  |  |  |  |
| Phone Number: |  |  |  |  |  |
| Email: |  |  |  |  |  |
| Date copy of assessment was sent to Owner via ☐ Email or ☐ Mail: |  |  |  |  |  |
| Please return this form to the Public Water Supply Section at the address below within 30 days of the Level 2 Assessment Trigger Date |  |  |  |  |  |
| 1634 Mail Service Center, Raleigh, North Carolina 27699-1634 |  |  |  |  |  |
| Attention: Total Coliform Rule Manager |  |  |  |  |  |
|  |  | OR |  |  |  |
| Email form to pwss.rtcr@deq.nc.gov |  |  |  |  |  |