**NC Division of Energy, Mineral, and Land Resources**

**Operation & Maintenance Inspection Form – Infiltration Basin**

|  |  |  |
| --- | --- | --- |
| Project name: | Permit number:  SW | Inspection date: |
| Street address: | City: | State and ZIP code: |
| Name of inspector: | Phone number: | Email address: |
| Description of SCM location on the project: | | |
| Signature of Inspector certifying that the information provided in this form is complete and correct: | | |

|  |  |
| --- | --- |
| **Stormwater Collection System and Accessibility** | |
| 1. Swales are free from blockage and erosion. | Yes  No  N/A |
| 1. Grates, gutters, curb openings, and pipes appear free from damage and clogs. | Yes  No  N/A |
| 1. The infiltration basin is accessible for inspection. | Yes  No  N/A |
| **Flow Diversion Structure, Pretreatment, and Inlet(s)** | |
| 1. Grass filter strip is vegetated and free from areas with bare soil (if applicable). | Yes  No  N/A |
| 1. Pretreatment area is free from sediment accumulation and debris. | Yes  No  N/A |
| 1. Flow diversion is free from damage and clogs (if applicable). | Yes  No  N/A |
| 1. Stone verge has less than 3 inches of accumulated sediment (If applicable). | Yes  No  N/A |
| 1. Inlet pipe is free from damage and clogs. | Yes  No  N/A |
| **Basin and Embankment** | |
| 1. Basin surface is dry within 72 hours after a storm event. | Yes  No  N/A |
| 1. Basin & embankment are free from erosion, sediment accumulation, and debris. | Yes  No  N/A |
| 1. Embankment is free from shrubs and trees. | Yes  No  N/A |
| **Outlet Device** | |
| 1. Outlet structure is free from damage, clogs, and erosion. | Yes  No  N/A |
| 1. Emergency spillway/bypass is in good working order. | Yes  No  N/A |
|  | | |
| **Action Plan to address any “Nos” listed above, including dates for completion (for permittee to complete):** | | |
|  | | |