NC Division of Energy, Mineral, and Land Resources

Operation & Maintenance Inspection Form – Permeable Pavement

| Project name: | Permit number: SW | Inspection date: |
| --- | --- | --- |
| Street address: | City: | State and ZIP code: |
| Name of inspector: | Phone number: | Email address: |
| Description of SCM location on the project: |  |  |
| Signature of Inspector certifying that the information provided in this form is complete and correct: |  |  |

| Perimeter of the Permeable Pavement |  |  |
| --- | --- | --- |
| - Surrounding pervious areas are free from bare soil and erosive gullies. | Yes ☐ No ☐ N/A ☐ |  |
| - Drainage from pervious areas is directed away from the pavement. | Yes ☐ No ☐ N/A ☐ |  |
| - There is a sign to inform maintenance staff how to care for the pavement.* | Yes ☐ No ☐ N/A ☐ |  |
| Permeable Pavement Surface |  |  |
| - Pavement is free from rutting, cracking, slumping, or other damage. | Yes ☐ No ☐ N/A ☐ |  |
| - Pavement surface is free from standing water. | Yes ☐ No ☐ N/A ☐ |  |
| - Pavement surface is free from sediment. | Yes ☐ No ☐ N/A ☐ |  |
| - Pavement surface is free from trash and debris. | Yes ☐ No ☐ N/A ☐ |  |
| Observation Well, Underdrains and Outlet Structure |  |  |
| - Observation wells are capped and accessible for inspection. | Yes ☐ No ☐ N/A ☐ |  |
| - Underdrains are empty within 5 days after a storm event (if applicable). | Yes ☐ No ☐ N/A ☐ |  |
| - Outlet structure is free from damage and clogging (if applicable). | Yes ☐ No ☐ N/A ☐ |  |
| * NOTE: Providing a sign is a recommendation, not a requirement. |  |  |  |
| Action Plan to address any “Nos” listed above, including dates for completion (for permittee to complete): |  |  |  |