STATE OF NORTH CAROLINA			Application for Initial Environmental Field-Laboratory Certification

DEPARTMENT OF ENVIRONMENTAL QUALITY

DIVISION OF WATER RESOURCES

WASTEWATER/GROUNDWATER LABORATORY CERTIFICATION BRANCH

____________________________________________________________________________________________				       07/01/2024

INSTRUCTIONS:  	This application is only one part of the Certification process; completing and submitting an application does not constitute Certification. Upon review of the completed application, additional clarifications and documentation may be required. Clarifications and additional requested information received in a timely manner will expedite your application process.   Please complete all applicable parts of this form using a computer or print legibly in ink.

To apply for Field-Laboratory Certification, return a single electronic copy of this form to your assigned auditor OR a single hard copy may be mailed to:

DEQ/DWR Water Sciences Section

Laboratory Certification Branch

1623 Mail Service Center

Raleigh, NC 27699-1623

For additional information, contact the Laboratory Certification program office:

Webpage: 	https://deq.nc.gov/about/divisions/water-resources/water-resources-data/water-sciences-home-page/laboratory-certification-branch/laboratory-certification-contact-information

ANNUAL FEES: 	Annual Certification Fees of $250.00 will be assessed to all Municipal, Industrial, and Other laboratories. Commercial laboratories must pay an annual fee of $500.00. Out-of-State Commercial Field laboratories must pay an annual fee of $750.00.

Do not submit annual fees until you are issued an invoice.

Submit one copy of the Laboratory's Quality Assurance Manual, which must include the following: Established quality control limits (where appropriate to the method) for all requested parameter methods; Standard Operating Procedures (SOPs) for each parameter method for which Certification is requested; A listing of major equipment used in the analytical testing processes; A description of how a documented training program is administered, with completed documentation for all analysts who will be performing compliance testing; A description of how Proficiency Testing is administered.

If the laboratory does not have a single Quality Assurance Manual containing all of the above elements, individual SOPs containing the required information pertinent to each parameter method may be submitted.

Section A:	Facility and Contact Information

Facility Name:

EPA Lab Code:

Contact Person*:													Telephone #, ext.

Contact Person E-Mail Address:

Laboratory Supervisor:												Telephone #, ext.

Laboratory Supervisor E-Mail Address:

Facility Physical Address:								City					State			Zip

Mailing Address:									City					State			Zip

County (NC applicant only):											Fax Number:

Billing Address:									City					State			Zip

Billing Contact Person:													Telephone #, ext.

Billing Contact Person E-Mail Address:

*	For North Carolina Wastewater/Groundwater Laboratory Certification Branch (NC WW/GW LCB) purposes, the Contact Person may also be the Laboratory Supervisor.

Will your laboratory be charging a fee for analytical services?	YES _______	NO________

Proficiency Testing (PT) – Prior to issuance of Certification, this office must receive acceptable PT Sample results from an Accredited PT Sample Provider for each of the methods for which Certification is requested and for which PT Samples are required (i.e., Turbidity, Conductivity, pH, Settleable Residue, Free Available Chlorine and Total Residual Chlorine).  All PT Sample analyses must have occurred within six months of the application date.

Please list all applicable permit number(s) [e.g., NC0001215, NCG680012, WQ0057791] and county location below. Additional sheets may be attached if necessary.

Commercial applicants please fill out Section C.

PERMIT #				PERMIT TYPE:								COUNTY:

PERMIT #				PERMIT TYPE:								COUNTY:

PERMIT #				PERMIT TYPE:								COUNTY:

PERMIT #				PERMIT TYPE:								COUNTY:

PERMIT #				PERMIT TYPE:								COUNTY:

PERMIT #				PERMIT TYPE:								COUNTY:

PERMIT #				PERMIT TYPE:								COUNTY:

If applicable, please list all laboratories that perform analyses for which you have a monitoring requirement but do not perform the analyses in your own laboratory.

This section may not be applicable to Commercial Laboratories.

LABORATORY NAME												NC WW/GW LABORATORY CERT#:

LABORATORY NAME												NC WW/GW LABORATORY CERT#:

LABORATORY NAME												NC WW/GW LABORATORY CERT#:

Section B:	Laboratory Supervisor Information	                    NOTE: An attached resume may be substituted for this section.

Laboratory Supervisor/Operator's Certificate Number:                                               		Grade/Type of Certificate(s):

** If not a Certified Operator, please provide Education level and/or Laboratory experience below.

** Education:  List the College(s), University (ies), or Technical Institute(s) attended, dates of attendance and degree received.

** Experience: List work-related experience, indicating the employer, years of employment, and basic job description. Also, list pertinent licenses, Operator Certification and grade, etc.

Section C:	Commercial Client Contact Information		(Complete this section only if charging a fee for analytical services)

Facility Name								PERMIT #						Type/Grade of Plant

Facility Street Address							City/State						Zip

Facility Name								PERMIT #						Type/Grade of Plant

Facility Street Address							City/State						Zip

Facility Name								PERMIT #						Type/Grade of Plant

Facility Street Address							City/State						Zip

Facility Name								PERMIT #						Type/Grade of Plant

Facility Street Address							City/State						Zip

Facility Name								PERMIT #						Type/Grade of Plant

Facility Street Address							City/State						Zip

Facility Name								PERMIT #						Type/Grade of Plant

Facility Street Address							City/State						Zip

Facility Name								PERMIT #						Type/Grade of Plant

Facility Street Address							City/State						Zip

THIS SECTION MAY BE COPIED AS NECESSARY. PLEASE NUMBER THIS AND ADDITIONAL PHOTOCOPIED PAGES

Section D: 	Analytical Methods and Equipment

Types of Samples Processed (Check all that apply)

- Wastewater Effluent(Domestic)

- Wastewater Effluent(Industrial)

- Groundwater

- Surface Water

- Public Water Supply

- Storm Water

- Reclaimed Water

- Pretreatment

- Other (please specify) _________________________

Parameter methods for which Certification may be requested are listed below. This list is not all inclusive but represents the parameter methods most often requested. Submit a request for additional parameter methods by writing the reference and method number in the “Other” column next to the appropriate parameter.

Method Selection: Please circle each method for which you are requesting Certification and specify the lower reporting limit for Chlorine. If the method does not appear, you may write it in the “Other” column.  Be sure to include the complete method reference.

| Inorganic Analytical Parameters | Technology | EPA Methods | Standard Methods | EPA SW-846 | Other (Include Reference and Method No.) |
| --- | --- | --- | --- | --- | --- |
| Chlorine, Free Available | Amperometric Titration |  | 4500-Cl D-2011 |  |  |
|  | DPD-FAS |  | 4500-Cl F-2011 |  |  |
|  | Spectrophotometric, DPD |  | 4500-Cl G-2011 |  |  |
| Chlorine, Total Residual | Iodometric Titration |  | 4500-Cl B-2011 |  |  |
|  | Back Titration (either end-point) |  | 4500-Cl C-2011 |  | Hach 10025 ULR |
|  | Amperometric Titration |  | 4500-Cl D-2011 |  | Hach 10026 ULR |
|  | Low-Level Amperometric Titration |  | 4500-Cl E-2011 |  |  |
|  | DPD Colorimetric |  | 4500-Cl G-2011 |  | Hach 10014 ULR |
|  |  |  |  |  | Hach 8167 HR |
|  |  |  |  |  | Hach 10070 HR |
|  | DPD-FAS |  | 4500-Cl F-2011 |  |  |
|  | Electrode |  |  |  | Orion Electrode, 1977 |

| Inorganic Analytical Parameters | Technology | EPA Methods | Standard Methods | EPA SW-846 | Other (Include Reference and Method No.) |
| --- | --- | --- | --- | --- | --- |
| Conductivity at 25ºC | Wheatstone Bridge | 120.1, Rev. 1982 | 2510 B-2021 | 9050 A |  |
| Dissolved Oxygen (DO) | Winkler |  | 4500 O C-2021 |  |  |
|  | Electrode |  | 4500 O G-2021 |  | ASTM D888-18 (B) |
|  | Luminescence Based Sensor |  |  |  | ASTM D888-18 (C) |
|  |  |  | SM 4500 O H-2021 |  | Hach 10360 |
|  |  |  |  |  | In-Situ 1002-8-2009 |
| pH | Electrode |  | 4500 H+ B-2021 | 9040 C | USGS I-1586-85 |
|  |  |  |  | 9045 D |  |
|  | Automated Electrode | 150.2 (1982) |  |  |  |
| Residue, Settleable | Volumetric |  | 2540 F-2020 |  |  |
| Salinity | Electrical Conductivity |  | 2520 B-2021 |  |  |
| Sulfite | Titrimetric |  | 4500 SO32- B-2021 |  |  |
| Temperature | Thermometric |  | 2550 B-2010 |  | USGS Method 1975 |
| Turbidity | Nephelometric | 180.1, Rev. 2.0, 1993 | 2130 B-2020 |  | Mitchell M2571, Rev. 1.0 (2008) |
|  |  |  |  |  | Mitchell M2571, Rev. 1.0 (2008) (continuous) |
| VAR Option 5: Aerobic Processes at Greater than 40 °C | Thermometric |  |  |  | EPA/600/R-22/194 |
| VAR Option 6: Addition of Alkali | Electrode |  |  |  | EPA/600/R-22/194 |
| VAR Option 12: Raising the pH of Domestic Septage | Electrode |  |  |  | EPA/600/R-22/194 |

Equipment:  Please list equipment available to perform the selected analyses:

| Analytical Parameter | Equipment | Office Use |
| --- | --- | --- |

Section E:	Authorized Signature

This statement certifies that the information in this application is truthful and accurate, and that the applicant is aware of all regulations regarding the requirements of NC WW/GW Laboratory Certification, 15A NCAC 2H .0800.

Signature of Laboratory Supervisor:													Date

Print Name																							(First)						(M.I.)						(Last)

Revised: 07/01/2024