## chlorine dioxide
|  |  | N.C. Department of Environment and Natural Resources | [9 empty] | Year:
|  |  | Division of Environmental Health, Public Water Supply Section | [9 empty] | Month:
Report of Operation for Chlorine Dioxide / Chlorite
Pulic Water System Name : | [9 empty] | PWS ID Number:
Water Treatment Plant Name: | [9 empty] | Entry Point Location Code:
Lab Certification # (if performed in-house):
| Chlorine Dioxide | [6 empty] | Chlorite
Day | Daily Chlorine Dioxide at Entry Point (mg/L) | Site #1 Location Code | Result (mg/L) | Site #2 Location Code | Result (mg/L) | Site #3 Location Code | Result (mg/L) | Daily Chlorite at Entry Point (mg/L) | First Customer Location Code | Result (mg/L) | Rep Dist Site Location Code | Result (mg/L) | Maximum Res. Time Location Code | Result (mg/L) | Avg. of 3 Sample Set (mg/L)
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) | (9) | (10) | (11) | (12) | (13) | (14) | (15) | (16)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
| Chlorine Dioxide | [6 empty] | Chlorite
| Acute MRDL violation? |  |  | Y | N |  |  |  |  | MCL Violation? | Y | N
| Non Acute MRDL Violation? |  |  | Y | N
[7 empty] | (Date) |  | (Acute / Nonacute) |  |  | How Notice Was Delivered ?
If a chlorine dioxide violation occurred, dates and types of public notification provided: è | [5 empty] | Customer:
Newspaper:
Radio/TV:
Report Certified By: | [9 empty] | Date:
DENR - DBP - 1 (2001; 10/03) |  |  |  |  | (ORC Signature)
Purpose: |  | To report in summary form the results of daily entry point and monthly distribution chlorine dioxide and chlorite analyses collected for the purpose of determining a public water system's compliance status with the chlorine dioxide maximum residual disinfectant level (MRDL), the chlorite maximum contaminant level (MCL) and the monitoring requirements.
Preparation: |  | This report shall be completed each month for each entry point having a treatment plant using chlorine dioxide, reviewed and signed by the operator in responsible charge (ORC) and submitted to the Public Water Supply Section by the tenth (10) day of the following month.
Distribution: |  | One copy should be filed at the water system office as a permanent record with the original mailed to:
Public Water Supply Section
Division of Environmental Health
1634 Mail Service Center
|  |  | Raleigh, NC |  | 27699 - 1634
Instructions for Completing the Form:
In the top section of the report form:
Record the month and year for which the report is being submitted in the top right hand corner of the form. Enter the name of the public water system and include the system's 7- digit public water system identification number.
If the water system has more than one water treatment plant, identify the name of the water treatment plant being reported. Insert the system assigned 3-digit location code for the entry point sampling tap.
If analyses reported were performed by the water system's in-house certified laboratory, provide the laboratory certification number assigned by the N.C. Drinking Water Laboratory Certification Unit as applicable.
In the middle section of the report form:
The date of the month is provided in column (1). The daily chlorine dioxide residual tested at the entry point sampling tap is to be recorded in column (2) in tenths (1 decimal place). If any daily entry point chlorine dioxide test exceeds the maximum residual disinfectant level of 0.8 mg/L, chlorine dioxide testing must be performed the next day in the distribution system at three specific sampling sites. The location of the 3 distribution sample sites is determined by whether the distribution system has booster disinfection provided. If booster disinfection is provided, testing for chlorine dioxide must be performed at the first customer, at a representative location in the distribution system and at the maximum residence time (MRT) location. If booster disinfection is not provided in the distribution system, testing for chlorine dioxide must performed at the first customerevery 6 hours until a total of 3 samples have been collected.
In columns (3), (5) and (7), record the establilshed 3-digit location code for each of the 3 distribution sites designated for chlorine dioxide testing following an entry point chlorine dioxide MRDL exceedance. In either case relating to the booster disinfection, the first test site (column #3) should always be at the first customer. For systems that do not provide booster disinfection in the distribution system, this same location code should be recorded in columns (5) and (7). For systems that do provide booster disinfection in the distribution system, the location code for the representative distribution site would be recorded in column (5) with the maximum residence time location code recorded in column (7). Record the related chlorine dioxide test results in mg/L for each of the 3 sites tested in columns (4), (6) and (8).
In column (9), record the daily chlorite result in mg/L for the sample collected at the entry point tap. For the 3 distribution sites that must be sampled for chlorite (all on the same day) at least once monthly and the next day following any daily entry point chlorite sample MCL exceedance (greater than 1.0 mg/L), record the established 3-digit location code for the first customer tap in column (10). In column (11), record the corresponding chlorite result in mg/L. In columns (12) and (14), record the established location codes for the representative and maximum residence time (MRT) sampling sites, respectively, in mg/L. In columns (13) and (15), record the corresponding chlorite sample results in mg/L for the sample sites reported in columns (12) and (14).
For each 3-sample chlorite set, average the three results and record the value in hundredths (2 decimal places) and mg/L in column (16).
In the bottom section of the report form:
In the area on the left-hand side, circle "yes" or "no" for whether the system had an ACUTE or NONACUTE chlorine dioxide MRDL violation during the month. Acute MRDL violations are required to be reported by the system to the State by the end of the day upon learning of the results for sites tested the next day following an initial MRDL exceedance at the entry point tap.
In the area on the right-hand side, circle "yes" or "no" for whether the system had a chlorite MCL violation during the month. Systems are required to notify the State immediately following a chlorite MCL violation (based on the average of each 3-sample set collected) and have 30 days from receipt of these results to notify the customers by direct mail.
If a chlorine dioxide violation occurred, dates and types of public notification provided: Record the date that public notification was provided and the type. Include whether the MRDL violation was acute or nonacute. In the adjacent section, report how each notice was delivered. (An acute chlorine dioxide MRDL violation requires TIER 1 public notification. A nonacute chlorine dioxide MRDL requires TIER 2 public notification. Refer to the Rules Governing Public Water Systems, Sections .2008 and .1523 for more information).
Report Certified By / Date : The operator in responsible charge of the water treatment plant being reported must certify that the information provided in the report is accurate with a signature and date of review.
Copies of this form may be obtained from the Public Water Supply Section's web site, Raleigh central office and regional offices.
(An e-mail address and versions of Excel 97 or later must be available in order to obtain this form in an Excel file).
Public Water Supply Section
|  |  | 1634 Mail Service Center |  |  |  | (919) 733 - 2321
|  |  | Raleigh, NC |  | 27699 - 1634
Public Water Supply Section Regional Offices:
|  |  | Asheville |  |  | 828-296-4500 |  |  | 2090 U.S. Highway 70, Swannanoa, NC 28778
|  |  | Winston-Salem |  |  | 336-771-5000 |  |  | 585 Waughtown Street, Winston-Salem, NC 27107-2241
|  |  | Mooresville |  |  | 704-663-1699 |  |  | 610 East Center Avenue, Suite 301, Mooresville, NC 28115
|  |  | Raleigh |  |  | 919-791-4200 |  |  | 1628 Mail Service Center, Raleigh, NC 27699-1628
|  |  | Fayetteville |  |  | 910-433-3300 |  |  | 225 Green Street, Suite 714, Fayetteville, NC 28301
|  |  | Washington |  |  | 252-946-6481 |  |  | 943 Washington Square Mall, Washington, NC 27889
|  |  | Wilmington |  |  | 910-796-7215 |  |  | 127 Cardinal Drive Extension, Wilmington, NC 28405-3845