## ozone
|  |  |  | N.C. Department of Environment and Natural Resources |  |  |  |  | YEAR:
|  |  |  | Division of Environmental Health, Public Water Supply Section |  |  |  |  | MONTH:
Disinfectants and Disinfection Byproducts Rule (Ozone Used)
Report of Operation (Bromate/Bromide)
Public Water System Name : | [7 empty] | PWS ID Number:
Water Treatment Plant Name: | [7 empty] | Entry Point Code :
Source Name: | [7 empty] | Source Code:
Lab Certification ID # (if performed in-house) :
| Table 1 |  |  | Monthly Data
|  |  |  | Sample Collection Date | Bromate at Entry Point (mg/L) | Bromide at Source * (mg/L)
Monthly Avg.
Table 2
Quarterly and Running Annual Average Data
[5 empty] | Entry Point Bromate |  |  | Source (Raw Water) Bromide
|  | YEAR |  | Month | Monthly Average (mg/L) | Quarterly Average (mg/L) | Running Annual Average (mg/L) | Monthly Average (mg/L) | Quarterly Average (mg/L) | Running Annual Average (mg/L)
January
February
March
April
May
June
July
August
September
October
November
December
* Monthly Bromide monitoring is only required if seeking or maintaining reduced Bromate monitoring.
|  |  | Current Bromate Monitoring Status : |  |  | Routine [ ] | Reduced [ ]
Report Certified By : | [7 empty] | Date:
(ORC Signature)
DENR - DBP-2 (2001; 10/03)
Purpose: |  |  | To report the results of bromate and bromide samples in summary form for the purpose of reporting a public water system's compliance status with the bromate monitoring and maximum contaminant levels to the N.C. Division of Environmental Health, Public Water Supply Section.
Preparation: |  |  | This report shall be completed each month for each entry point having a treatment plant that uses ozone, reviewed and signed by the operator in responsible charge (ORC) and submitted to the Public Water Supply Section by the tenth (10) day of the following month.
Distribution: |  |  | One copy should be filed at the water system office as a permanent record with the original mailed to:
Public Water Supply Section
Division of Environmental Health
1634 Mail Service Center
|  |  |  | Raleigh, NC | 27699 - 1634
Instructions for Completing the Form:
In the top section of the report form:
Record the month and year for which the report is being submitted in the top right hand corner of the form. Enter the name of the public water system and include the system's 7- digit public water system identification number.
If the water system has more than one water treatment plant, provide the identifying name for the water treatment plant being reported. Insert the system assigned 3-digit location code for the entry point sampling tap.
Insert the name of all raw water sources that were treated at this water treatment plant during the month being reported. Include the State and system assigned 3-digit Source Code for each source or combined sources listed.
If analyses reported were performed by the water system's in-house certified laboratory, provide the laboratory certification number assigned by the N.C. Drinking Water Laboratory Certification Unit.
In the middle section of the report form:
| Refer to Table 1 ê |  | Sample Collection Date: Enter the date of collection (day, month and year) for each of the samples reported for compliance for the month being reported.
Bromate at Entry Point (mg/L) : Enter the bromate sample result from the certified laboratory analysis report for each compliance sample collected at the entry point during the month being reported. Record the result in thousandths (3 decimal places).
Bromide at Source* (mg/L): *Monthly bromide monitoring at the source (raw water) tap is only required if seeking or maintaining reduced bromate monitoring. If optional bromide samples were collected from the source (raw water) tap during the month being reported, enter the date of collection (day, month and year) and the result from the certified laboratory analysis report for each compliance sample collected. Record the result in thousandths (3 decimal places).
Monthly Avg : If more than one bromate or bromide sample was reported for compliance for the month, average the sample results for each and record the value in the shaded block at the bottom of each column. Record the value in thousandths (3 decimal places) and mg/L.
| Refer to Table 2 ê |  | Year: Record the year in the space adjacent to the month being submitted. [Since the report is an ongoing accumulative summary for reporting the system's running annual average and compliance status with bromate, the system must continue to include all data from the previous eleven (11) month's in the report, replacing only the current month's data. At the end of a year of reporting, the Qtr Avg and RAA values for the next quarter may be deleted and filled in upon completing the sampling for the third month of the quarter, leaving all other Qtr Avgs and RAAs intact].
Entry Point Bromate - Monthly Average (mg/L): Record the bromate monthly average from Table 1 in thousandths (3 decimal places).
Entry Point Bromate - Quarterly Average (mg/L): Using the monthly average for the three months of the quarter, calculate the quarter average. Record the value in thousandths (3 decimal places).
Entry Point Bromate - Running Annual Average (mg/L): Using the quarter averages for the past 4 quarters, calculate the bromate running annual average. Record the value in thousandths.
Source (Raw Water) Bromide - Monthly Average (mg/L): Record the bromide monthly average from Table 1 in thousandths (3 decimal places).
Source (Raw Water) Bromide - Quarterly Average (mg/L): Using the monthly averages for the three months of the quarter, calculate the quarter average. Record the value in thousandths (3 decimal places).
Source (Raw Water) Bromide - Running Annual Average (mg/L): Using the quarter averages for the past 4 quarters, calculate the bromide running annual average. Record the value in thousandths.
| Bottom of Form |  | Current Bromate Monitoring Status: Check the appropriate block to reflect the current monitoring status for Bromate.
Report Certified By: The operator in responsible charge of the water treatment plant being reported must certify that the information provided in the report is accurate with a signature and date of review.
Copies of this form may be obtained from the Public Water Supply Section's web site, Raleigh Central Office and regional offices.
(An email address and versions of Excel 97 or later must be available in order to obtain this form in an Excel file).
Public Water Supply Section
|  |  |  | 1634 Mail Service Center |  | (919) 733 - 2321
|  |  |  | Raleigh, NC | 27699 - 1634
Public Water Supply Section Regional Offices
|  |  |  | Asheville | 828-296-4500 |  | 2090 U.S. Highway 70, Swannanoa, NC 28778
|  |  |  | Winston-Salem | 336-771-5000 |  | 585 Waughtown Street, Winston-Salem, NC 27107-2241
|  |  |  | Mooresville | 704-663-1699 |  | 610 East Center Avenue, Suite 301, Mooresville, NC 28115
|  |  |  | Raleigh | 919-791-4200 |  | 1628 Mail Service Center, Raleigh, NC 27699-1628
|  |  |  | Fayetteville | 910-433-3300 |  | 225 Green Street, Suite 714, Fayetteville, NC 28301
|  |  |  | Washington | 252-946-6481 |  | 943 Washington Square Mall, Washington, NC 27889
|  |  |  | Wilmington | 910-796-7215 |  | 127 Cardinal Drive Extension, Wilmington, NC 28405-3845