## TOC
For systems collecting only 1 paired TOC set per month. |  |  | N.C. Department of Environment and Natural Resources Division of Environmental Health, Public Water Supply Section | [7 empty] | Year:
Month:
Disinfectant/Disinfection Byproducts Rule - Treatment Technique
Report of DBP Treatment Technique Compliance
Public Water System Name: | [8 empty] | System PWS ID#:
Source Name: | [8 empty] | Source Code : |  |  |  | * | The items highlighted in yellow have been added since the form was originally developed and distributed in Nov 2001.
Water Treatment Plant Name: | [8 empty] | Treated Code :
Lab Cert ID# (if performed in-house): | [13 empty] | You can remove the color by clicking on the arrow by the paintbrush/bucket above and clicking "No Fill" or click on Format / Cells / Patterns / No Color (with the curser in the cell(s) you want to change).
Table 1 |  |  | TOC Paired Sample Data | [5 empty] | Step 1 or ACC #
|  | Month | Source Water |  | Treated Water TOC (mg/L) | (A) Actual % TOC Removal | (B) Required % TOC Removal | (C) Removal Ratio (A ÷ B) | Method Used to Comply* | Quarter Average | Running Annual Average (RAA) **
|  |  | Alkalinity (mg/L) | TOC (mg/L)
Year
January
February
March
April
May
June
July
August
September
October
November
December
* Insert whether using Step 1, ACC 1, ACC 2, ACC 3, ACC 4, ACC 5, ACC 6 or ACC 7 for the month reported.
** RAA = Running Annual Average, Computed Quarterly
Table 2
|  | Month | Source Water SUVA |  |  |  |  | Finished Water SUVA
|  |  | UV254 (m-1) | DOC (mg/L) | SUVA (L/mg-m) | SUVA | SUVA | UV254 (m-1) | DOC (mg/L) | SUVA (L/mg-m) | SUVA | SUVA
| Year |  |  |  |  | QTR AVG | RAA |  |  |  | QTR AVG | RAA
January
February
March
April
May
June
July
August
September
October
November
December
| STEP 1 - Required % TOC Removals | [5 empty] | Alternative Compliance Criteria (ACC)
| Source Water TOC (mg/L) |  | Source Water Alkalinity ( Mg/L as CaCO3) |  |  |  | ACC 1 | Source Water TOC < 2.0 mg/L
[7 empty] | ACC 2 | Treated Water TOC < 2.0 mg/L
|  |  | 0 - 60 | >60-120 | >120 |  | ACC 3 | Source Water SUVA < 2.0 L/mg-m
| > 2.0 - 4.0 |  | 35.0 % | 25.0 % | 15.0 % | - OR - | ACC 4 | Finished Water SUVA < 2.0 L/mg-m
| > 4.0 - 8.0 |  | 45.0 % | 35.0 % | 25.0 % |  | ACC 5 | Treated Water Alkalinity < 60 mg/L (for softening systems only)
| > 8.0 |  | 50.0 % | 40.0 % | 30.0 % |  | ACC 6 | TTHM & HAA5 RAA's < 1/2 MCL & uses only chlorine
[7 empty] | ACC 7 | Source TOC RAA < 4.0 mg/L and Source Alkalinity RAA > 60 mg/L and TTHM & HAA5 RAAs < 1/2 MCL
Report Certified By: | [8 empty] | Date:
(ORC Signature)
DENR - DBP - 3 (3/02; 10/03)
Purpose: |  | To report a public water system's water treatment plants' precursor removal performance and compliance status with the Disinfectants/Disinfection Byproducts Rule treatment technique to the North Carolina Division of Environmental Health, Public Water Supply Section when only one paired TOC sample set is collected for compliance each month.
Preparation: |  | This report shall be completed each month, signed by the operator in responsible charge of the system and be submitted to the Public Water Supply Section by the tenth (10th) day of the following month.
Distribution: |  | One copy must be filed at the water system office as a permanent record with the original mailed to:
Public Water Supply Section
1634 Mail Service Center
|  |  | Raleigh, NC | 27699-1634
Instructions for completing the form:
In the top section of the report form:
Record the month and year for which the report is being submitted in the top right hand corner of the form. Enter the name of the public water system and include the system's 7- digit public water system identification number.
Insert the name of all raw water sources that were treated at this water treatment plant during the month being reported. Include the State and system assigned 3-digit Source Code for each source or combined sources listed.
If the water system has more than one water treatment plant, provide the identifying name for the water treatment plant being reported. Insert the system assigned 3-digit location code, referred to as the Treated Code, for the combined filter effluent sampling tap.
If analyses reported were performed by the water system's in-house certified laboratory, provide the laboratory certification number assigned by the N.C. Drinking Water Laboratory Certification Unit.
In the middle section of the report form:
* Systems must report the paired TOC/alkalinity sample set results monthly regardless of the method chosen to comply with the treatment technique.
Refer to è Tables 1 & 2 |  | Year: Record the year for the month being reported. [Since the report is an ongoing accumulative summary for reporting the system's running annual average and compliance status with the treatment technique, the system must continue to include all data from the previous eleven (11) month's in the report, replacing only the current month's data. At the end of a year of reporting, the Qtr Avg and RAA values for the next quarter may be deleted and filled in upon completing the sampling for the third month of the quarter, leaving all other Qtr Avgs and RAAs intact].
| Refer to Table 1 ê | Source Water - Alkalinity (mg/L): Record (using whole numbers) the result from the certified laboratory analysis report for the source (raw water) alkalinity sample that was collected at the same time and at the same tap as the source (raw water) total organic carbon (TOC) result reported as part of the "paired set." Note: The term "Source" sample refers to samples collected from a raw water tap, prior to any treatment.
Source Water - TOC (mg/L) : Record in tenths (1 decimal place) the result from the certified laboratory analysis report for the source (raw water) total organic carbon (TOC) sample that was collected at the same time and at the same tap as the source (raw water) alkalinity result reported as part of the "paired set." See note under the Source Alkalinity section for definition of "Source" samples.
Treated Water TOC (mg/L) : Record in tenths (1 decimal place) the result from the certified laboratory analysis report for the treated (combined filter effluent tap) TOC sample that was collected on the same day as the source alkalinity and TOC results reported as part of the "paired set." Note: The term "Treated" sample refers to sample collection within a treatment plant at a tap that is representative of the treated water and occurs no later than the combined filter effluent tap.
(A) Actual % TOC Removal: Calculate the percent of precursor (TOC) removal from the untreated water by the plant's treatment processes by subtracting the treated (combined filter effluent) TOC sample result from the source (raw) TOC sample result. Divide that number by the source TOC sample result and multiply by 100. Record the percent result in tenths (1 decimal place).
(B) Required % TOC Removal: Using the STEP 1 Chart at the bottom of this form, look up the percent TOC removal required for the treatment plant based on the source (raw) water alkalinity and the source (raw) water TOC sample results for the paired sample set reported. Record the required percentage rate from the chart in tenths (1 decimal place).
(C) Removal Ratio: Calculate the ratio of the TOC removed by dividing the actual percent removed [value in column (A)] by the required percent removal [value in column (B)], recording the ratio in hundredths (to 2 decimal places).
Method Used to Comply: If the method used to comply with the treatment technique for the month reported is the Step 1 removal ratio [where as the plant will achieve a removal ratio running annual average (RAA) of at least 1.00], insert "Stp 1." If the method used to comply for the month and as a RAA is one of the Alternative Compliance Criteria (ACC), insert either "ACC 1", "ACC 2", "ACC 3", "ACC 4", etc. Refer to the Alternative Compliance Criteria chart at the bottom of this form. If using either ACC 3 or ACC 4 [Specific ultraviolet absorbance (SUVA)], also record all support data in Table 2 on this form. If using the same ACC to comply for 12 consecutive months, columns (A), (B) and (C) in Table 1 may be skipped. NOTE: If the Step 1 removal ratio is used as the method to comply for at least 6 months out of every 12 months, the system is then allowed the flexibility to use any one of the ACCs for a given month, as needed, in lieu of its actual removal ratio (when its Step 1 removal ratio for the month is exceedingly low). In this case, record all supporting sample data in the appropriate columns, indicate in the "Method Used to Comply" column which ACC was complied with for the month and insert the value of "1.00" in column (C) in order to be able to calculate the quarter average and RAA.
Quarter Average: If using the Step 1 removal ratio as the method to comply, average the Removal Ratio values in column (C) for the three months of the quarter. Record the Step 1 quarter average in hundredths (to 2 decimal places). If using either ACC 1 or ACC 2 to comply for 12 consecutive months, use the values in the source TOC or treated TOC columns, respectively, for the three months of the quarter to calculate the quarter average. Record the ACC 1 or ACC 2 quarterly values in tenths (1 decimal place). If using either ACC 3 or ACC 4 to comply for 12 consecutive months, see the instructions for Table 2 below.
Running Annual Average (RAA): If using the Step 1 removal ratio as the method to comply, average the Removal Ratio quarter averages for the past four quarters. Record the Step 1 RAA in hundredths (to 2 decimal places). If using either ACC 1 or ACC 2 to comply for 12 consecutive months, average the source TOC or treated TOC quarter averages, respectively, for the past four quarters. Record the ACC 1 or ACC 2 RAA in tenths (1 decimal place). If using either ACC 3 or ACC 4 to comply for 12 consecutive months, see the instructions for Table 2 below.
| Refer to Table 2 ê | UV254 (m-1): In the appropriate section of the chart [either under the Source Water (raw) or Finished Water (prior to disinfection)], record [in tenths (one decimal place) and meters to the minus 1] the result from the certified laboratory analysis report for the Ultraviolet 254 (UV254) sample that was collected at the same time and at the same tap as the dissolved organic carbon (DOC) sample value reported.
DOC (mg/L): In the appropriate section of the chart [either as the Source Water (raw) or Finished Water (prior to disinfection) section], record in tenths (one decimal place) the result from the certified laboratory analysis report for the dissolved organic carbon (DOC) sample that was collected at the same time and at the same tap as the UV254 sample value reported.
SUVA (L/mg-m) : Enter either the Source or Finished Water UV254 and DOC sample results in the appropriate columns for the sample type. Calculate the SUVA value for the sample set by dividing the UV254 result by the DOC result. Record the SUVA value in tenths (1 decimal place) as L/mg-m.
SUVA Qtr Avg (L/mg-m) : If using either ACC 3 or ACC 4 as the method to comply for 12 consecutive months, calculate the SUVA quarter average using the value in the "SUVA" column for the three months of the quarter. Record the SUVA quarter average in tenths (1 decimal place) as L/mg-m.
SUVA RAA (L/mg-m) : If using either ACC 3 or ACC 4 as the method to comply for 12 consecutive months, calculate the SUVA RAA using the SUVA quarter averages for the past 4 quarters. Record the SUVA RAA in tenths as L/mg-m.
| Bottom of form | Report Certified By / Date : The operator in responsible charge of the water treatment plant being reported must certify that the information provided in the report is accurate with a signature and date of review.
Copies of this form may be obtained from the Public Water Supply Section's web site, Raleigh Central Office and regional offices.
(An e-mail address and versions of Excel 97 or later must be available in order to obtain this form in an Excel file).
Public Water Supply Section
|  |  | 1634 Mail Service Center |  |  | (919) 733 - 2321
Raleigh, NC 27699-1634
Public Water Supply Section Regional Offices:
Asheville |  | 828-296-4500 | 2090 U.S. Highway 70, Swannanoa, NC 28778 |  |  |  | Fayetteville | 910-433-3300 | 225 Green Street, Suite 714, Fayetteville, NC 28301
Winston-Salem |  | 336-771-5000 | 585 Waughtown Street, Winston-Salem, NC 27107-2241 |  |  |  | Washington | 252-946-6481 | 943 Washington Square Mall, Washington, NC 27889
Mooresville |  | 704-663-1699 | 610 East Center Avenue, Suite 301, Mooresville, NC 28115 |  |  |  | Wilmington | 910-796-7215 | 127 Cardinal Drive Extension, Wilmington, NC 28405-3845
Raleigh |  | 919-791-4200 | 1628 Mail Service Center, Raleigh, NC 27699-1628