###### NORTH CAROLINA DIVISION OF WATER RESOURCES

PRETREATMENT AUDIT REPORT

## Background Information [Complete prior to audit; review Program Info Database Sheet(s)]

1.	Control Authority (POTW) Name:

2.	Control Authority Representative(s):

- Title(s):

- Address of POTW:

Mailing

City             	Zip Code

Phone Number           Fax Number             E-Mail

5.	Audit Date      /     /

6.	Last Inspection Date:      /     /      Inspection Type:    PCI    Audit

7.	Has Program Completed All Requirements from the Previous Inspection and Program Info Sheet(s) ?    Yes      No

If No, Explain.

8.	In the last year has the POTW experienced any NPDES or Sludge Permit compliance problems?    Yes      No

If Yes, Explain.

9.	Is POTW under an Order That Includes Pretreatment Conditions?    Yes      No

Order Type and Number:       Are Milestone Dates Being Met?    Yes      No    NA

Parameters Covered Under Order

ICIS Coding

Main Program Permit Number                            					 MM/DD/YY

| N | C | 0 | 0 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| 10. Current Number of Significant Industrial Users (SIUs)? |  |
| --- | --- |
| 11. Number of SIUs with No IUP, or with an Expired IUP? |  |
| 12. Number of SIUs Not Inspected by POTW in Last Calendar Year? |  |
| 13. Number of SIUs Not Sampled by POTW in Last Calendar Year? |  |
| 14. Number of SIUs in SNC for Limits Violations During Either of Last 2 Semi-Annual Periods? |  |
| 15. Number of SIUs in SNC for Reporting During Either of Last 2 Semi-Annual Periods? |  |
| 16. Number of SIUs in SNC with Pretreatment Schedule? |  |
| 17. Number of SIUs on Schedules? |  |
| 18. Current Number of Categorical Industrial Users (CIUs)? |  |
| 19. Number of CIUs in SNC? |  |

20.  PRETREATMENT PROGRAM ELEMENTS REVIEW- Review POTW files, verify POTW has copy of each Program Element in their File, complete with all supporting documents and PERCS Approval Letter, and dates consistent with Program Info:

| Program Element | ##### Last Submittal ##### Date In file? |  | ##### Last Approval ##### Date In file |  | Date Next Due, If Applicable |
| --- | --- | --- | --- | --- | --- |
| Headworks Analysis (HWA) |  | Yes No |  | Yes No |  |
| Industrial Waste Survey (IWS) |  | Yes No |  | Yes No |  |
| Sewer Use Ordinance (SUO) |  | Yes No |  | Yes No |  |
| Enforcement Response Plan (ERP) |  | Yes No |  | Yes No |  |
| Long Term Monitoring Plan (LTMP) |  | Yes No |  | Yes No |  |

Legal Authority (Sewer Use Ordinance-SUO)

21.	Do you have any towns and/or areas from which you receive wastewater which are not in your annexed jurisdiction?

Yes   No If yes, Please list these towns and/or areas.

22.  If yes to #21, Do you have current Interjurisdictional Agreements (IJAs) or other Contracts?   Yes   No   NA

A copy, if not already submitted, should be sent to Division.

23.	If yes to #21, Have you had any trouble working with these towns or districts?    Yes   No   NA

If yes, Explain.

24.	Date of Last SUO Adoption by Local Council      /     /

25.	Have you had any problems interpreting or enforcing any part of the SUO?    Yes   No

If yes, Explain.

Enforcement (Enforcement Response Plan-ERP)

26.	Did you send a copy of the ERP to your industries?    Yes   No

If no, POTW must send copy within 30 days.

27.	Have you had any problems interpreting or enforcing any part of the ERP (i.e. any adjudication, improper enforcement, etc?            Yes   No     If yes, Explain.

28.  List Industries under a Schedule or Order and Type of Schedule or Order

Resources

29.  Please Rate the Following:  S=Satisfactory       M=Marginal       U=Unsatisfactory

|  | Rating | #### Explanation, if Unsatisfactory |
| --- | --- | --- |
| Personnel Available for Maintaining POTW’s Pretreatment Program | S M U |  |
| Access to POTW Vehicles for Sampling, Inspections, and Emergencies | ##### S M U |  |
| Access to Operable Sampling Equipment | S M U |  |
| Availability of Funds if Needed for Additional Sampling and/or Analysis | S M U |  |
| Reference Materials | S M U |  |
| Staff Training (i.e. Annual and Regional Workshops, Etc.) | S M U |  |
| Computer Equipment (Hardware and Software) | S M U |  |

30.	Does the POTW have an adequate data management system to run the pretreatment program? 	 Yes   No

Explain Yes or No.

31.	How does the POTW recover the cost of the Pretreatment Program from their industries? Explain.

Public Perception/ Participation

32.	Are there any local issues affecting the pretreatment program (e.g.. odor, plant closing, new or proposed plants)?

Yes   No   If yes, Explain.

33.  Has any one from the public ever requested to review pretreatment program files?   Yes   No

If yes, Explain procedure. If no, how would the request be addressed?

34.  	Has any industry ever requested that certain information remain confidential from the public?   Yes   No    If yes, Explain procedure for determining whether information qualified for confidential status, as well as procedure for keeping files confidential from public.  If no how would the request be addressed?

35.	In addition to annual inspection, does the POTW periodically meet with industries to discuss pretreatment?    Yes   No

36.	Is the public notified about changes in the SUO or Local Limits?    Yes   No

37.	Were all industries in SNC published in the last notice?    Yes   No

Permitting (Industrial Waste Survey-IWS)

38.  How does the POTW become aware of new or changed Users?

39.  Once the POTW becomes aware of new or changed Users, how does the POTW determine which industries have the reasonable potential to adversely impact the WWTP and therefore require a new permit or a permit revision?  (Who is an SIU?)

40.	Does the POTW receive waste from any groundwater remediation projects (petroleum, CERCLA) or landfill leachate?               Yes No     If Yes, How many are there?

Please list each site and how it is permitted, if applicable.

41.	Does the POTW accept waste by (mark if applicable)    Truck   Dedicated Pipe   NA

42.	If the POTW accepts trucked waste, what controls are placed on this waste?  	(example. designated point, samples drawn, manifests required)

43.	How does the POTW allocate its loading to industries? Mark all that apply

Uniform Limits    Historical Industry Need    By Surcharge   Categorical Limits    Other

Explain Other:

44.	Review POTW’s copies of current allocation tables for each WWTP.  Are there any over allocations?    Yes   No

If yes, what parameters are over allocated?

45.  If yes to #44, What is being done to address the over allocations? (short-term IUPs, HWA to be revised, pollutant study, etc.)

46.	Does the POTW keep pollutant loading in reserve for future growth / safety?    Yes   No

If yes, what percentage of each parameter       %

47.	Has the POTW experienced any difficulty in allocation? (for example: adjudication by an industry)   Yes   No

If yes, Explain.

48.	How does the POTW decide on which pollutants to limit in the permits? Monitor for?  (for example: were only those pollutants listed on the application limited; categorical parameters; NPDES Pollutants of Concern)

49.  How does the POTW decide what the monitoring frequency should be for the various pollutants in industry permits?   Explain.

Permit Compliance

50.  Does the POTW currently have or during the past year had any permits under adjudication?    Yes   No

If yes, which industries?  What was (will be) the outcome of the adjudication?

51.  Demonstrate how the POTW judges compliance. This should include compliance judgment on all violations of limits, reporting requirements, and permit conditions, as well as for SNC.

52.  Does the POTW use the Division’s model inspection form or equivalent?    Yes   No

If no, does the POTW form include all Division data?    Yes   No

53.  Were all SIUs evaluated for the need of a slug/spill control plan during their most recent inspections?    Yes   No

If no, Explain.

54.	What criteria are used to determine if a slug/spill control plan is needed?

55.	What criteria does the POTW use to determine if a submitted slug/spill control plan is adequate?

56.	How does the POTW decide where the sample point for an SIU should be located?

57.	Has the POTW established a procedure to ensure that representative samples will be taken by the POTW or SIU each time? (example: correct location; proper programming of sampler;  clean equipment; swirling the sample bucket uniformly)             POTW:   Yes   No            SIU:    Yes   No            If yes, Explain.

58.	Who performs sample analysis for the POTW for 	Metals

Conventional Parameters

Organics

59.	Explain the Chain of Custody Procedure used for both in house and commercial lab samples.

Long/Short Term Monitoring Plan (L/STMP) and Headworks Analysis (HWA)

60a.	Is LTMP/STMP Monitoring Being Conducted at Appropriate Locations and Frequencies?   YES   NO

60b.	Are Correct Detection Levels being used for all LTMP/STMP Monitoring?      YES   NO

60c.	Is LTMP/STMP Data Maintained in Table or Equivalent?    YES   NO   Is Table Adequate?    YES   NO

60d.	All LTMP/STMP effluent data on Discharge Monitoring Report (DMR)?  YES  NO Division Inspector, verify yourself!

60e.	If NO to any above, list violations	_____________________________________________________________________

60f.	Should any Pollutants of Concern be Eliminated from or Added to LTMP/STMP?     YES   NO

If yes, which ones? Eliminated:                                                            Added:________________________________

61.	Do you complete your own headworks analysis (HWA) ?    Yes   No

If no, who completes your HWA?       Phone (     )     --

62.	Do you have plans to revise your HWA in the near future?    Yes   No

If yes, what is the reason for the revision? (mark all that apply)        	Increased average flow       NPDES limits change

More LTMP data available              Resolve over allocation           	5 year expiration                       Other

Explain.

63.	In general, what is the most limiting criteria of your HWA?   Inhibition    Pass Through    	Sludge Quality

64.	Do you see any way to increase your loading in the future (Example: obtaining more land for sludge disposal)?    Yes   No Explain.

# Summary

65.	Do you plan any significant changes to the pretreatment program or changes to the WWTP that may affect pretreatment?

INDUSTRIAL USER PERMIT (IUP) FILE REVIEW (3 IUP FILE REVIEWS AND 1 IU INSPECTION)

| 66. User Name | 1. | 2. |  | 3. |  |
| --- | --- | --- | --- | --- | --- |
| 67. IUP Number |  |  |  |  |  |
| 68. Does File Contain Current Permit? |  |  | Yes No | Yes No | Yes No |
| 69. Permit Expiration Date |  |  |  |  |  |
| 70. Categorical Standard Applied (I.E. 40 CFR, Etc.) Or N/A |  |  |  |  |  |
| 71. Does File Contain Permit Application Completed Within One Year Prior to Permit Issue Date? |  |  | Yes No | Yes No | Yes No |
| 72. Does File Contain Inspection Completed Within Last Calendar Year? |  |  | Yes No | Yes No | Yes No |
| 73. a. Does File Contain Slug/Spill Control Plan? b. If No, is One Needed? (See Inspection Form from POTW) |  |  | a. Yes No b. Yes No | a. Yes No b. Yes No | a. Yes No b. Yes No |
| 74. For 40 CFR 413 and 433 TTO Certification, Does File Contain a Toxic Organic Management Plan (TOMP)? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 75. a. Does File Contain Original Permit Review Letter from Division? b. All Issues Resolved? |  |  | a. Yes No b.YesNoN/A | a. Yes No b.YesNoN/A | a. Yes No b.YesNoN/A |
| 76. During Most Recent Semi-Annual Period, Did POTW Complete its Sampling as Required by IUP, including Flow? |  |  | Yes No | Yes No | Yes No |
| 77. Does File Contain POTW Sampling Chain-Of-Custody Forms? |  |  | Yes No | Yes No | Yes No |
| 78. During Most Recent Semi-Annual Period, Did SIU Complete its Sampling as Required by IUP, including Flow? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 79. During Most Recent Semi-Annual Period, Did SIU submit all reports on time? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 80a. For categorical IUs with Combined Wastestream Formula (CWF), does file include process/dilution flows as Required by IUP? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 80b. For categorical IUs with Production based limits, does file include production rates and/or flows as Required by IUP? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 81. During Most Recent Semi-Annual Period, Did POTW Identify All Limits Non-Compliance from Both POTW and SIU Sampling? |  |  | Yes No | Yes No | Yes No |
| 82. During Most Recent Semi-Annual Period, Did POTW Identify All Reporting Non-Compliance from SIU Sampling? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 83. a. Was POTW Notified by SIU (Within 24 Hours) of All Self- Monitoring Violations? b. Did Industry Resample and submit results to POTW within 30 Days? c. If applicable, did POTW resample and obtain results within 30 days of becoming aware of SIU limit violations in the POTW’s sampling of SIU? |  |  | a.YesNoN/A b.YesNoN/A c.YesNoN/A | a.YesNoN/A b.YesNoN/A c.YesNoN/A | a.YesNoN/A b.YesNoN/A c.YesNoN/A |
| 84. During Most Recent Semi-Annual Period, Was SIU in SNC? |  |  | Yes No | Yes No | Yes No |
| 85. During Most Recent Semi-Annual Period, Was Enforcement Taken as Specified in POTW's ERP (NOVs, Penalties, timing, etc.)? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 86. Does File Contain Penalty Assessment Notices? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 87. Does File Contain Proof Of Penalty Collection? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 88. a. Does File Contain Any Current Enforcement Orders? b. Is SIU in Compliance with Order? |  |  | a.YesNoN/A b.YesNoN/A | a.YesNoN/A b.YesNoN/A | a.YesNoN/A b.YesNoN/A |
| 89. Did POTW Representative Have Difficulty in Obtaining Any Requested Information For You? |  |  | Yes No | Yes No | Yes No |

# FILE REVIEW COMMENTS:

# INDUSTRY INSPECTION ICIS CODING:

Main Program Permit Number                                      MM/DD/YY

| N | C | 0 | 0 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

1. Industry Inspected:

2. Industry Address:

3. Type of Industry/Product:

4. Industry Contact:          Title:       	 Phone:          Fax:

5. Does the POTW Use the Division Model Inspection Form or Equivalent?     Yes      No

6. Did the POTW Contact Conduct the Following Parts of the Industrial Inspection Thoroughly?

Comments:

A.  Initial Interview   	 Yes      No

B.  Plant Tour  		 Yes      No

C.  Pretreatment Tour    	 Yes      No

D.  Sampling Review  	 Yes      No

- Exit Interview   	 Yes      No

Industrial Inspection Comments:

Audit SUMMARY AND COMMENTS:

Audit Comments:

Requirements:

Recommendations:

# NOD:       Yes          No

# NOV:       Yes          No

# QNCR:    Yes          No

# POTW Rating:

Satisfactory  		Marginal   		Unsatisfactory

Audit COMPLETED BY:					                     DATE:

XXXX, PERCS, and XXXX,  XXXX Regional Office