# NORTH CAROLINA DIVISION OF WATER RESOURCES

# PRETREATMENT COMPLIANCE INSPECTION (PCI) REPORT

BACKGROUND INFORMATION [Complete Prior To PCI; Review Program Info Database Sheet(s)]

1.	Control Authority (POTW) Name: ____________________________________________________________

2.	Control Authority Representative(s): ____________________________________________________________

3.	Title(s): ______________________________________________________________________________________________

4.	Last Inspection Date: ____________ Inspection Type (Check One):     PCI     Audit

5.	Has Program Completed All Requirements from the Previous Inspection and Program Info Sheet(s)?   YES   NO

6.	Is POTW under an Order That Includes Pretreatment Conditions?   YES   NO

Order Type, Number, Parameters: _______________________________ Are Milestone Dates Being Met?   YES   NO

###### ICIS CODING

Main Program Permit Number                                               MM/DD/YY

|   N  |  C  |  0   |  0   |      |      |      |      |      |            |      |      |       |

| 7. Current Number Of Significant Industrial Users (SIUs)? |  |
| --- | --- |
| 8. Number of SIUs With No IUP, or With an Expired IUP? |  |
| 9. Number of SIUs Not Inspected By POTW in the Last Calendar Year? |  |
| 10. Number of SIUs Not Sampled By POTW in the Last Calendar Year? |  |
| 11. Number of SIUs In SNC For Limits Violations During Either of the Last 2 Semi-Annual Periods? |  |
| 12. Number of SIUs in SNC For Reporting During Either of the Last 2 Semi-Annual Periods? |  |
| 13. Number of SIUs in SNC with Pretreatment Schedule? |  |
| 14. Number of SIUs on Schedules? |  |
| 15. Current Number Of Categorical Industrial Users (CIUs)? |  |
| 16. Number of CIUs in SNC? |  |

POTW INTERVIEW

| 17. Since the Last PCI, has the POTW had any NPDES Limits Violations? If Yes, What are the Parameters and How are these Problems Being Addressed? |  | #### YES NO |
| --- | --- | --- |
| 18. Since the Last PCI, has the POTW had any Problems Related to an Industrial Discharge (Interference, Pass-Through, Blockage, Citizens’ Complaints, Increased Sludge Production, Etc.)? If Yes, How are these Problems Being Addressed? |  | #### YES NO |
| - Which Industries have been in SNC for Limits or Reporting during either of the Last 2 Semi-Annual Periods? Not Been Published for Public Notice?(May refer to PAR if Excessive SIUs in SNC) | SNC for Limits: SNC for Reporting: Not Published: |  |
| 20. Which Industries are on Compliance Schedules or Orders? For all SIUs on an Order, Has a Signed Copy of the Order been sent to the Division? |  |  |
| 21. Are Any Permits or Civil Penalties Currently Under Adjudication? If Yes, Which Ones? |  | #### YES NO |

LTMP/STMP FILE REVIEW:

22.	Is LTMP/STMP Monitoring Being Conducted at Appropriate Locations and Frequencies?   YES   NO

23.	Are Correct Detection Levels being used for all LTMP/STMP Monitoring?      YES   NO

24.	Is LTMP/STMP Data Maintained in a Table or Equivalent?    YES   NO   Is Table Adequate?    YES   NO

25.	All LTMP/STMP effluent data reported on Discharge Monitoring Report?   YES  NO  Division Inspector, please verify yourself!

26.	If NO to 23 - 26, list violations _______________________________________________________________________________

27.	Should any Pollutants of Concern be Eliminated from or Added to LTMP/STMP?     YES   NO

If yes, which ones? Eliminated:                                                   Added:_______________________

28.  PRETREATMENT PROGRAM ELEMENTS REVIEW- Please review POTW files, verify POTW has copy of Program Element in their files, complete with supporting documents and copy of PERCS Approval Letter, and dates consistent with Program Info:

| Program Element | ##### Last Submittal ##### Date In file? |  | ##### Last Approval ##### Date In file |  | Date Next Due, If Applicable |
| --- | --- | --- | --- | --- | --- |
| ##### Headworks Analysis (HWA) |  | ##### Yes No |  | ##### Yes No |  |
| ##### Industrial Waste Survey (IWS) |  | ##### Yes No |  | ##### Yes No |  |
| ##### Sewer Use Ordinance (SUO) |  | ##### Yes No |  | ##### Yes No |  |
| ##### Enforcement Response Plan (ERP) |  | ##### Yes No |  | ##### Yes No |  |
| ##### Long Term Monitoring Plan (LTMP) |  | ##### Yes No |  | ##### Yes No |  |

________________________________________________________________________________________________________________

INDUSTRIAL USER PERMIT (IUP) FILE REVIEW (3 IUP FILE REVIEWS OR 1 FILE REVIEW AND 1 IU INSPECTION)

| 29. User Name | 1. | 2. |  | 3. |  |
| --- | --- | --- | --- | --- | --- |
| 30. IUP Number |  |  |  |  |  |
| 31. Does File Contain Current Permit? |  |  | Yes No | Yes No | Yes No |
| 32. Permit Expiration Date |  |  |  |  |  |
| 33. Categorical Standard Applied (I.E. 40 CFR, Etc.) Or N/A |  |  |  |  |  |
| 34. Does File Contain Permit Application Completed Within One Year Prior to Permit Issue Date? |  |  | Yes No | Yes No | Yes No |
| 35. Does File Contain an Inspection Completed Within Last Calendar Year? |  |  | Yes No | Yes No | Yes No |
| 36. a. Does the File Contain a Slug/Spill Control Plan? b. If No, is One Needed? (See Inspection Form from POTW) |  |  | a. Yes No b. Yes No | a. Yes No b. Yes No | a. Yes No b. Yes No |
| 37. For 40 CFR 413 and 433 TTO Certification, Does File Contain a Toxic Organic Management Plan (TOMP)? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 38. a. Does File Contain Original Permit Review Letter from the Division? b. All Issues Resolved? |  |  | a. Yes No b.YesNoN/A | a. Yes No b.YesNoN/A | a. Yes No b.YesNoN/A |
| 39. During the Most Recent Semi-Annual Period, Did the POTW Complete its Sampling as Required by IUP, including flow? |  |  | Yes No | Yes No | Yes No |
| 40. Does File Contain POTW Sampling Chain-Of-Custody Forms? |  |  | Yes No | Yes No | Yes No |
| 41. During the Most Recent Semi-Annual Period, Did the SIU Complete its Sampling as Required by IUP, including flow? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 41b. During the Most Recent Semi-Annual Period, Did SIU submit all reports on time? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 42a. For categorical IUs with Combined Wastestream Formula (CWF), does file include process/dilution flows as Required by IUP? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 42b. For categorical IUs with Production based limits, does file include production rates and/or flows as Required by IUP? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 43a. During the Most Recent Semi-Annual Period, Did the POTW Identify All Limits Non-Compliance from Both POTW and SIU Sampling? |  |  | Yes No | Yes No | Yes No |
| 43b. During the Most Recent Semi-Annual Period, Did the POTW Identify All Reporting Non-Compliance from SIU Sampling? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 44. a. Was the POTW Notified by SIU (Within 24 Hours) of All Self- Monitoring Violations? b. Did Industry Resample and submit results to POTW Within 30 Days? c. If applicable, Did POTW resample within 30 days of becoming aware of SIU limit violations in the POTW’s sampling of the SIU? |  |  | a.YesNoN/A b.YesNoN/A c.YesNoN/A | a.YesNoN/A b.YesNoN/A c.YesNoN/A | a.YesNoN/A b.YesNoN/A c.YesNoN/A |
| 46. During the Most Recent Semi-Annual Period, Was the SIU in SNC? |  |  | Yes No | Yes No | Yes No |
| 47. During the Most Recent Semi-Annual Period, Was Enforcement Taken as Specified in the POTW's ERP (NOVs, Penalties, timing, etc.)? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 48. Does the File Contain Penalty Assessment Notices? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 49. Does The File Contain Proof Of Penalty Collection? |  |  | YesNoN/A | YesNoN/A | YesNoN/A |
| 50. a. Does the File Contain Any Current Enforcement Orders? b. Is SIU in Compliance with Order? |  |  | a.YesNoN/A b.YesNoN/A | a.YesNoN/A b.YesNoN/A | a.YesNoN/A b.YesNoN/A |
| 51. Did the POTW Representative Have Difficulty in Obtaining Any of This Requested Information For You? |  |  | Yes No | Yes No | Yes No |

# FILE REVIEW COMMENTS:

# INDUSTRY INSPECTION ICIS CODING:

Main Program Permit Number                                    MM/DD/YY

|      |      |       |      |       |      |      |       |      |       |       |       |       |

1. Industry Inspected:________________________________________________________________________________________

2. Industry Address:__________________________________________________________________________________________

3. Type of Industry/Product:___________________________________________________________________________________

4. Industry Contact:________________________________________Title:_____________________________________________	      	      Phone:__________________________________________Fax:_____________________________________________

5. Does the POTW Use the Division Model Inspection Form or Equivalent?    YES   NO

6. Did the POTW Contact Conduct the Following Parts of the Industrial Inspection Thoroughly?

Comments:

A.  Initial Interview       YES   NO

B.  Plant Tour                 YES   NO

C.  Pretreatment Tour      YES   NO

D.  Sampling Review       YES   NO

- Exit Interview            YES   NO

Industrial Inspection Comments:

# OVERALL SUMMARY AND COMMENTS:

Comments: ______________________________________________________________________________________________

__________________________________________________________________________________________________________

Requirements: ______________________________________________________________________________________________

__________________________________________________________________________________________________________

Recommendations: ____________________________________________________________________________________________

__________________________________________________________________________________________________________

# NOD:   YES   NO

# NOV:   YES   NO

# QNCR:   YES   NO

# POTW Rating:

Satisfactory    	 	Marginal 		UnSatisfactory

PCI COMPLETED BY:							DATE: ______________________________________