## PFAS Reporting
Analyte Name | Analyte Acronym | CAS Number | Parameter Code | Date | Units | Result | Qualifier Type | Qualifier Value (If Result is ND, enter your lab's specific MDL/LOD value here.) | Location | Method Used | Laboratory | Regional Office | Facility Type | Permit Number | Permittee Name | River Basin | Grab/Composite | DWR/Permittee | Intentionally left blank | Comments
Perfluorobutanoic acid | PFBA | 375-22-4 | 51522
Perfluoropentanoic acid | PFPeA | 2706-90-3 | 51623
Perfluorohexanoic acid | PFHxA | 307-24-4 | 51624
Perfluoroheptanoic acid | PFHpA | 375-85-9 | 51625
Perfluorooctanoic acid | PFOA | 335-67-1 | 51521
Perfluorononanoic acid | PFNA | 375-95-1 | 51626
Perfluorodecanoic acid | PFDA | 335-76-2 | 51627
Perfluoroundecanoic acid | PFUnA | 2058-94-8 | 51628
Perfluorododecanoic acid | PFDoA | 307-55-1 | 51629
Perfluorotridecanoic acid | PFTrDA | 72629-94-8 | 51630
Perfluorotetradecanoic acid | PFTeDA | 376-06-7 | 51531
Perfluorobutanesulfonic acid | PFBS | 375-73-5 | 52602
Perfluoropentanesulfonic acid | PFPeS | 2706-91-4 | 52610
Perfluorohexanesulfonic acid | PFHxS | 355-46-4 | 52605
Perfluoroheptanesulfonic acid | PFHpS | 375-92-8 | 52604
Perfluorooctanesulfonic acid | PFOS | 1763-23-1 | 52606
Perfluorononanesulfonic acid | PFNS | 68259-12-1 | 52611
Perfluorodecanesulfonic acid | PFDS | 335-77-3 | 52603
Perfluorododecanesulfonic acid | PFDoS | 79780-39-5 | 52632
1H,1H,2H,2H-Perfluorohexane sulfonic acid | 4:2FTS | 757124-72-4 | 52607
1H,1H,2H,2H-Perfluorooctane sulfonic acid | 6:2FTS | 27619-97-2 | 52608
1H,1H,2H,2H-Perfluorodecane sulfonic acid | 8:2FTS | 39108-34-4 | 52609
Perfluorooctanesulfonamide | PFOSA | 754-91-6 | 51525
N-methyl perfluorooctanesulfonamide | NMeFOSA | 31506-32-8 | 52641
N-ethyl perfluorooctanesulfonamide | NEtFOSA | 4151-50-2 | 52642
N-methyl perfluorooctanesulfonamidoacetic acid | NMeFOSAA | 2355-31-9 | 51644
N-ethyl perfluorooctanesulfonamidoacetic acid | NEtFOSAA | 2991-50-6 | 51643
N-methyl perfluorooctanesulfonamidoethanol | NMeFOSE | 24448-09-7 | 51642
N-ethyl perfluorooctanesulfonamidoethanol | NetFOSE | 1691-99-2 | 51641
Hexafluoropropylene oxide dimer acid | HFPO-DA | 13252-13-6 | 52612
4,8-Dioxa-3H-perfluorononanoic acid | ADONA | 919005-14-4 | 52636
Perfluoro-3-methoxypropanoic acid | PFMPA | 377-73-1 | PF002
Perlfuoro-4-methoxybutanoic acid | PFMBA | 863090-89-5 | PF006
Nonafluoro-3,6-dioxaheptanoic acid | NFDHA | 151772-58-6 | 52626
9-Chlorohexadecafluoro-3-oxanonane-1-sulfonic acid | 9Cl-PF3ONS | 756426-58-1 | PF003
11-Chloroeicosafluoro-3-oxaundecane-1-sulfonic acid | 11Cl-PF3OUdS | 763051-92-9 | PF004
Perfluoro(2-ethoxyethane)sulfonic acid | PFEESA | 113507-82-7 | 52629
3-Perfluoropropyl propanoic acid | 3:3FTCA | 356-02-5 | PF001
2H,2H,3H,3H-Perfluorooctanoic acid | 5:3FTCA | 914637-49-3 | PF007
3-Perfluoroheptyl propanoic acid | 7:3FTCA | 812-70-4 | PF005

## Example
Analyte Name | Analyte Acronym | CAS Number | Parameter Code | Date | Units | Result | Qualifier Type | Qualifier Value (If Result is ND, enter your lab's specific MDL/LOD value here.) | Location | Method Used | Laboratory | Regional Office | Facility Type | Permit Number | Permittee Name | River Basin | Grab/Composite | DWR/Permittee | Intentionally left blank | Comments
Perfluorobutanoic acid | PFBA | 375-22-4 | 51522 | 2024-07-07 | ng/L | 5.34 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluoropentanoic acid | PFPeA | 2706-90-3 | 51623 | 2024-07-07 | ng/L | 27.6 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluorohexanoic acid | PFHxA | 307-24-4 | 51624 | 2024-07-07 | ng/L | 13.6 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluoroheptanoic acid | PFHpA | 375-85-9 | 51625 | 2024-07-07 | ng/L | 2.56 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluorooctanoic acid | PFOA | 335-67-1 | 51521 | 2024-07-07 | ng/L | 22.7 | J |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluorononanoic acid | PFNA | 375-95-1 | 51626 | 2024-07-07 | ng/L | 0.06 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluorodecanoic acid | PFDA | 335-76-2 | 51627 | 2024-07-07 | ng/L | 0.7 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluoroundecanoic acid | PFUnDA | 2058-94-8 | 51628 | 2024-07-07 | ng/L | 0.7 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluorododecanoic acid | PFDoDA | 307-55-1 | 51629 | 2024-07-07 | ng/L | 1.3 | J |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluorotridecanoic acid | PFTrDA | 72629-94-8 | 51630 | 2024-07-07 | ng/L | 1.1 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluorotetradecanoic acid | PFTeDA | 376-06-7 | 51531 | 2024-07-07 | ng/L | ND | U | 1.2 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluorobutanesulfonic acid | PFBS | 375-73-5 | 52602 | 2024-07-07 | ng/L | 3.91 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluoropentanesulfonic acid | PFPeS | 2706-91-4 | 52610 | 2024-07-07 | ng/L | 0.08 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluorohexanesulfonic acid | PFHxS | 355-46-4 | 52605 | 2024-07-07 | ng/L | 1.42 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluoroheptanesulfonic acid | PFHpS | 375-92-8 | 52604 | 2024-07-07 | ng/L | ND | U | 1.55 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluorooctanesulfonic acid | PFOS | 1763-23-1 | 52606 | 2024-07-07 | ng/L | 4.21 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluorononanesulfonic acid | PFNS | 68259-12-1 | 52611 | 2024-07-07 | ng/L | ND | U | 0.993 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluorodecanesulfonic acid | PFDS | 335-77-3 | 52603 | 2024-07-07 | ng/L | ND | U | 1.68 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluorododecanesulfonic acid | PFDoS | 79780-39-5 | 52632 | 2024-07-07 | ng/L | ND | U | 1.61 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
1H,1H,2H,2H-Perfluorohexane sulfonic acid | 4:2 FTS | 757124-72-4 | 52607 | 2024-07-07 | ng/L | ND | U | 0.415 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
1H,1H,2H,2H-Perfluorooctane sulfonic acid | 6:2 FTS | 27619-97-2 | 52608 | 2024-07-07 | ng/L | 0.216 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
1H,1H,2H,2H-Perfluorodecane sulfonic acid | 8:2 FTS | 39108-34-4 | 52609 | 2024-07-07 | ng/L | 0.0271 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
N-ethyl perfluorooctanesulfonamide | N-EtFOSA | 754-91-6 | 51525 | 2024-07-07 | ng/L | ND | U | 1.98 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
N-ethyl perfluorooctanesulfonamidoacetic acid | N-EtFOSAA | 31506-32-8 | 52641 | 2024-07-07 | ng/L | ND | U | 1.3 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
N-ethyl perfluorooctanesulfonamidoethanol | N-EtFOSE | 4151-50-2 | 52642 | 2024-07-07 | ng/L | ND | U | 4.9 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
N-methyl perfluorooctanesulfonamide | N-MeFOSA | 2355-31-9 | 51644 | 2024-07-07 | ng/L | ND | U | 1.32 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
N-methyl perfluorooctanesulfonamidoacetic acid | N-MeFOSAA | 2991-50-6 | 51643 | 2024-07-07 | ng/L | 0.00599 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
N-methyl perfluorooctanesulfonamidoethanol | N-MeFOSE | 24448-09-7 | 51642 | 2024-07-07 | ng/L | ND | U | 3.04 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluorooctanesulfonamide | PFOSA | 1691-99-2 | 51641 | 2024-07-07 | ng/L | 0.382 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
4,8-Dioxa-3H-perfluorononanoic acid | ADONA | 13252-13-6 | 52612 | 2024-07-07 | ng/L | ND | U | 0.867 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Hexafluoropropylene oxide dimer acid | HFPO-DA | 919005-14-4 | 52636 | 2024-07-07 | ng/L | 1.44 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluoro-3-methoxypropanoic acid | NFDHA | 377-73-1 | PF002 | 2024-07-07 | ng/L | 0.0515 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perlfuoro-4-methoxybutanoic acid | PFMOBA | 863090-89-5 | PF006 | 2024-07-07 | ng/L | ND | U | 5.07 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Nonafluoro-3,6-dioxaheptanoic acid | PFMOPrA | 151772-58-6 | 52626 | 2024-07-07 | ng/L | ND | U | 1.14 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
11-Chloroeicosafluoro-3-oxaundecane-1-sulfonic acid | 11CI-PF3OUdS | 763051-92-9 | PF004 | 2024-07-07 | ng/L | ND | U | 1.51 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
9-Chlorohexadecafluoro-3-oxanonane-1-sulfonic acid | 9CI-PF3ONS | 756426-58-1 | PF003 | 2024-07-07 | ng/L | ND | U | 2.05 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
Perfluoro(2-ethoxyethane)sulfonic acid | PFEESA | 113507-82-7 | 52629 | 2024-07-07 | ng/L | ND | U | 0.962 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
3-Perfluoropropyl propanoic acid | 3:3 FTCA | 356-02-5 | PF001 | 2024-07-07 | ng/L | ND | U | 20 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
2H,2H,3H,3H-Perfluorooctanoic acid | 5:3 FTCA | 914637-49-3 | PF007 | 2024-07-07 | ng/L | 0.44 |  |  | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee
3-Perfluoroheptyl propanoic acid | 7:3 FTCA | 812-70-4 | PF005 | 2024-07-07 | ng/L | ND | U | 1.03 | Effluent | 1633 | BestLab | Fayetteville | Groundwater Remediation | NC123456 | Anytown Regional WWTP | Cape Fear | Grab | Permittee

## Column Guide
Column | Explanation
Qualifier Type | Associated with individual results. Denoted by various letters or combinations of letters. See "Data Qualifiers" tab.
Qualifier Value | A numeric value. For "U" Flags (Non-Detects): Must strictly represent the numeric Method Detection Limit (MDL) (sometimes listed by labs as the LOD or DL). For "J" Flags (Estimated Detections): Leave this column blank (the estimated numeric value goes into the Result column). Never enter text qualifiers like "< LOQ," "< PQL," or "< RL" in the numeric Result field.
Facility Type | What kind of permit your sampled facility has. Typically NPDES for POTWs, industrial (via pretreatment programs), or groundwater remediation.
Permit Number | The permit for the sampled facility (ex. NPDES, SIU/local permit etc.)
Regional Office | The DEQ regional office associated with your location.
DWR/Permittee | Who collected the samples? DWR or the permittee (ex. POTW).
Comments | Additional information about a result (ex. descriptions for qualifer types that are not included in the "Data Qualifiers" tab).

## Data Qualifiers
General Data Qualifiers
J | Estimated value. The analyte was detected by the instrument, but the concentration falls either: 1) Below the laboratory's validated Limit of Quantitation (LOQ) and above the Method Detection Limit (MDL). 2) Above the highest laboratory calibration standard range. Note: Depending on your laboratory, the LOQ may be listed on your lab report as the Reporting Limit (RL), Practical Quantitation Limit (PQL), or Minimum Reporting Level (MRL). EPA Method 1633A considers these terms synonymous.
U | The analyte was analyzed for but not detected. The concentration is confirmed to be below the analytical floor (MDL/LOD). When using this qualifier, enter ND in the Result column, a U in the Qualifier Type column, and the numeric MDL value in the Qualifier Value column.
H | Out of Holding Time
Q | Surrogate Failure
S | MS/MSD Failure

## Notes
Methods to Test for various PFAS Compounds
Method No. | Description | Typically Used For
Method 1633 (EPA Method)* | Is a laboratory-validated method developed by the EPA to test for 40 PFAS compounds in various environmental matrices, including wastewater, surface water, groundwater, soil, biosolids, sediment, landfill leachate, and fish tissue. It is a comprehensive method used for analyzing a wider range of PFAS compounds in various environmental matrices like soil, sediment, and biosolids. It is often employed for CERCLA (Comprehensive Environmental Response, Compensation, and Liability Act) investigations and may be relevant for future regulations. | Wastewater Analysis
Method 537.1 Modified (EPA Method)* | Method 537.1 is an analytical procedure used to measure PFAS in drinking water using solid phase extraction and LC/MS/MS at low ng/L concentrations1. It is an update to Method 537 (2009), which was used extensively as the approved PFAS method to support Unregulated Contaminant Monitoring Rule (UCMR), cycle 32. The term "modified" means that the analytical procedure has been changed from what is allowed in the published method. Drinking water methods (such as 537.1 and 533) do not allow for modification, so the label is misleading. EPA 537.1 includes a broader range of long-chain PFAS compounds | Drinking Water Analysis
Method 533 | Is a targeted analysis methods frequently used for UCMR (Unregulated Contaminant Monitoring Rule) compliance and is likely to be referenced in upcoming SDWA (Safe Drinking Water Act) regulations. It offers good sensitivity for a defined list of PFAS compounds in drinking water. EPA Method 533 can detect some shorter-chain PFAS not covered by EPA 537.1
EPA Method 537M | This targeted analysis method is specifically designed for analyzing PFAS in multiple environmental matrices, including drinking water, non-potable water, and wastewater.
EPA Method 8327 | This method focuses on explosives analysis but can also detect some PFAS compounds used in firefighting foams. It might be necessary for sites with a history of AFFF usage.
ASTM Methods (D7979-17, D7968-17a, D8421-22) | These ASTM International standards offer alternative methods for analyzing specific elements or PFAS precursors in water.
Method OTM-45 | This stack testing method might be relevant for niche applications or emerging contaminants in air emissions from stationary sources.
Preferrred Methods | Refer to Permit or guidance letter for Methods Prescribed
* Preferred Methods denoted with asterisk.
Spreadsheet Revisions
9/19/2025: Corrected parameter codes
5/1/2026: updated example tab
6/4/26: Clarified qualifer value definitions, removed 'ND' from qualifer definition because it is a "Result" option, removed 'DL' because it is not a true qualifer. Updated Column Guide tab.
6/22/26: Further clarified J flag requirements to eaxctly match definitions in Method 1633A, i.e. qualifer value in column guide