# PROFICIENCY TESTING

Laboratory:

# Inspector: Contact(s):
Lab Cert. #:

# Inspection Date:

Have PT results been submitted for all parameter methods on the certificate attachment for the current or previous (circle one) PT Calendar Year?

Are/were PT results submitted to this office by September 30?

Does the laboratory use a NELAC-approved PT provider? List the PT provider here:

Does the laboratory have a documented plan for PT analyses?

Does the PT plan address low-level and high-level PT Sample analyses, if needed?

Are PT Sample results reported to NC WW/GW LCB directly from the PT provider?

Are remedial PT Samples analyzed within 90 days of the initial failed PT report issue date?

Are remedial PT Samples analyzed in the same matrix as the failed PT Sample?

Are individual analytes under provisional status qualified as estimated? (Non-Field labs only)

Are Provisional Certification Forms returned within 10 days of the date of our unacceptable results letter to you? (Non-Field labs only)

Yes	No

|  | Yes |
| --- | --- |
|  | Yes |
|  | Yes |
|  | Yes |
|  | Yes |
|  | Yes |
|  | Yes |
|  | Yes |
|  | Yes |

|  | No |
| --- | --- |
|  | No |
|  | No |
|  | No |
|  | No |
|  | No |
|  | No |
|  | No |
|  | No |

|  | Yes |
| --- | --- |
|  | Yes |
|  | Yes |
|  | Yes |
|  | Yes |
|  | Yes |
|  | Yes |
|  | Yes |

|  | No |
| --- | --- |
|  | No |
|  | No |
|  | No |
|  | No |
|  | No |
|  | No |
|  | No |

Are Decertified Parameter Method Report Forms returned within 30 days of the decertification effective date? Does the lab have an EPA Lab Code? Note the EPA Lab Code here:

Is the EPA Lab Code reported with PT results?

Is PT Sample preparation documented?

Are PT Samples entered into the laboratory sample tracking system? (Non-Field labs only)

Is the calibration associated with PT Sample analyses documented either on the same benchsheet or in a calibration logbook? Are PT Sample analyses documented on the same benchsheets or logbooks as routine compliance samples?

Are PT Samples analyzed in the same manner as routine compliance samples (e.g., without additional QC or known PT Standards,

single analysis, TRC analyzed on same spectrophotometer program, etc.)? [NOTE: Known PT Standards are acceptable for troubleshooting purposes with remedial PT Samples but are not to be analyzed with the maintenance PT Samples if this is not routine for compliance samples.]

|  | Yes |
| --- | --- |
|  | Yes |
|  | Yes |
|  | Yes |
|  | Yes |
|  | Yes |
|  | Yes |

|  | No |
| --- | --- |
|  | No |
|  | No |
|  | No |
|  | No |
|  | No |
|  | No |

Are PT Samples equally distributed among qualified personnel from year to year?	Yes	No Comments:

Are PT Sample results reported with the correct method codes? Are PT Sample results reported to the routine reporting limits? Are PT records retained for five years?

Is a CAP report submitted within 10 days of the date of our unacceptable results letter?

Is a CAR report submitted within 90 days of the issue date of the PT report that contained the unacceptable result? Have abbreviated lists been submitted to this office for organic parameters where needed? (Non-Field labs only) Have lab personnel reviewed or have access to the PT Requirements Document? Revision #:

Additional Comments: