Residue Oven Temperature Documentation Policy (NC WW/GW LCB 7/30/2021)

The date, time and temperature must be documented each time samples are placed into and removed from a drying oven.