Total Suspended Solids Reporting Limit (NC WW/GW LC Policy 9/25/2014)

The minimum reporting value is established at 2.5 mg/L when 1000 mL of sample is analyzed. The minimum weight gain allowed by any approved method is 2.5 mg. In instances where the weight gain is less than the required 2.5 mg, the value must be reported as less than the appropriate value based upon the volume used. For example, if 500 mL of sample is analyzed and < 2.5 mg of dried residue is obtained, the value reported would be < 5 mg/L.