Vector Attraction Reduction Option 3 – Minimum Sample Volume Policy (NC WW/GW LC Policy 09/20/2018)

The minimum amount of sample required for the “Vector Attraction Reduction (VAR) Option 3: Additional Digestion of Sludge” test is 2 liters.