| UST-21 |  | IMPRESSED CURRENT CATHODIC PROTECTION SYSTEM 60-DAY RECORD OF RECTIFER OPERATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - This form may be utilized to document that the cathodic protection system rectifier is checked for operation at least once every 60 days. - A corrosion expert should specify the minimum amperage required to provide adequate cathodic protection. - Any significant variance should be reported to your corrosion professional so that any repairs and/or adjustments necessary can be made. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UST OWNER |  |  |  |  |  |  |  |  | UST FACILITY |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Owner Name |  |  |  |  |  |  |  |  | Facility Name |  |  |  |  |  |  |  |  |  |  |  |  |  | Facility ID#: |  |  |  |  |
| Street Address |  |  |  |  |  |  |  |  | Street Address |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  |  | State |  |  |  | City |  |  |  |  |  |  |  |  |  |  | County |  |  |  |  |  |  |  |
| IMPRESSED CURRENT RECTIFIER DATA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Rectifier Manufacturer: |  |  |  |  |  |  | Rated DC Output: |  |  |  |  |  |  |  |  |  | VOLTS |  |  |  |  |  |  |  |  | AMPS |  |
| Rectifier Model: |  |  |  |  |  |  |  |  | Rectifier Serial Number: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MINIMUM AMPERAGE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| The output at the time of the last passing test was |  |  |  |  |  |  |  |  |  |  | AMPS |  |  |  |  |  |  | Date of Test: |  |  |  |  |  |  |  |  |  |
| The minimum output needed to provide adequate cathodic protection is: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | AMPS |  |  |  |  |  |  |  |  |
| (Output amperage at last passing test minus 20% of last output amperage) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact a qualified person to investigate if the observed amperage falls below the specified minimum value. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Note: Relatively small variations in the rectifier amperage are normal. If there is no minimum amperage specified, contact a qualified person to investigate if the amperage output decreases by more than 20% from the last passing test. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 60-DAY LOG OF RECTIFIER OPERATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| DATE INSPECTED | RECTIFIER TURNED ON? |  | TAP SETTINGS |  |  | DC OUTPUT |  |  |  |  |  |  | HOUR METER |  |  | INSPECTOR INITIALS |  |  |  | COMMENTS |  |  |  |  |  |  |  |
|  |  |  | COARSE | FINE |  | VOLTS |  |  |  | AMPS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NORTH CAROLINA DEPARTMENT OF ENVIRONMENTAL QUALITY, DIVISION OF WASTE MANAGEMENT, UST SECTION 1646 MAIL SERVICE CENTER, RALEIGH, NC 27699-1646 PHONE (919) 707-8171 FAX (919) 715-1117 http://www.wastenotnc.org/ 1/2020 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |