## application info
CHECKLIST FOR POTW (MUNICIPAL) APPLICATION REQUIREMENTS
POTW/MUNICIPAL TYPE | EPA FORM 2A? | IF COMPLETING EPA FORM 2A SECTIONS, DO YOU NEED THE FOLLOWING? | [5 empty] | IF COMPLETING EPA FORM 2A TABLES, DO YOU NEED THE FOLLOWING?
|  | SECTION 1 - Basic Application Information for All Applicants | SECTION 2 - Add'l Application Information (design flow equal to or greater than 0.1 MGD) | SECTION 3 - Outfall Information | SECTION 4-Industrial Dischargers and Hazardous Waste | SECTION 5-Combined Sewer Overflows | SECTION 6- Checklist and Certification Statement | TABLE A -Effluent Parameters for All POTW's | TABLE B - Effluent Parameters for All POTW's with design flow equal to or greater than 0.1 MGD | TABLE C - Effluent Parameters for Selected POTWS (Priority Pollutants) | TABLE D - Additional Pollutants as Required by Permitting Authority* | TABLE E - Effluent Monitoring for Whole Effluent Toxicity (2nd species)** | TABLE F - Industrial Discharge Information (Pretreatment (SIU's)) | Chemical Addendum to NPDES Application ***
Less than 0.1 MGD (minor) | No - Use Modified EPA Form 2A (Revised 2021) | Yes | Yes | Yes | No | No | Yes | Yes | Yes | Yes (if required) | Yes (if required) | No | No | Yes (if needed)
Greater than/equal to 0.1 MGD but less than 1.0 MGD -- without pretreatment | Yes | Yes | Yes | Yes | No | Yes (if needed) | Yes | Yes | Yes | No | Yes (if required) | No | No | Yes (if needed)
Greater than/equal to 0.1 MGD but less than 1.0 MGD -- with pretreatment | Yes | Yes | Yes | Yes | Yes | Yes (if needed) | Yes | Yes | Yes | Yes | Yes (if required) | Yes | Yes | Yes (if needed)
1.0 MGD or Greater (major) -- without pretreatment | Yes | Yes | Yes | Yes | No | Yes (if needed) | Yes | Yes | Yes | Yes | Yes (if required) | Yes | No | Yes (if needed)
1.0 MGD or Greater (major) -- with pretreatment | Yes | Yes | Yes | Yes | Yes | Yes (if needed) | Yes | Yes | Yes | Yes | Yes (if required) | Yes | Yes | Yes (if needed)
*3 samples with seasonal variation (at least 4 months separation between samples)
**4 samples with seasonal variation (for information on second species toxicity testing, call Aquatic Toxicology Unit at 919-743-8401)
*** As required by Session Law 2018-5, Senate Bill 99, Section 13.1(r)), every applicant shall submit documentation of any additional pollutants for which there are certified methods with the permit application if their discharge is anticipated. These pollutants may be found in 40 CFR Part 136, which is incorporated by reference. If there are additional pollutants with certified methods to be reported, please submit the Chemical Addendum to NPDES Application table with your application and, if applicable, list the selected certified analytical method used. If there are no additional pollutants to report, this form is not required to be included with your application.
The following applies to: all POTW's (e.g. municipalities) with pretreatment programs and municipalities with 1 MGD or more of flow (MAJORS):
EXPIRATION DATE OF PERMIT | NUMBER OF SAMPLES REQUIRED
| TABLE C - Effluent Parameters for Selected POTWS (Priority Pollutants) | TABLE E - Effluent Monitoring for Whole Effluent Toxicity (2nd species)**
2021 or later | 3 (seasonal variation) | 4 (seasonal variation)