| Step 1 Pre-Reviewing Application Central Office - Administration personnel date stamps permit application and forwards to supervisor for preliminary review and assignment. - After assignment, admin processes application in BIMS database, mails Acknowledgment Letter, and forwards application package to appropriate staff member. | Step 2 Reviewing Application Central Office - Staff reviews permit application is complete and complies with applicable Administrative Codes and General Statutes. Yes- Go to Step 5 No- Mail Additional Information Letter to Applicant. | Step 3 Additional Information Requested Applicant - Provide requested additional information. Did the Applicant respond within 30 days? Yes – Go to Step 4. No – Return the application. | Step 4 Reviewing Additional Information Central Office - Ensure the deficiencies noted in Step 3 were addressed and/or corrected. Is the application now complete? Yes – Go to Step 5. No – Repeat Step 3. |
| --- | --- | --- | --- |
| Central Office - Staff forwards application package to RO requesting site inspection and staff report. Step 5 CO Requests Staff Report from RO | Step 6 RO Conducts Site Inspection Regional Office - Reviews application, conducts site inspection, and completes staff report. If permit renewal- RO collects water samples from existing well during inspection. If new project- RO returns later to collect samples when well installed & system operational. | Central Office - Incorporates RO input, drafts permit, enters well info into database, and forwards to supervisor for review and signature. Regional Office - Forwards staff report to CO with comments to issue permit with or without permit conditions. - RO follows up with applicant any well construction violations. - RO provides laboratory analytical data to applicant when available. Step 7 Draft Permit | Step 8 Submitted for Signature Supervisor - Conduct final review of draft permit, application package, and verifies well data in database. Is the draft permit and application complete? Yes – Issue Permit. No- Draft permit is incorrect - go to Step 7. |