## Instructions
Version 1. | Last modified 11/11/13
Tab
Instructions | This tab. Start here and read below.
JLPData | This tab will contain a wealth of JLP Data related especially to population, demand projections, source information, and need. Find your system's information here if you don't have it handy.
DataIn | Put the appropriate data in the Green cells. This data will be used by the rest of the work book.
Support for your Allocation
ReportTables | These tables are organized by section of the report, and are mostly self populating from the DataIn tab or other tabs. These tables are preformatted, and can be dropped into the report (some resizing of fonts, and rows and columns may be needed).
ReportFigures | This section contain charts and graphs that are pre-generated (mostly from the DataIn tab). Copy and paste (recommend pasting as image) into the allocation.
Demand Tables | These tables are a bit more complicated, so tables related to sector demand are here.
Existing Portions of Draft JLA4 Workbook
Contact Info_Use Sector Desc | This include Contact information and Use Sector Descriptions.
Population and Demand Projections | This has the population and demand projections, including information on sources.
Supply Alternatives | These sheets are where you fill in basic information about the Alternatives
Supply Alternative 1 | This is the Jordan Lake RWSP Alternative.
Supply Alternative 2 | Other Alternative.
Supply Alternative 3 | Other Alternative.
Supply Alternative 4 | Other Alternative.
Supply Alternative 5 | Other Alternative.
Supply Alternatives Summary | This is where you provide a brief description of and rate all of the alternatives.
Other Notes:
Data entered into tables in DataIn tab | Any data already entered into the DataIn tab, or the supply alternatives summary is just to illustrate the data format. Please delete this data and replace with your own.
These are your worksheets - Adjust as needed. | If the data format is too confusing, manually enter data wherever you need to, and verify the totals, etc. where needed.
Instructions:
1. Fill Out DataIn | Fill out as much information as you can for the DataIn tab. Use the JLPData tab to help.
2. Fill Out Contact Info_Use Sector Desc | Fill out your contact info and sector descriptions in the Contact Info_Use Sector Desc tab
3. Verify & Complete Population & Demand Projections | Open the Population&Demand Projections tab. Verify that numbers are correct. Complete the Existing and Future Sales sections, and Future Sources sections if applicable. Double check all numbers and calculations.
4. Construct Supply Alternative 1 | Go to Supply Alternative 1 tab. Look to the green cells at bottom left and enter 1, 2, or 3 to activate the source next to the box. If necessary, manually adjust the Supply or year online. Use the JLPData tab to verify that Alternative 1 is correct for your system.
5. Construct other supply alternatives | Repeat process of activating source by typing 1, 2, or 3 at lower left for the rest of the 'Supply Alternative _' tabs. Fill out discharge/consumptive use section of upper table on your own.
6. Fill Out Supply Alternatives Summary | Fill out Alternative Descriptions and the Alternative Ratings table for all of the Alternatives you are evaluating.
7. Use the ReportTables to fill out report. | Go to the ReportTables to find report tables formatted and organized by report section.
8. Use ReportFigures for report. | Go to the ReportFigures tab to find some of the figures needed for the application organized by section.

## JLPData
Overall Demand
| Demand in Year: | [7 empty] | Jurisdiction | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Jurisdiction | 2010 | 2020 | 2030 | 2040 | 2050 | 2060 |  |  | Apex | 3.51 | 4.2 | 5.54 | 6.6 | 7.57 | 8.8 | 9.93 | 10.465 | 11 | 11.27 | 11.54
Apex | 3.51 | 5.54 | 7.57 | 9.93 | 11 | 11.54 |  |  | Cary | 14.89 | 16.7 | 19.53 | 22.2 | 24.29 | 26 | 27.42 | 28.61 | 29.8 | 29.8 | 29.8
Cary | 14.89 | 19.53 | 24.29 | 27.42 | 29.8 | 29.8 |  |  | Morrisville | 1.72 | 2 | 2.48 | 2.8 | 3.03 | 3.3 | 3.41 | 3.47 | 3.53 | 3.56 | 3.59
Morrisville | 1.72 | 2.48 | 3.03 | 3.41 | 3.53 | 3.59 |  |  | RTP South | 0.58 | 0.9 | 1.39 | 1.9 | 2.33 | 2.7 | 3.2 | 3.225 | 3.25 | 3.27 | 3.29
RTP South | 0.58 | 1.39 | 2.33 | 3.2 | 3.25 | 3.29 |  |  | Chatham County N | 2.16 | 3.4 | 5.29 | 6.815 | 8.34 | 10.13 | 11.92 | 13.035 | 14.15 | 16.13 | 18.11
Chatham County N | 2.16 | 5.29 | 8.34 | 11.92 | 14.15 | 18.11 |  |  | Durham | 25.27 | 27.9677 | 30.6654 | 32.4088 | 34.1522 | 36.127 | 38.1017 | 39.9789 | 41.856 | 43.1146 | 44.3733
Durham | 25.27 | 30.6654 | 34.1522 | 38.1017 | 41.856 | 44.3733 |  |  | Hillsborough | 1.16 | 1.74 | 2.32 | 2.51 | 2.7 | 2.865 | 3.03 | 3.205 | 3.38 | 3.54 | 3.7
Hillsborough | 1.16 | 2.32 | 2.7 | 3.03 | 3.38 | 3.7 |  |  | Holly Springs | 1.98 | 3.335 | 4.69 | 5.205 | 5.72 | 6.23 | 6.74 | 7.24 | 7.74 | 8.26 | 8.78
Holly Springs | 1.98 | 4.69 | 5.72 | 6.74 | 7.74 | 8.78 |  |  | Orange County | 0.02 | 0.36 | 0.7 | 1.145 | 1.59 | 2.005 | 2.42 | 2.81 | 3.2 | 3.56 | 3.92
Orange County | 0.02 | 0.7 | 1.59 | 2.42 | 3.2 | 3.92 |  |  | OWASA | 7.86 | 8.09 | 8.32 | 9 | 9.68 | 10.235 | 10.79 | 11.325 | 11.86 | 12.385 | 12.91
OWASA | 7.86 | 8.32 | 9.68 | 10.79 | 11.86 | 12.91 |  |  | Pittsboro | 0.62 | 1.98 | 3.34 | 5.555 | 7.77 | 8.93 | 10.09 | 10.445 | 10.8 | 11.28 | 11.76
Pittsboro | 0.62 | 3.34 | 7.77 | 10.09 | 10.8 | 11.76 |  |  | Raleigh | 52 | 60.95 | 69.9 | 76.15 | 82.4 | 87.35 | 92.3 | 97.5 | 102.7 | 108.85 | 115
Raleigh | 52 | 69.9 | 82.4 | 92.3 | 102.7 | 115 |  |  | Sanford | 6.52 | 7.315 | 8.11 | 9.785 | 11.46 | 13.335 | 15.21 | 17.815 | 20.42 | 22.605 | 24.79
Sanford | 6.52 | 8.11 | 11.46 | 15.21 | 20.42 | 24.79 |  |  | Total | 118.29 | 138.9377 | 162.2754 | 182.0738 | 201.0322 | 218.007 | 234.5617 | 249.1239 | 263.686 | 277.6246 | 291.5633
Total | 118.29 | 162.2754 | 201.0322 | 234.5617 | 263.686 | 291.5633
Population | [8 empty] | Proposed 5-year projections
Jursidiction | 2010 | 2020 | 2030 | 2040 | 2050 | 2060 |  |  |  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Apex | 37700 | 53100 | 74400 | 100500 | 109200 | 112200 |  |  | Apex | 37700 | 41400 | 53100 | 63000 | 74400 | 87400 | 100500 | 104850 | 109200 | 110700 | 112200
Cary incl. Morrisville | 145000 | 176400 | 208100 | 230700 | 247900 | 248400 |  |  | Cary incl. Morrisville | 145000 | 159800 | 176400 | 193200 | 208100 | 222300 | 230700 | 239300 | 247900 | 248150 | 248400
Chatham County N | 10200 | 25900 | 41600 | 57300 | 73400 | 94000 |  |  | Chatham County N | 10200 | 18050 | 25900 | 33750 | 41600 | 49450 | 57300 | 65350 | 73400 | 83700 | 94000
Durham | 227100 | 286400 | 329400 | 372400 | 415400 | 458400 |  |  | Durham | 227100 | 256750 | 286400 | 307900 | 329400 | 350900 | 372400 | 393900 | 415400 | 436900 | 458400
Hillsborough | 14000 | 16800 | 20100 | 24200 | 29000 | 33800 |  |  | Hillsborough | 14000 | 15400 | 16800 | 18450 | 20100 | 22150 | 24200 | 26600 | 29000 | 31400 | 33800
Holly Springs | 24700 | 46700 | 61900 | 74800 | 89000 | 103300 |  |  | Holly Springs | 24700 | 35700 | 46700 | 54300 | 61900 | 68350 | 74800 | 81900 | 89000 | 96150 | 103300
Orange County | 100 | 4000 | 9300 | 14500 | 19800 | 25100 |  |  | Orange County | 100 | 2050 | 4000 | 6650 | 9300 | 11900 | 14500 | 17150 | 19800 | 22450 | 25100
OWASA | 81000 | 94300 | 108600 | 122800 | 137100 | 151300 |  |  | OWASA | 81000 | 87650 | 94300 | 101450 | 108600 | 115700 | 122800 | 129950 | 137100 | 144200 | 151300
Pittsboro | 3700 | 24000 | 58600 | 79900 | 87100 | 96800 |  |  | Pittsboro | 3700 | 13850 | 24000 | 41300 | 58600 | 69250 | 79900 | 83500 | 87100 | 91950 | 96800
Raleigh | 483300 | 638500 | 799100 | 963200 | 1134200 | 1316200 |  |  | Raleigh | 483300 | 560900 | 638500 | 718800 | 799100 | 881150 | 963200 | 1048700 | 1134200 | 1225200 | 1316200
Sanford | 40900 | 56600 | 76000 | 92200 | 111800 | 135700 |  |  | Sanford | 40900 | 48750 | 56600 | 66300 | 76000 | 84100 | 92200 | 102000 | 111800 | 123750 | 135700
RTP South | 0 | 0 | 0 | 0 | 0 | 0 |  |  | RTP South | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTALS | 1067700 | 1422700 | 1787100 | 2132500 | 2453900 | 2775200 |  |  | TOTALS | 1067700 | 1240300 | 1422700 | 1605100 | 1787100 | 1962650 | 2132500 | 2293200 | 2453900 | 2614550 | 2775200
Section III
Current Supply Sources
Jurisdiction | Supply Source | Type | SW or GW | Sub-basin | WQ Classification | Avg. day Supply (MGD)
Apex | Jordan Lake Allocation - Level I | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 8.5
Cary | Jordan Lake Allocation - Level I | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 23.5
Morrisville | Jordan Lake Allocation - Level I | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 3.5
RTP South | Jordan Lake Allocation - Level I | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 3.5
Chatham County N | Jordan Lake Allocation - Level I | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 6
Durham | Jordan Lake Allocation - Level I | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 10
| L. Michie and Little River Reservoir | Reservoir System | SW | Neuse (10-1) | WS III NSW CA | 28.9
Hillsborough | L. Orange, Ben Johnston, & W. Fk. Eno Res | Reservoir System | SW | Neuse (10-1) | WS-IV NSW ? | 2.6
Holly Springs | Jordan Lake Allocation - Level II | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 2
| Harnett County - Cape Fear River | Purchase | SW | Haw (2-1) | ??? | 6.67
Orange County | Town of Mebane - Graham-Mebane Res. | Purchase | SW | Haw (2-1) | WS-II HQW NSW CA | 0.25
| Jordan Lake Allocation - Level II | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 1
OWASA | Jordan Lake Allocation - Level I | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 5
| Cane Cr. Reservoir and University L. | Reservoir System | SW | Haw (2-1) | WS-II HQW NSW | 10.5
Pittsboro | Haw River | River Withdrawal | SW | Haw (2-1) | WS IV NSW | 2
Raleigh | Falls Lake | Falls Lake Allocation | SW | Neuse (10-1) | WS IV NSW | 66.1
| Lake Benson and Lake Wheeler | Reservoir System | SW | Neuse (10-1) | WS IV-NSW | 11.2
Sanford | Cape Fear River | River Withdrawal | SW | Cape Fear (2-3) | WS II-NSW | 12
Section IV
Projected Need
Jurisidiction | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2010: 2055; 2015: 2060
Apex | 0 | 0 | 0 | 0 | 0 | 0.3 | 1.43 | 1.965 | 2.5 | 2010: 2.77; 2015: 3.04
Cary | 0 | 0 | 0 | 0 | 0.79 | 2.5 | 3.92 | 5.11 | 6.3 | 2010: 6.3; 2015: 6.3
Morrisville | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03 | 2010: 0.06; 2015: 0.09
RTP South | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2010: 0; 2015: 0
Chatham County N | 0 | 0 | 0 | 0.815 | 2.34 | 4.13 | 5.92 | 7.035 | 8.15 | 2010: 10.13; 2015: 12.11
Durham | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.07 | 2.96 | 2010: 4.21; 2015: 5.47
Hillsborough | 0 | 0 | 0 | 0 | 0.1 | 0.265 | 0.43 | 0.605 | 0.78 | 2010: 0.94; 2015: 1.1
Holly Springs | 0 | 0 | 0 | 0 | 0 | 0 | 0.07 | 0.57 | 1.07 | 2010: 1.59; 2015: 2.11
Orange County | 0 | 0.11 | 0.45 | 0.895 | 1.34 | 1.755 | 2.17 | 2.56 | 2.95 | 2010: 3.31; 2015: 3.67
OWASA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2010: 0; 2015: 0
Pittsboro | 0 | 0 | 1.34 | 3.555 | 5.77 | 6.93 | 8.09 | 8.445 | 8.8 | 2010: 9.28; 2015: 9.76
Raleigh | 0 | 0 | 0 | 0 | 5.1 | 10.05 | 15 | 20.2 | 25.4 | 2010: 31.55; 2015: 37.7
Sanford | 0 | 0 | 0 | 0 | 0 | 1.335 | 3.21 | 5.815 | 8.42 | 2010: 10.605; 2015: 12.79
Total | 0 | 0.11 | 1.79 | 5.265 | 15.44 | 27.265 | 40.24 | 53.38 | 67.36 | 2010: 80.75; 2015: 94.14
Section V - Alternatives | bar: 2010 to 2045
JLP Recommended Alternative Composition, by Partner | [5 empty] | Additional | Development | Year
Partner | Name | Type | SW or GW | Basin | WQ Classification | Supply | Time (yrs) | Online
Apex | Jordan Lake Allocation Round 4 | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 2 | 5 | 2015
Apex | Jordan Lake Allocation - Future | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 1.1 | 5 | 2045
CMR | Jordan Lake Allocation Round 4 | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 5.2 | 5 | 2015
CMR | Jordan Lake Allocation- Future Rounds | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 1.4 | 5 | 2045
Chatham County | Jordan Lake Allocation Round 4 | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 7.1 | 5 | 2015
Chatham County | Jordan Lake Allocation- Future Rounds | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 5.1 | 5 | 2045
Durham | Teer Quarry Expansion | Quarry Reservoir | SW | Neuse (10-1) | WS-IV NSW | 6 | 6 | 2025
Durham | Jordan Lake Allocation Round 4 | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 0-2.6 | 5 | 2015
Hillsborough | W. Fork Eno Reservoir Expansion | Reservoir Expansion | SW | Neuse (10-1) | WS-IV NSW ? | 1.2 | 8 | 2020
Hillsborough | Jordan Lake Allocation Round 4 | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 1 | 5 | 2015
Holly Springs | Jordan Lake Allocation Round 4 | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 2 | 5 | 2015
Holly Springs | Jordan Lake Allocation - Future Round | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 0.2 | 5 | 2045
Orange County | Town of Mebane Purchase | Purchase | SW | Haw (2-1) | WS-II HQW NSW CA | 0.5 | 1 | 2015
Orange County | Town of Mebane Purchase (2) | Purchase | SW | Haw (2-1) | WS-II HQW NSW CA | 1.3 | 5 | 2025
Orange County | Jordan Lake Allocation Round 4 | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 1.5 | 5 | 2015
Orange County | Jordan Lake Allocation - Future Round | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 0.5 | 5 | 2045
OWASA | Stone Quarry Expansion | Quarry Reservoir | SW | Haw (2-1) | WS-II/HQW/NSW | 2.1 | 7 | 2035
Pittsboro | Jordan Lake Allocation Round 4 | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 6 | 5 | 2015
Pittsboro | Haw River Withdrawal | River Withdrawal | SW | Haw (2-1) | WS IV NSW | 2 | 3 | 2017
Pittsboro | Haw River Withdrawal (2) | River Withdrawal | SW | Haw (2-1) | WS IV NSW | 4 | 10 | 2025

## Example Data
This is an example of data for a made up system. Copy and paste (paste special>values) the data into the relevant tabs on the "DataIn" tab to get an idea how the spreadsheet works.
Example System | JorLaPolis
PWSID | 03-45-678
Demand Projections
Sector | Subsector | 2010 | 2020 | 2030 | 2040 | 2050 | 2060
Residential | Residential | 1 | 1.8 | 2.4 | 2.9 | 3.2 | 3.3
Commercial | Commercial | 0.6 | 1 | 1.4 | 2 | 2.3 | 2.6
Industrial | Industrial | 0.45 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
Institutional | Institutional | 0 | 0 | 0 | 0 | 0 | 0
System Process | System Process | 0.1025 | 0.099 | 0.129 | 0.162 | 0.18 | 0.192
System Process | WTP Process | 0.08979 | 0.070158 | 0.091418 | 0.1148 | 0.12756 | 0.13606
Non-Revenue | Other Non-Revenue | 0.09225 | 0.1089 | 0.1419 | 0.1782 | 0.198 | 0.2112
Residential/Commercial/Etc | Sales | 0.3 | 0.3 | 0.3 | 0.55 | 0.55 | 0.55
Population |  | 2010 | 2020 | 2030 | 2040 | 2050 | 2060
|  | 12500 | 24000 | 33333.3333 | 41428.5714 | 47058.8235 | 50769.2308
Sales
Purchaser | PWSID (purchaser) | Contract Amount (MGD) | Begin Year | End Year | Regular or Emergency | Pipe Size (in.)
Tinyville | 03-45-999 | 0.3 | 2000 | 2030 | Regular | 8
Neighborville | 03-45-001 | 1.5 | 2000 |  | Emergency | 12
Purchase Contracts
Supplier | PWSID (supplier) | Contract Amount (MGD) | Begin Year | End Year | Regular or Emergency | Pipe Size (in.) | Equiv. Supply (MGD)
Big City | 03-41-000 | 5 | 2005 | 2055 | Emergency | 12
Neighborville | 03-45-001 | 1.5 | 2000 |  | Emergency | 12
Sources
Source Name | Basin | 2010: SW or GW; 2020: WQ Classification; 2030: Supply (MGD)
Jordan Lake Allocation | Haw (2-1) | 2010: SW; 2020: WS IV B NSW CA; 2030: 2
JLP Reservoir | Haw (2-1) | 2010: SW; 2020: WS-II; 2030: 3.2
Source Options - Future |  | 2010: Include all source options under consideration. List Jordan Lake first.
Source | Type | SW or GW | Basin | WQ Classification | Development Time (yrs) | Earliest Year Online | Available Supply (MGD) | Supply Range
Jordan Lake Allocation | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 3 | 2015 | 4 | 0 - 6
Raise JLP Reservoir | Modify Reservoir | SW | Haw (2-1) | WS-II | 10 | 2025 | 3 | 1 - 3
JorLa Quarry Reservoir | Quarry Reservoir | SW | Haw (2-1) | WS-II | 25 | 2040 | 2
Purchase from Big City | Purchase | SW | Neuse (10-1) |  | 1 | 2014 | 4 | 0 - 6
Muddy Creek Withdrawal | Stream Withdrawal | SW | Haw (2-1) | WS-II | 5 | 2019 | 4

## DataIn
| Partner | Orange County |  | Date | 2014-02-22 | <-- Enter the date you complete filling out this workbook.
| PWSID | N/A
Demand Projections
| Sector | Subsector | 2010 | 2020 | 2030 | 2040 | 2050 | 2060
| Residential |  | 9254 | 277592 | 647711 | 1017835 | 1387957 | 1758079 |  | <---Enter your demand data in these rows. You must enter the correct data in the correct row.
| Commercial/Industrial |  | 13892 | 416702 | 972302 | 1527902 | 2083502 | 2639102 |  | for the Population & Demand Projections sheet to work.
| Non-Revenue | Other Non-Revenue | 1735.95 | 52072.05 | 121500.975 | 190930.275 | 260359.425 | 329788.575
| Conservation |  | -709.1356 | -42542.8649 | -148899.4449 | -311980.0694 | -531784.1256 | -808311.7973
| 5-yr demand projections - | <-- Calculated from above, but feel free to replace as appropriate with more accurate 5-year projections.
| Sector | Subsector | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
| Residential |  | 0.009254 | 0.14342 | 0.27759 | 0.46265 | 0.64771 | 0.83277 | 1.0178 | 1.2029 | 1.388 | 1.573 | 1.7581
| Commercial/Industrial |  | 0.013892 | 0.2153 | 0.4167 | 0.6945 | 0.9723 | 1.2501 | 1.5279 | 1.8057 | 2.0835 | 2.3613 | 2.6391
| Non-Revenue | Other Non-Revenue | 0.0017359 | 0.026904 | 0.052072 | 0.086787 | 0.1215 | 0.15622 | 0.19093 | 0.22564 | 0.26036 | 0.29507 | 0.32979
| Conservation |  | -0.00070914 | -0.021626 | -0.042543 | -0.095721 | -0.1489 | -0.23044 | -0.31198 | -0.42188 | -0.53178 | -0.67005 | -0.80831
|  | TOTAL | 0 | 0.4 | 0.7 | 1.1 | 1.6 | 2 | 2.4 | 2.8 | 3.2 | 3.6 | 3.9 | (or else, paste into the "Sales Commitments" of the Population and Demand Projections tab)
Population
|  |  | 2010 | 2020 | 2030 | 2040 | 2050 | 2060
| Population Table | Enter Population projection: | 132 | 3966 | 9253 | 14541 | 19828 | 25115
| 5-yr population projections | <-- Calculated from above, but feel free to replace as appropriate with more accurate 5-year projections.
|  |  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
|  |  | 132 | 2049 | 3966 | 6609.5 | 9253 | 11897 | 14541 | 17184.5 | 19828 | 22471.5 | 25115
Sales Contracts
| Purchaser | PWSID (purchaser) | 2010: Contract Amount (MGD); 2015: Begin Year; 2020: End Year; 2025: Regular or Emergency; 2030: Pipe Size (in.)
<-- Enter data on your current sales contracts.
Sources - Existing
Delete Data and Replace with your own.
| Source Name | Basin | 2010: SW or GW; 2015: WQ Classification; 2020: Supply (MGD); 2035: Basins; 2040: http://www.ncwater.org/water_supply_planning/local_water_supply_plan/docs/river_basin_map.pdf
| City of Mebane | Haw (2-1) | 2010: SW; 2015: WS-II; 2020: 0.25; 2040: Haw (2-1); 2050: Neuse (10-1)
[9 empty] | Deep (2-2) |  | Contentnea (10-2)
Cape Fear (2-3)
[8 empty] | WQ Classifications: |  | http://portal.ncdenr.org/web/wq/ps/csu/classifications
Purchase Contracts- Existing
| Supplier | PWSID (supplier) | 2010: Contract Amount (MGD); 2015: Begin Year; 2020: End Year; 2025: Regular or Emergency; 2030: Pipe Size (in.); 2035: Equiv. Supply (MGD)
Note: In general, DWR wants to see the entire Contract amount available for supply for both sales and purchase contracts.
If you use the equivalent supply column to claim a lower supply than the contract amount, explain why in Section III.
| Source Options - Future | Include all source options under consideration. List Jordan Lake first.
# | Source | Type | SW or GW | Basin | WQ Classification | Development Time (yrs) | Earliest Year Online | Available Supply (MGD) | Supply Range
1 | Jordan Lake Allocation | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA |  | 2015 | 3 | 2.0-4.0 | <-- Always include Jordan Lake first. Don't differentiate LI, LII here.
2 | Mebane Supply | Other | 2010: SW; 2015: Haw (2-1); 2020: WS-II; 2030: 2012; 2035: 2; 2040: 0.25-2.0
3 |  | Modify Reservoir | bar: 2010 to 2040
4 |  | Stream Withdrawal | bar: 2010 to 2040
5 |  | Storage Allocation | bar: 2010 to 2040
6 |  | Quarry/Raw Transfer | bar: 2010 to 2040
7 |  | Purchase | bar: 2010 to 2040
8 | bar: 2010 to 2040
Other Data Entry tasks
| ContactInfo_UseSector Desc | Go to this tab to enter contact information and use sector descriptions.
| Population & Demand Projections | Enter data on contracts/sales, and future sources.
| Supply Alternatives Summary | Enter data on Alternatives: Descriptions and ratings.
| Supply Alternative _ tabs | Enter the sources (type 1, 2, or 3 at lower left). Adjust supply, year online if necessary. Fill out return flow/consumption/basin information.
Note on C72: TJCOG: Possible Responses.
Note on D72: TJCOG: All should be surface water.
Note on I72: TJCOG: List the most appropriate supply for the default option for Alternative 1.
Note on J72: TJCOG: Add a range if the source can be configured several ways.

## ReportTables
Section I
| General Tables Here | [7 empty] | Timeline Tables here
Table I.1 - Use Sector Descriptions
(See "Use Sector Descriptions" tab)
Table I.1 - Title
Table I.2 - Population Projections --> | [8 empty] | Table I.2 - Population Projections 2010 - 2060
See Table at right | [7 empty] | Service Area | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
[8 empty] | Area A | 100 | 2000 | 4000 | 6600 | 9300 | 11900 | 14500 | 17200 | 19800 | 22500 | 25100
[8 empty] | Area B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | <-- Don't include any lines you don't need. Most applicants can exclude the first column if there is only one set of population figures.
Table I.3 - Demand Projections | [7 empty] | Area C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(See Demand Tables Tab) | [7 empty] | TOTAL | 100 | 2000 | 4000 | 6600 | 9300 | 11900 | 14500 | 17200 | 19800 | 22500 | 25100 |  | <-- Only include TOTAL row if you have more than one row of population numbers.
Table I.4 - Sales Contracts | [7 empty] | Sales timeline (optional) Use if desired in report.
Supplier | PWSID | Contract Amount (MGD) | Begin Year | End Year | Regular or Emergency | Pipe Size (in.) |  | Purchaser | Current Contract | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Town A - Water System | 00-00-000 | 2 | 2010 | 2060 | Regular | 12 |  |  | [MGD]
| 00-00-000 | [6 empty] | Subdiv. A | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2
00-00-000
TOTAL
TOTAL
Section II
No tables are set for all partners. Partners are encouraged to add tables as necessary to support their applications/
Section III
Table III.1X - Purchase Contracts (use for regular purchases, or if no sources)
Supplier | PWSID | Contract Amount (MGD) | Begin Year | End Year | Regular or Emergency | Pipe Size (in.) | Equiv. Supply (MGD) |  | Note: Equivalent supply may be what you rate the purchase contract to be able to provide on an average day basis, if the contract amount is fixed.
| 00-00-000 | [8 empty] | 2010: Sum of Equiv. Supply shouild only include Regular contracts.
00-00-000
| 00-00-000 | [7 empty] | Note: In general, DWR wants to see the entire Contract amount available for supply for both sales and purchase contracts.
If you use the equivalent supply column to claim a lower supply than the contract amount, explain why in Section III.
TOTAL | [6 empty] | 0 |  | Leave off equivalent supply column if it is equivalent to the Contract Amount.
Table III.1 - Source Summary of [Partner's] Existing Water Supply Sources
Source | PWSID | SW or GW | Basin | WQ Classification | Available Supply (MGD) |  |  | Table III Notes, References
City of Mebane | N/A | SW | Haw (2-1) | WS-II | 0.25 |  |  | Basins | http://www.ncwater.org/water_supply_planning/local_water_supply_plan/docs/river_basin_map.pdf
Jordan Lake | N/A | SW | 0 | 0 | 0 |  |  |  | Haw (2-1) | 2015: Neuse (10-1)
0 | N/A | 0 | 0 | 0 | 0 |  |  |  | Deep (2-2) | 2015: Contentnea (10-2)
Cape Fear (2-3)
TOTAL |  |  |  |  | 0.25 |  |  | WQ Classifications: |  | 2010: http://portal.ncdenr.org/web/wq/ps/csu/classifications
Section IV - Water Supply Need
Table IV.1 - Water Supply Needs | [8 empty] | Table IV.1 - Water Supply Needs
See Timeline table at Right
[9 empty] | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
[8 empty] | Demand | 0.024173 | 0.364 | 0.70382 | 1.1482 | 1.5926 | 2.0087 | 2.4247 | 2.8124 | 3.2 | 3.5593 | 3.9187
[8 empty] | Supply | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
[8 empty] | Demand % of Supply | 9.669% | 145.6% | 281.5% | 459.3% | 637% | 803.5% | 969.9% | 1125% | 1280% | 1424% | 1567%
[8 empty] | Need | 0 | 0.114 | 0.45382 | 0.89822 | 1.3426 | 1.7587 | 2.1747 | 2.5624 | 2.95 | 3.3093 | 3.6687
Section V
Source Options
Table V.1 Source options descriptions
Source | Type | Basin | WQ Classification | Year Online (earliest) | Available Supply (MGD) | Supply Range (MGD)
Jordan Lake Allocation | Jordan Lake | Haw (2-1) | WS IV B NSW CA | 2015 | 3 | 2.0-4.0
Mebane Supply | Other | Haw (2-1) | WS-II | 2012 | 0 | 0
0 | Modify Reservoir | 0 | 0 | 0 | 0 | 0
0 | Stream Withdrawal | 0 | 0 | 0 | 0 | 0
0 | Storage Allocation | 0 | 0 | 0 | 0 | 0
0 | Quarry/Raw Transfer | 0 | 0 | 0 | 0 | 0
0 | Purchase | 0 | 0 | 0 | 0 | 0
0 | 0
Table V.2 - Alternatives description - See the Supply Alternatives summary. Copy and paste text into report's table V.2
Table V.3 - Source Composition of Supply Alternatives
Need and Source Options | Alternative 1 | Alternative 2
Total Projected Need (2045) | 2.5624 | 2.5624
Total Projected Need (2060) | 3.6687 | 3.6687
Sources:
Jordan Lake Allocation - Rd 4 | 2 | 4 |  |  | <-- Note: The sources are presented in the same order you place them in the Source options table.
City of Mebane Supply | 2 | 0
Total New Supply (MGD) | 4 | 4
Table V.4 - Water Supply Alternatives Ratings
Classification | Alternative 1 | Alternative 2
Rd. 4 Allocation Request (% of storage) | 1.5 | 3
Total Supply (MGD) | 3 | 3
Environmental Impacts | Less Than | More Than
Water Quality Classification | WS IV B NSW CA | WS IV B NSW CA
Timeliness | 2015 | 2015 | * | Fill out Values in "Supply Alternatives Summary Table"
Interbasin Transfer (MGD) | 0.8 | 0.8 |  | Paste this table as a whole into a new blank row in the word document. Don't try to paste values into existing table.
Regional Partnerships | Yes, JLP | Yes
Technical Complexity | Not Complex | Complex
Institutional Complexity | Not Complex | Not Complex
Political Complexity | Complex | Complex
Public Benefits | Few | Few
Consistency with local plans | Yes | Yes
Total Cost ($ millions) | 2 | 2.9
Unit Cost ($/1000 gallons) | 24.7996 | 37.3769
Selected Alternative | 1
Section IV
Table VI.1 - Implementation timeline
(work in progress)
[7 empty] | Source | Year Online | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
[7 empty] | Jordan Lake Allocation | 2015 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
[7 empty] | Mebane Supply | 2012 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
[7 empty] | Mebane Supply | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | <-- It's clearer if you make the text after the first instance match the background formatting.
[7 empty] | #N/A | #N/A
[7 empty] | TOTAL NEW SUPPLY |  | 0 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Table VI.2 - Jordan Lake Costs
(no template provided - see guidance in application guidance.)
Table VI.3 - Overall costs for selected alternative
(Create your own table to represent your cost data.)
Note on J11: TJCOG: Only need to include this portion if you have distinct service area populations you'd like to break out.

## ReportFigures
Section I
Figure I.1 - Map of Service Area
Partners include a map of their service area.
Figure I.X2 - Demand Projections by Sector | [5 empty] | Figure I.X2b | Demand Projection Percentages (Optional)
Section II
No set figures. Partners may add figures as they wish to support this section.
Section III
Figure III.1 - Map of Water Sources and Treatment Plants
(Recommended that partners add a map of water sources and treatment plants)
Section IV
No set figures. Partners may add figures as they wish to support this section.
Optional | Figure IV.1 - Projected Demand and Need relative to Current Supply.
[6 empty] | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
[5 empty] | Current Supply | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
[5 empty] | Existing Demand | 0.024173 | 0.024173 | 0.024173 | 0.024173 | 0.024173 | 0.024173 | 0.024173 | 0.024173 | 0.024173 | 0.024173 | 0.024173
[5 empty] | Currently Supportable Demand | 0 | 0.22583 | 0.22583 | 0.22583 | 0.22583 | 0.22583 | 0.22583 | 0.22583 | 0.22583 | 0.22583 | 0.22583
[5 empty] | Projected Need | 0 | 0.114 | 0.45382 | 0.89822 | 1.3426 | 1.7587 | 2.1747 | 2.5624 | 2.95 | 3.3093 | 3.6687
Section V
Figure V.1 –Map of Water Supply Source Options |  | (optional map. Re-number if you don't include)
Figure V.2 – Timeline of need versus new water supply for the alternatives |  |  | (This figure shows the timing of additional sources coming online.)
|  |  |  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
|  |  | Need | 0 | 0.114 | 0.45382 | 0.89822 | 1.3426 | 1.7587 | 2.1747 | 2.5624 | 2.95 | 3.3093 | 3.6687
|  |  | Alt. 1 | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4
|  |  | Alt. 2 | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4
Figures V.X - XX - Source Alternative Figures
Add drawings, maps, schematics, photos as necessary to provide more complete descriptions of the Alternatives.
Section VI
No set figures. Partners may add figures as they wish to support this section.
|  |  |  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
|  |  | Need | 0 | 0.114 | 0.45382 | 0.89822 | 1.3426 | 1.7587 | 2.1747 | 2.5624 | 2.95 | 3.3093 | 3.6687
|  |  | Jordan Lake Allocation | 0 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 2 | 2 | 2
|  |  | City of Mebane | 0 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 2 | 2 | 2

## DemandTables
Option1 - Full Table
Sector | Subsector | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Residential |  | 0.009254 | 0.14342 | 0.27759 | 0.46265 | 0.64771 | 0.83277 | 1.0178 | 1.2029 | 1.388 | 1.573 | 1.7581
Commercial/Industrial |  | 0.013892 | 0.2153 | 0.4167 | 0.6945 | 0.9723 | 1.2501 | 1.5279 | 1.8057 | 2.0835 | 2.3613 | 2.6391
Non-Revenue | Other Non-Revenue | 0.0017359 | 0.026904 | 0.052072 | 0.086787 | 0.1215 | 0.15622 | 0.19093 | 0.22564 | 0.26036 | 0.29507 | 0.32979
Conservation |  | -0.00070914 | -0.021626 | -0.042543 | -0.095721 | -0.1489 | -0.23044 | -0.31198 | -0.42188 | -0.53178 | -0.67005 | -0.80831
TOTAL |  | 0.024173 | 0.364 | 0.70382 | 1.1482 | 1.5926 | 2.0087 | 2.4247 | 2.8124 | 3.2 | 3.5593 | 3.9187
|  | 0.024882 | 0.38562 | 0.74637 | 1.2439 | 1.7415 | 2.2391 | 2.7367 | 3.2342 | 3.7318 | 4.2294 | 4.727

## ContactInfo_Use Sector Desc
Contact Information
Local Government Entity | Orange County
Water System PWSID # | N/A
Contact Person | Kevin Lindley
Title | Staff Engineer
Email | klindley@orangecountync.gov
Phone 1 | 919-245-2583
Phone 2
Provide a description of the groups of customers included in each use sector or sub-sector
Use Sector | Use Sub-sector | Description
Residential | All Residential | All residential uses
Commercial/Industrial | All Non-residential | All Non-residential uses
Industrial
Institutional
Unique
Non-Revenue | Distribution System Process | All Non-revenue is combined into this one category.
Water Treatment Process
Other Non-Revenue
Insert more rows as needed

## Population&Demand Projections
Local Water Supply Plan supplemental information for Jordan Lake Allocation Application
Applicant | Orange County
Date | 2014-02-22
Projections
Type of Population to be Served
|  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Year-round population |  | 132 | 2049 | 3966 | 6609.5 | 9253 | 11897 | 14541 | 17184.5 | 19828 | 22471.5 | 25115
Seasonal Population (if applicable)
Indicate months of seasonal use
| Jan | Feb | Mar | Apr | May | June | Jul | Aug | Sept | Oct | Nov | Dec
Type of Use (Average Daily Service Area Demand in Million Gallons per Day (MGD) Do not include sales to other systems)
|  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
(1) Residential |  | 0.009254 | 0.14342 | 0.27759 | 0.46265 | 0.64771 | 0.83277 | 1.0178 | 1.2029 | 1.388 | 1.573 | 1.7581
(2) Commercial |  | 0.013892 | 0.2153 | 0.4167 | 0.6945 | 0.9723 | 1.2501 | 1.5279 | 1.8057 | 2.0835 | 2.3613 | 2.6391
(3) Industrial
(4) Institutional
Sub-total |  | 0.023146 | 0.35872 | 0.69429 | 1.1572 | 1.62 | 2.0829 | 2.5457 | 3.0086 | 3.4715 | 3.9343 | 4.3972
(6) All Non-revenue water (7.5%) | 0.05 | 0.0017359 | 0.026904 | 0.052072 | 0.086787 | 0.1215 | 0.15622 | 0.19093 | 0.22564 | 0.26036 | 0.29507 | 0.32979
(7) Conservation/Efficiency (-2.85% per decade) |  | -0.00070914 | -0.021626 | -0.042543 | -0.095721 | -0.1489 | -0.23044 | -0.31198 | -0.42188 | -0.53178 | -0.67005 | -0.80831
(8) Total Service Area Demand |  | 0.024173 | 0.364 | 0.70382 | 1.1482 | 1.5926 | 2.0087 | 2.4247 | 2.8124 | 3.2 | 3.5593 | 3.9187
Sales Commitments |  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Existing Sales Contracts (list buyer and years covered by contract)
0
Existing commitments for additional Future Sales (list buyer)
Total Sales Contracts |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total System Demand |  | 0.024173 | 0.364 | 0.70382 | 1.1482 | 1.5926 | 2.0087 | 2.4247 | 2.8124 | 3.2 | 3.5593 | 3.9187
|  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Future Sales Contracts that have already been agreed to. | bar: 2010 to 2030
Water Supplied to: |  | 2010: Contract Amount and Duration; 2025: Pipe Size; 2030: Regular or
System Name | PWSID | 2010: MGD; 2015: Year Begin; 2020: Year End; 2025: (inches); 2030: Emergency
Future Supplies List all new supplies or facilities which were under development as of July 1, 2012 | bar: 2010 to 2035
Source or Facility Name | PWSID | 2010: SW or GW; 2015: Sub-Basin; 2020: Wat Qual; 2025: Expected; 2030: Development; 2035: Year
|  |  |  | Classification | Supply | Time | Online
Demand - Supply Comparison (Show all quantities in Million Gallons per Day )
Available Supply , MGD | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
(1) Existing Surface Water Supply | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
(2) Existing Ground Water Supply
(3) Existing Purchase Contracts | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(4) Future Supplies | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(5) Total Available Supply | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
(6) Service Area Demand | 0.024173 | 0.364 | 0.70382 | 1.1482 | 1.5926 | 2.0087 | 2.4247 | 2.8124 | 3.2 | 3.5593 | 3.9187
(7) Existing Sales Contracts | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(8) Contracts for Future Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(9) Total Average Daily Demand | 0.024173 | 0.364 | 0.70382 | 1.1482 | 1.5926 | 2.0087 | 2.4247 | 2.8124 | 3.2 | 3.5593 | 3.9187
(10) Demand as Percent of Supply | 9.669% | 145.6% | 281.5% | 459.3% | 637% | 803.5% | 969.9% | 1125% | 1280% | 1424% | 1567%
Additional Information for J.L. Allocation
(12) Sales Under Existing Contracts | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(13) Expected Sales Under Future Contracts | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(14) Demand in Each Planning Period | 0.024173 | 0.364 | 0.70382 | 1.1482 | 1.5926 | 2.0087 | 2.4247 | 2.8124 | 3.2 | 3.5593 | 3.9187
(15) Supply Deficit (Demand minus Supply) | -0.22583 | 0.114 | 0.45382 | 0.89822 | 1.3426 | 1.7587 | 2.1747 | 2.5624 | 2.95 | 3.3093 | 3.6687
Note on C37: Donald Rayno: The number in this cell is calculated from the data entered for 2010. If it is not appropriate to use this value for estimating this category in future years enter a recommended value in this cell. If this value is changed explain why in the application.

## Supply Alternative 1
| Orange County | Applicant
| 2014-02-22 | Date
Future Supply Alternative 1 - JLP Recommended Alternative
| List the Components of each alternative scenario including the expected period when each component will come online. | [6 empty] | Show all water volumes in millions of gallons per day
| [Name/Title here] | (label the alternative presented in this table)
|  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
| (1) Line (15) From Demand - Supply Comparison Table | -0.22583 | 0.114 | 0.45382 | 0.89822 | 1.3426 | 1.7587 | 2.1747 | 2.5624 | 2.95 | 3.3093 | 3.6687
| (2) Available supply from Jordan Lake Allocation | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
| Available supply from Mebane Supply | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
| Available supply from project 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | <-- Add lines as needed if more than 3 sources.
| (3) Supply Available for future needs | 0.22583 | 3.886 | 3.5462 | 3.1018 | 2.6574 | 2.2413 | 1.8253 | 1.4376 | 1.05 | 0.69065 | 0.33134
| (4) Total discharge to Source Basin |  | 0.2048 | 0.4096 | 0.6592 | 0.9088 | 1.146 | 1.3832 | 1.6044 | 1.8256 | 2.0308 | 2.236 | <--- Fill out discharge and Source basin information on your own.
| (5) Consumptive Use in Source Basin |  | 0.0462 | 0.0924 | 0.1598 | 0.2272 | 0.2865 | 0.3458 | 0.4011 | 0.4564 | 0.5077 | 0.559
| (6) Total discharge to Receiving Basin |  | 0.0808 | 0.1616 | 0.2636 | 0.3656 | 0.4607 | 0.5558 | 0.6451 | 0.7344 | 0.8168 | 0.8992
| (7) Consumptive Use in Receiving Basin |  | 0.0202 | 0.0404 | 0.0659 | 0.0914 | 0.1153 | 0.1392 | 0.1614 | 0.1836 | 0.2042 | 0.2248
| (8) Amount NOT returned to Source Basin | 0 | 0.101 | 0.202 | 0.3295 | 0.457 | 0.576 | 0.695 | 0.8065 | 0.918 | 1.021 | 1.124
List details of the future supply options included in this alternative scenario | bar: (label the alternative presented in this table) 2010 to (label the alternative presented in this table) 2040
| Future Source | PWSID | SW or GW | GS 143-215.22G | Wat. Qual | Additional | Development | Year
# |  | (label the alternative presented in this table) 2020: Basin; (label the alternative presented in this table) 2025: Classification; (label the alternative presented in this table) 2030: Supply mgd; (label the alternative presented in this table) 2035: Time (years); (label the alternative presented in this table) 2040: Online; (label the alternative presented in this table) 2045: <-- Manually modify additional supply and Year online if the alternative differs from the default source option.
1 | Jordan Lake Allocation | N/A | SW | Haw (2-1) | WS IV B NSW CA | 2 | 0 | 2015
2 | Mebane Supply | N/A | SW | Haw (2-1) | WS-II | 2 | 0 | 2012
| 0 | N/A | SW | 0 | 0 | 0 | 0 | 0
| 0 | N/A | SW | 0 | 0 | 0 | 0 | 0
| 0 | N/A | SW | 0 | 0 | 0 | 0 | 0
| 0 | N/A | SW | 0 | 0 | 0 | 0 | 0
| 0 | N/A | SW | 0 | 0 | 0 | 0 | 0
| 0 | N/A | 0 | 0 | 0 | 1.5 | 0 | 2015
^ PWSID is your system's unless otherwise noted.
Note on A22: TJCOG: Enter numbers here for projects 1, 2, and 3 above.

## Supply Alternative 2
| Orange County | Applicant
| 2014-02-22 | Date
Future Supply Alternative 2
| List the Components of each alternative scenario including the expected period when each component will come online. | [6 empty] | Show all water volumes in millions of gallons per day
| [Name/Title here] | (label the alternative presented in this table)
|  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
| (1) Line (15) From Demand - Supply Comparison Table | -0.22583 | 0.114 | 0.45382 | 0.89822 | 1.3426 | 1.7587 | 2.1747 | 2.5624 | 2.95 | 3.3093 | 3.6687
| (2) Available supply from Jordan Lake Allocation | 0 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
| Available supply from project 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Available supply from project 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| (3) Supply Available for future needs | 0.22583 | 3.886 | 3.5462 | 3.1018 | 2.6574 | 2.2413 | 1.8253 | 1.4376 | 1.05 | 0.69065 | 0.33134
(4) Total discharge to Source Basin
(5) Consumptive Use in Source Basin
(6) Total discharge to Receiving Basin
(7) Consumptive Use in Receiving Basin
| (8) Amount NOT returned to Source Basin | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
List details of the future supply options included in this alternative scenario | bar: (label the alternative presented in this table) 2010 to (label the alternative presented in this table) 2040
| Future Source | PWSID | SW or GW | GS 143-215.22G | Wat. Qual | Additional | Development | Year
# |  | (label the alternative presented in this table) 2020: Basin; (label the alternative presented in this table) 2025: Classification; (label the alternative presented in this table) 2030: Supply mgd; (label the alternative presented in this table) 2035: Time (years); (label the alternative presented in this table) 2040: Online
1 | Jordan Lake Allocation | N/A | Jordan Lake | Haw (2-1) | WS IV B NSW CA | 4 | 0 | 2015
| Mebane Supply | N/A | Other | Haw (2-1) | WS-II | 2 | 0 | 2012
| 0 | N/A | Modify Reservoir | 0 | 0 | 0 | 0 | 0
| 0 | N/A | Stream Withdrawal | 0 | 0 | 0 | 0 | 0
| 0 | N/A | Storage Allocation | 0 | 0 | 0 | 0 | 0
| 0 | N/A | Quarry/Raw Transfer | 0 | 0 | 0 | 0 | 0
| 0 | N/A | Purchase | 0 | 0 | 0 | 0 | 0
Note on A22: TJCOG: Enter numbers here for projects 1, 2, and 3 above.

## Supply Alternatives Summary
Applicant | Orange County
Date | 2014-02-22
Alternatives
Alternative 1 | This alternative is the preferred alternative and was developed in collaboration with, and is supported by the Jordan Lake Partnership. This option includes requesting a Jordan Lake allocation to cover the future demand from the eastern and central service areas only, which would be served by the distribution systems of City of Durham and Town of Hillsborough, respectively. The water supply to serve the western service area would come from the City of Mebane.
Alternative 2 | This alternative assumes that 100% of future need is provided through a Jordan Lake allocation. This would involve a significant investment in upgrading the infrastructure needed to get our allocation to the western service area, along with coordination and interconnection agreements with more water systems than Alternative 1.
| Alternative 1 | Alternative 2 | Responses
Allocation Request (% of storage) | 1.5 | 3 | Use a single number
Total Supply (MGD) | 3 | 3 | Use a single number
Environmental Impacts | Less Than | More Than | Use WQ Classification of the Source that provides the most yield
Water Quality Classification | WS IV B NSW CA | WS IV B NSW CA | More Than/The Same/Less than | Alternative 1
Timeliness | 2015 | 2015
Interbasin Transfer (MGD) | 0.8 | 0.8 | MGD or None
Regional Partnerships | Yes, JLP | Yes | Identify "Yes, JLP*" for alternative 1
Technical Complexity | Not Complex | Complex | Not Complex/Complex/Very Complex
Institutional Complexity | Not Complex | Not Complex | Not Complex/Complex/Very Complex
Political Complexity | Complex | Complex | Not Complex/Complex/Very Complex
Public Benefits | Few | Few | None/Few/Many
Consistency with local plans | Yes | Yes
Total Cost ($ millions) | 2 | 2.9 | $ Millions (Capital+O&M, NPV 2010 to 2060, 2010$)
Unit Cost ($/1000 gallons) | 24.7996 | 37.3769 | $/ 1000 gallon supply
| Alt 2 Cost estimate | Based on installing 5-6000 feet of 12" water line to connect the Town of Hillsborough to the OAWS 12 line at Corporation Lake.
| 5000 | feet | 64 | lf | 320000
| 5500 | feet | 105 | lf | 577500
| 6000 | feet | 147 | lf | 882000
These numbers represent the range of $/lf from BM2 bid, Alt. 2
Alternative 1 Unit Cost | Cost = Distribution/Transmission Capital Cost+Jordan Lake Capital Cost + Annual Jordan Lake Maintenance Payment
Annualized cost of capital and maintenance for the period of record, divided by the expected yield. | Cost/Years in period of interest = Annual Cost (A)
Unit Cost = A/Number of 1000 gallons per day of yield (N)

## Sheet1
Jordan Lake Round 4 Allocation Application Division of Responsibility Table
Application | Responsible | Secondary
Section | Party | Party | First Draft | Final Draft | Final
Heading | Kevin Lindley | Tom Davis | 2014-02-20 | TBD | 2014-04-30
Introduction | Kevin Lindley | Tom Davis | 2014-02-20 | TBD | 2014-04-30
Water Demand Forecast | Tom Altieri | Craig Benedict | 2014-02-20 | TBD | 2014-04-30
Kevin Lindley
Conservation and Demand | Tom Davis | Kevin Lindley | 2014-02-20 | TBD | 2014-04-30
Management
Current Water | Kevin Lindley | Tom Davis | 2014-02-20 | TBD | 2014-04-30
Supply
Future Water | Tom Altieri | Tom Davis | 2014-02-20 | TBD | 2014-04-30
Supply Needs
Alternative Water | Kevin Lindley | Tom Davis | 2014-02-20 | TBD | 2014-04-30
Supply Options
Plans to Use | Craig Benedict | Tom Davis | 2014-02-20 | TBD | 2014-04-30
Jordan Lake |  | Kevin Lindley