## JLPData
Overall Demand
| Demand in Year: | [7 empty] | Jurisdiction | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Jurisdiction | 2010 | 2020 | 2030 | 2040 | 2050 | 2060 |  |  | Apex | 3.51 | 4.2 | 5.54 | 6.6 | 7.57 | 8.8 | 9.93 | 10.465 | 11 | 11.27 | 11.54
Apex | 3.51 | 5.54 | 7.57 | 9.93 | 11 | 11.54 |  |  | Cary | 14.89 | 16.7 | 19.53 | 22.2 | 24.29 | 26 | 27.42 | 28.61 | 29.8 | 29.8 | 29.8
Cary | 14.89 | 19.53 | 24.29 | 27.42 | 29.8 | 29.8 |  |  | Morrisville | 1.72 | 2 | 2.48 | 2.8 | 3.03 | 3.3 | 3.41 | 3.47 | 3.53 | 3.56 | 3.59
Morrisville | 1.72 | 2.48 | 3.03 | 3.41 | 3.53 | 3.59 |  |  | RTP South | 0.58 | 0.9 | 1.39 | 1.9 | 2.33 | 2.7 | 3.2 | 3.225 | 3.25 | 3.27 | 3.29
RTP South | 0.58 | 1.39 | 2.33 | 3.2 | 3.25 | 3.29 |  |  | Chatham County N | 2.16 | 3.4 | 5.29 | 6.815 | 8.34 | 10.13 | 11.92 | 13.035 | 14.15 | 16.13 | 18.11
Chatham County N | 2.16 | 5.29 | 8.34 | 11.92 | 14.15 | 18.11 |  |  | Durham | 25.27 | 27.9677 | 30.6654 | 32.4088 | 34.1522 | 36.127 | 38.1017 | 39.9789 | 41.856 | 43.1146 | 44.3733
Durham | 25.27 | 30.6654 | 34.1522 | 38.1017 | 41.856 | 44.3733 |  |  | Hillsborough | 1.16 | 1.74 | 2.32 | 2.51 | 2.7 | 2.865 | 3.03 | 3.205 | 3.38 | 3.54 | 3.7
Hillsborough | 1.16 | 2.32 | 2.7 | 3.03 | 3.38 | 3.7 |  |  | Holly Springs | 1.98 | 3.335 | 4.69 | 5.205 | 5.72 | 6.23 | 6.74 | 7.24 | 7.74 | 8.26 | 8.78
Holly Springs | 1.98 | 4.69 | 5.72 | 6.74 | 7.74 | 8.78 |  |  | Orange County | 0.02 | 0.36 | 0.7 | 1.145 | 1.59 | 2.005 | 2.42 | 2.81 | 3.2 | 3.56 | 3.92
Orange County | 0.02 | 0.7 | 1.59 | 2.42 | 3.2 | 3.92 |  |  | OWASA | 7.86 | 8.09 | 8.32 | 9 | 9.68 | 10.235 | 10.79 | 11.325 | 11.86 | 12.385 | 12.91
OWASA | 7.86 | 8.32 | 9.68 | 10.79 | 11.86 | 12.91 |  |  | Pittsboro | 0.62 | 1.98 | 3.34 | 5.555 | 7.77 | 8.93 | 10.09 | 10.445 | 10.8 | 11.28 | 11.76
Pittsboro | 0.62 | 3.34 | 7.77 | 10.09 | 10.8 | 11.76 |  |  | Raleigh | 52 | 60.95 | 69.9 | 76.15 | 82.4 | 87.35 | 92.3 | 97.5 | 102.7 | 108.85 | 115
Raleigh | 52 | 69.9 | 82.4 | 92.3 | 102.7 | 115 |  |  | Sanford | 6.52 | 7.315 | 8.11 | 9.785 | 11.46 | 13.335 | 15.21 | 17.815 | 20.42 | 22.605 | 24.79
Sanford | 6.52 | 8.11 | 11.46 | 15.21 | 20.42 | 24.79 |  |  | Total | 118.29 | 138.9377 | 162.2754 | 182.0738 | 201.0322 | 218.007 | 234.5617 | 249.1239 | 263.686 | 277.6246 | 291.5633
Total | 118.29 | 162.2754 | 201.0322 | 234.5617 | 263.686 | 291.5633
Population | [8 empty] | Proposed 5-year projections
Jursidiction | 2010 | 2020 | 2030 | 2040 | 2050 | 2060 |  |  |  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Apex | 37700 | 53100 | 74400 | 100500 | 109200 | 112200 |  |  | Apex | 37700 | 41400 | 53100 | 63000 | 74400 | 87400 | 100500 | 104850 | 109200 | 110700 | 112200
Cary incl. Morrisville | 145000 | 176400 | 208100 | 230700 | 247900 | 248400 |  |  | Cary incl. Morrisville | 145000 | 159800 | 176400 | 193200 | 208100 | 222300 | 230700 | 239300 | 247900 | 248150 | 248400
Chatham County N | 10200 | 25900 | 41600 | 57300 | 73400 | 94000 |  |  | Chatham County N | 10200 | 18050 | 25900 | 33750 | 41600 | 49450 | 57300 | 65350 | 73400 | 83700 | 94000
Durham | 227100 | 286400 | 329400 | 372400 | 415400 | 458400 |  |  | Durham | 227100 | 256750 | 286400 | 307900 | 329400 | 350900 | 372400 | 393900 | 415400 | 436900 | 458400
Hillsborough | 14000 | 16800 | 20100 | 24200 | 29000 | 33800 |  |  | Hillsborough | 14000 | 15400 | 16800 | 18450 | 20100 | 22150 | 24200 | 26600 | 29000 | 31400 | 33800
Holly Springs | 24700 | 46700 | 61900 | 74800 | 89000 | 103300 |  |  | Holly Springs | 24700 | 35700 | 46700 | 54300 | 61900 | 68350 | 74800 | 81900 | 89000 | 96150 | 103300
Orange County | 100 | 4000 | 9300 | 14500 | 19800 | 25100 |  |  | Orange County | 100 | 2050 | 4000 | 6650 | 9300 | 11900 | 14500 | 17150 | 19800 | 22450 | 25100
OWASA | 81000 | 94300 | 108600 | 122800 | 137100 | 151300 |  |  | OWASA | 81000 | 87650 | 94300 | 101450 | 108600 | 115700 | 122800 | 129950 | 137100 | 144200 | 151300
Pittsboro | 3700 | 24000 | 58600 | 79900 | 87100 | 96800 |  |  | Pittsboro | 3700 | 13850 | 24000 | 41300 | 58600 | 69250 | 79900 | 83500 | 87100 | 91950 | 96800
Raleigh | 483300 | 638500 | 799100 | 963200 | 1134200 | 1316200 |  |  | Raleigh | 483300 | 560900 | 638500 | 718800 | 799100 | 881150 | 963200 | 1048700 | 1134200 | 1225200 | 1316200
Sanford | 40900 | 56600 | 76000 | 92200 | 111800 | 135700 |  |  | Sanford | 40900 | 48750 | 56600 | 66300 | 76000 | 84100 | 92200 | 102000 | 111800 | 123750 | 135700
RTP South | 0 | 0 | 0 | 0 | 0 | 0 |  |  | RTP South | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTALS | 1067700 | 1422700 | 1787100 | 2132500 | 2453900 | 2775200 |  |  | TOTALS | 1067700 | 1240300 | 1422700 | 1605100 | 1787100 | 1962650 | 2132500 | 2293200 | 2453900 | 2614550 | 2775200
Section III
Current Supply Sources
Jurisdiction | Supply Source | Type | SW or GW | Sub-basin | WQ Classification | Avg. day Supply (MGD)
Apex | Jordan Lake Allocation - Level I | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 8.5
Cary | Jordan Lake Allocation - Level I | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 23.5
Morrisville | Jordan Lake Allocation - Level I | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 3.5
RTP South | Jordan Lake Allocation - Level I | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 3.5
Chatham County N | Jordan Lake Allocation - Level I | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 6
Durham | Jordan Lake Allocation - Level I | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 10
| L. Michie and Little River Reservoir | Reservoir System | SW | Neuse (10-1) | WS III NSW CA | 28.9
Hillsborough | L. Orange, Ben Johnston, & W. Fk. Eno Res | Reservoir System | SW | Neuse (10-1) | WS-IV NSW ? | 2.6
Holly Springs | Jordan Lake Allocation - Level II | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 2
| Harnett County - Cape Fear River | Purchase | SW | Haw (2-1) | ??? | 6.67
Orange County | Town of Mebane - Graham-Mebane Res. | Purchase | SW | Haw (2-1) | ??? | 0.25
| Jordan Lake Allocation - Level II | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 1
OWASA | Jordan Lake Allocation - Level I | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 5
| Cane Cr. Reservoir and University L. | Reservoir System | SW | Haw (2-1) | WS-II HQW NSW | 10.5
Pittsboro | Haw River | River Withdrawal | SW | Haw (2-1) | WS IV NSW | 2
Raleigh | Falls Lake | Falls Lake Allocation | SW | Neuse (10-1) | WS IV NSW | 66.1
| Lake Benson and Lake Wheeler | Reservoir System | SW | Neuse (10-1) | WS IV-NSW | 11.2
Sanford | Cape Fear River | River Withdrawal | SW | Cape Fear (2-3) | WS II-NSW | 12
Section IV
Projected Need
Jurisidiction | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2010: 2055; 2015: 2060
Apex | 0 | 0 | 0 | 0 | 0 | 0.3 | 1.43 | 1.965 | 2.5 | 2010: 2.77; 2015: 3.04
Cary | 0 | 0 | 0 | 0 | 0.79 | 2.5 | 3.92 | 5.11 | 6.3 | 2010: 6.3; 2015: 6.3
Morrisville | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03 | 2010: 0.06; 2015: 0.09
RTP South | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2010: 0; 2015: 0
Chatham County N | 0 | 0 | 0 | 0.815 | 2.34 | 4.13 | 5.92 | 7.035 | 8.15 | 2010: 10.13; 2015: 12.11
Durham | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.07 | 2.96 | 2010: 4.21; 2015: 5.47
Hillsborough | 0 | 0 | 0 | 0 | 0.1 | 0.265 | 0.43 | 0.605 | 0.78 | 2010: 0.94; 2015: 1.1
Holly Springs | 0 | 0 | 0 | 0 | 0 | 0 | 0.07 | 0.57 | 1.07 | 2010: 1.59; 2015: 2.11
Orange County | 0 | 0.11 | 0.45 | 0.895 | 1.34 | 1.755 | 2.17 | 2.56 | 2.95 | 2010: 3.31; 2015: 3.67
OWASA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2010: 0; 2015: 0
Pittsboro | 0 | 0 | 1.34 | 3.555 | 5.77 | 6.93 | 8.09 | 8.445 | 8.8 | 2010: 9.28; 2015: 9.76
Raleigh | 0 | 0 | 0 | 0 | 5.1 | 10.05 | 15 | 20.2 | 25.4 | 2010: 31.55; 2015: 37.7
Sanford | 0 | 0 | 0 | 0 | 0 | 1.335 | 3.21 | 5.815 | 8.42 | 2010: 10.605; 2015: 12.79
Total | 0 | 0.11 | 1.79 | 5.265 | 15.44 | 27.265 | 40.24 | 53.38 | 67.36 | 2010: 80.75; 2015: 94.14
Section V - Alternatives | bar: 2010 to 2045
JLP Recommended Alternative Composition, by Partner
Partner | Name | Type | SW or GW | Basin | WQ Classification | Additional Supply | Development Time (yrs) | Year Online
Apex | Jordan Lake Allocation Round 4 | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 2 | 5 | 2015
Apex | Jordan Lake Allocation - Future | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 1.1 | 5 | 2045
CMR | Jordan Lake Allocation Round 4 | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 5.2 | 5 | 2015
CMR | Jordan Lake Allocation- Future Rounds | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 1.4 | 5 | 2045
Chatham County | Jordan Lake Allocation Round 4 | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 7.1 | 5 | 2015
Chatham County | Jordan Lake Allocation- Future Rounds | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 5.1 | 5 | 2045
Durham | Teer Quarry Expansion | Quarry Reservoir | SW | Neuse (10-1) | WS-IV NSW | 6 | 6 | 2025
Durham | Jordan Lake Allocation Round 4 | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 0-2.6 | 5 | 2015
Hillsborough | W. Fork Eno Reservoir Expansion | Reservoir Expansion | SW | Neuse (10-1) | WS-IV NSW ? | 1.2 | 8 | 2020
Hillsborough | Jordan Lake Allocation Round 4 | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 1 | 5 | 2015
Holly Springs | Jordan Lake Allocation Round 4 | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 2 | 5 | 2015
Holly Springs | Jordan Lake Allocation - Future Round | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 0.2 | 5 | 2045
Orange County | Town of Mebane Purchase | Purchase | SW | Haw (2-1) | WS II HQW NSW? | 0.5 | 1 | 2015
Orange County | Town of Mebane Purchase (2) | Purchase | SW | Haw (2-1) | WS II HQW NSW? | 1.3 | 5 | 2025
Orange County | Jordan Lake Allocation Round 4 | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 1.5 | 5 | 2015
Orange County | Jordan Lake Allocation - Future Round | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 0.5 | 5 | 2045
OWASA | Stone Quarry Expansion | Quarry Reservoir | SW | Haw (2-1) | WS-II/HQW/NSW | 2.1 | 7 | 2035
Pittsboro | Jordan Lake Allocation Round 4 | Jordan Lake | SW | Haw (2-1) | WS IV B NSW CA | 6 | 15 | 2030
Pittsboro | Haw River Withdrawal | River Withdrawal | SW | Haw (2-1) | WS IV NSW | 2 | 5 | 2020
Pittsboro | Haw River Withdrawal (2) | River Withdrawal | SW | Haw (2-1) | WS IV NSW | 2 | 10 | 2025

## DataIn
| Partner | Pittsboro |  | Date | 2014-01-15
| PWSID | 03-19-015
Demand Projections
| Sector | Subsector | 2010 | 2020 | 2030 | 2040 | 2050 | 2060
| Residential | Residential | 0.168 | 1.775 | 4.493 | 6.109 | 6.568 | 7.187
| Commercial | Commercial | 0.132 | 0.573 | 1.319 | 1.794 | 1.973 | 2.213
| Industrial | Industrial | 0.07 | 0.223 | 0.48 | 0.607 | 0.607 | 0.607
| Institutional | Institutional | 0 | 0 | 0 | 0 | 0 | 0
| System Process | System Process | 0 | 0.058 | 0.139 | 0.184 | 0.197 | 0.215
| System Process | WTP Process | 0.102 | 0.164 | 0.381 | 0.297 | 0.318 | 0.346
| Non-Revenue | Other Non-Revenue | 0.091 | 0.249 | 0.435 | 0.576 | 0.617 | 0.672
| Residential/Commercial/Etc | Sales | 0.061 | 0.293 | 0.521 | 0.521 | 0.521 | 0.521
5-yr demand projections -
| Sector | Subsector | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
| Residential | Residential | 0.168 | 0.9715 | 1.775 | 3.134 | 4.493 | 5.301 | 6.109 | 6.3385 | 6.568 | 6.8775 | 7.187
| Commercial | Commercial | 0.132 | 0.3525 | 0.573 | 0.946 | 1.319 | 1.5565 | 1.794 | 1.8835 | 1.973 | 2.093 | 2.213
| Industrial | Industrial | 0.07 | 0.1465 | 0.223 | 0.3515 | 0.48 | 0.5435 | 0.607 | 0.607 | 0.607 | 0.607 | 0.607
| Institutional | Institutional | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| System Process | System Process | 0 | 0.029 | 0.058 | 0.0985 | 0.139 | 0.1615 | 0.184 | 0.1905 | 0.197 | 0.206 | 0.215
| System Process | WTP Process | 0.102 | 0.133 | 0.164 | 0.2725 | 0.381 | 0.339 | 0.297 | 0.3075 | 0.318 | 0.332 | 0.346
| Non-Revenue | Other Non-Revenue | 0.091 | 0.17 | 0.249 | 0.342 | 0.435 | 0.5055 | 0.576 | 0.5965 | 0.617 | 0.6445 | 0.672
| Bulk Sales | Sales | 0.061 | 0.177 | 0.293 | 0.407 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521
|  | TOTAL | 0.6 | 2 | 3.3 | 5.6 | 7.8 | 8.9 | 10.1 | 10.4 | 10.8 | 11.3 | 11.8
Population
|  |  | 2010 | 2020 | 2030 | 2040 | 2050 | 2060
| Population Table |  | 3700 | 24000 | 58600 | 79900 | 87100 | 96800
|  |  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
|  |  | 3700 | 13850 | 24000 | 41300 | 58600 | 69250 | 79900 | 83500 | 87100 | 91950 | 96800
Sales Contracts
| Purchaser | PWSID (purchaser) | 2010: Contract Amount (MGD); 2015: Begin Year; 2020: End Year; 2025: Regular or Emergency; 2030: Pipe Size (in.)
| Chatham County North | 03-19-126 | 2010: 0.5; 2015: 1988; 2025: Emergency; 2030: 8
| Chapel Ridge S/D | 40-19-009 | 2010: 0.52; 2015: 2002; 2025: Regular; 2030: 12
Sources - Existing
| Source Name | Basin | 2010: SW or GW; 2015: WQ Classification; 2020: Supply (MGD)
| Haw River | Haw (2-1) | 2010: SW; 2015: WS IV NSW; 2020: 2
Purchase Contracts- Existing
| Supplier | PWSID (supplier) | 2010: Contract Amount (MGD); 2015: Begin Year; 2020: End Year; 2025: Regular or Emergency; 2030: Pipe Size (in.); 2035: Equiv. Supply (MGD)
none | bar: 2010 to 2035
Source Options - Future
# | Source | Type | SW or GW | Basin | WQ Classification | Development Time (yrs) | Earliest Year Online | Available Supply (MGD) | Supply Range
1 | Jordan Lake Allocation | Jordan Lake | 2010: SW; 2015: Haw (2-1); 2020: WS IV B NSW CA; 2025: 15; 2030: 2030; 2035: 6
2 | Expand Haw River | Additional River Withdrawal | 2010: SW; 2015: Haw (2-1); 2020: WS IV NSW; 2025: 5; 2030: 2020; 2035: 2
3 | Expand Haw River | Additional River Withdrawal | 2010: SW; 2015: Haw (2-1); 2020: WS IV NSW; 2025: 10; 2030: 2025; 2035: 2
4 | bar: 2010 to 2040
5 | bar: 2010 to 2040
6 | bar: 2010 to 2040
7 | bar: 2010 to 2040
8 | bar: 2010 to 2040
9 | bar: 2010 to 2040
10 | bar: 2010 to 2040
Note on C63: TJCOG: Possible Responses.
Note on D63: TJCOG: All should be surface water.
Note on I63: TJCOG: List the most appropriate supply for the default option for Alternative 1.
Note on J63: TJCOG: Add a range if the source can be configured several ways.

## ReportTables
Section I
| General Tables Here | [7 empty] | Timeline Tables here
Table I.1 - Use Sector Descriptions
(See "Use Sector Descriptions" tab)
Table I.1 - Title
Table I.2 - Population Projections --> | [8 empty] | Table I.2 - Population Projections 2010 - 2060
See Table at right | [7 empty] | Service Area | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
[8 empty] | Pittsboro ETJ | 3700 | 13900 | 24000 | 41300 | 58600 | 69300 | 79900 | 83500 | 87100 | 92000 | 96800
[8 empty] | Area B | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Table I.3 - Demand Projections | [7 empty] | Area C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(See Demand Tables Tab) | [7 empty] | TOTAL | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Table I.4 - Sales Contracts | [7 empty] | Sales timeline (optional) Use if desired in report.
Purchaser | PWSID | Contract Amount (MGD) | Begin Year | End Year | Regular or Emergency | Pipe Size (in.) |  | Purchaser | Current Contract | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Chatham County North | 03-19-126 | 0.5 | 1988 |  | Emergency | 8 |  |  | [MGD]
Chapel Ridge S/D | 40-19-009 | 0.5 | 2002 |  | Regular | 12 |  | Chapel Ridge S/D | 0.5 | 0.06 | 0.18 | 0.29 | 0.41 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52
TOTAL |  | 1
[8 empty] | Purchaser | Current Contract | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
[MGD]
[8 empty] | Chapel Ridge S/D | 0.5 | 0.06 | 0.18 | 0.29 | 0.41 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52
[8 empty] | TOTAL | 0.5 | 0.06 | 0.18 | 0.29 | 0.41 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52
Section II
Section III
Table III.1X - Purchase Contracts (use for regular purchases, or if no sources)
Supplier | PWSID | Contract Amount (MGD) | Begin Year | End Year | Regular or Emergency | Pipe Size (in.) | Equiv. Supply (MGD)
none | 00-00-000
00-00-000
00-00-000
TOTAL | [6 empty] | 0
Table III.1 - Source Summary of [Partner's] Existing Water Supply Sources
Source | PWSID | SW or GW | Basin | WQ Classification | Available Supply (MGD)
Haw River | 03-19-015 | SW | Haw (2-1) | WS IV NSW | 2
0 | 03-19-015 | 0 | 0 | 0 | 0
0 | 03-19-015 | 0 | 0 | 0 | 0
TOTAL |  |  |  |  | 2
Section IV - Water Supply Need
Table IV.1 - Water Supply Needs | [8 empty] | Table IV.1 - Water Supply Needs
See Timeline table at Right
[9 empty] | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
[8 empty] | Demand | 0.624 | 1.9795 | 3.335 | 5.5515 | 7.768 | 8.928 | 10.088 | 10.4445 | 10.801 | 11.281 | 11.761
[8 empty] | Supply | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
[8 empty] | Demand % of Supply | 31.2% | 98.97% | 166.8% | 277.6% | 388.4% | 446.4% | 504.4% | 522.2% | 540% | 564.1% | 588.1%
[8 empty] | Need | 0 | 0 | 1.335 | 3.5515 | 5.768 | 6.928 | 8.088 | 8.4445 | 8.801 | 9.281 | 9.761
Section V
Source Options
Table V.1 Source options descriptions
Source | Type | Basin | WQ Classification | Year Online (earliest) | Available Supply (MGD) | Supply Range (MGD)
Jordan Lake Allocation | Jordan Lake | Haw (2-1) | WS IV B NSW CA | 2030 | 6 | 0
Expand Haw River | Additional River Withdrawal | Haw (2-1) | WS IV NSW | 2020 | 2 | 0
Expand Haw River | Additional River Withdrawal | Haw (2-1) | WS IV NSW | 2025 | 2 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0
Table V.2 - Alternatives description - See the Supply Alternatives summary.
Table V.3 - Source Composition of Supply Alternatives
Need and Source Options | Alternative 1 | Alternative 2 | Alternative 3 | Alternative 4 | Alternative 5
Total Projected Need (2045) | 8.4445 | 8.4445 | 8.4445 | 8.4445 | 8.4445
Total Projected Need (2060) | 9.761 | 9.761 | 9.761 | 9.761 | 9.761
Sources:
Jordan Lake Allocation - I | 3 | 10
Jordan Lake Allocation - II | 3 | 0
Expand Haw River | 2 | 0
Expand Haw River | 2 | 0
Total New Supply (MGD) | 10 | 10
Table V.4 - Water Supply Alternatives Ratings
Classification | Alternative 1 | Alternative 2 | Alternative 3 | Alternative 4 | Alternative 5
Rd. 4 Allocation Request (% of storage) | 6% | 10% | 0 | 0 | 0
Total Supply (MGD) | 10 | 10 | 0 | 0 | 0
Environmental Impacts | Less Than | More Than | 0 | 0 | 0
Water Quality Classification | WS IV NSW | WS IV B NSW CA | 0 | 0 | 0
Timeliness | Acceptable | Problematic | 0 | 0 | 0
Interbasin Transfer (MGD) | None | None | 0 | 0 | 0
Regional Partnerships | JLP | JLP | 0 | 0 | 0
Technical Complexity | Complex | Very Complex | 0 | 0 | 0
Institutional Complexity | Complex | Complex | 0 | 0 | 0
Political Complexity | Not Complex | Very Complex | 0 | 0 | 0
Public Benefits | None | None | 0 | 0 | 0
Consistency with local plans | Yes | Yes | 0 | 0 | 0
Total Cost ($ millions) | 77.7 | 80 | 0 | 0 | 0
Unit Cost ($/1000 gallons) | 7.77 | 8 | 0 | 0 | 0
Selected Alternative | 1
Section IV
Table VI.1 - Implementation timeline
[7 empty] | Source | Year Online | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
[7 empty] | Expand Haw River | 2020 | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
[7 empty] | Expand Haw River | 2025 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
[7 empty] | Jordan Lake | 2030 | 0 | 0 | 0 | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 3
[7 empty] | Jordan Lake | 2060 | 2040: 3; 2045: 3; 2050: 3; 2055: 3; 2060: 3
[7 empty] | TOTAL NEW SUPPLY |  | 0 | 0 | 2 | 4 | 7 | 7 | 10 | 10 | 10 | 10 | 10
Table VI.2 - Jordan Lake Costs
Table VI.3 - Overall costs for selected alternative
Note on J11: TJCOG: Only need to include this portion if you have distinct service area populations you'd like to break out.

## ReportFigures
Section I
Figure I.1 - Map of Service Area
Figure I.X2 - Demand Projections by Sector |  |  |  |  | Figure I.X2b | Demand Projection Percentages (Optional)
Section II
Section III
Figure III.1 - Map of Water Sources and Treatment Plants
Section IV
Optional | Figure IV.1 - Projected Demand and Need relative to Current Supply.
|  |  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
|  | Current Supply | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
|  | Existing Demand | 0.624 | 0.624 | 0.624 | 0.624 | 0.624 | 0.624 | 0.624 | 0.624 | 0.624 | 0.624 | 0.624
|  | Currently Supportable Demand | 0 | 1.3555 | 1.376 | 1.376 | 1.376 | 1.376 | 1.376 | 1.376 | 1.376 | 1.376 | 1.376
|  | Projected Need | 0 | 0 | 1.335 | 3.5515 | 5.768 | 6.928 | 8.088 | 8.4445 | 8.801 | 9.281 | 9.761
Section V
Figure V.1 –Map of Water Supply Source Options
Figure V.2 – Timeline of need versus new water supply for the alternatives
|  |  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
|  | Need | 0 | 0 | 1.335 | 3.5515 | 5.768 | 6.928 | 8.088 | 8.4445 | 8.801 | 9.281 | 9.761
|  | Alt. 1 | 0 | 0 | 2 | 4 | 7 | 7 | 10 | 10 | 10 | 10 | 7
|  | Alt. 2 | 0 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Figures V.X - XX - Source Alternative Figures
Section VI

## DemandTables
Option1 - Full Table
Sector | Subsector | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Residential | Residential | 0.168 | 0.9715 | 1.775 | 3.134 | 4.493 | 5.301 | 6.109 | 6.3385 | 6.568 | 6.8775 | 7.187
Commercial | Commercial | 0.132 | 0.3525 | 0.573 | 0.946 | 1.319 | 1.5565 | 1.794 | 1.8835 | 1.973 | 2.093 | 2.213
Industrial | Industrial | 0.07 | 0.1465 | 0.223 | 0.3515 | 0.48 | 0.5435 | 0.607 | 0.607 | 0.607 | 0.607 | 0.607
Institutional | Institutional | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
System Process | System Process | 0 | 0.029 | 0.058 | 0.0985 | 0.139 | 0.1615 | 0.184 | 0.1905 | 0.197 | 0.206 | 0.215
System Process | WTP Process | 0.102 | 0.133 | 0.164 | 0.2725 | 0.381 | 0.339 | 0.297 | 0.3075 | 0.318 | 0.332 | 0.346
Non-Revenue | Other Non-Revenue | 0.091 | 0.17 | 0.249 | 0.342 | 0.435 | 0.5055 | 0.576 | 0.5965 | 0.617 | 0.6445 | 0.672
Bulk Sales | Sales | 0.061 | 0.177 | 0.293 | 0.407 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521
TOTAL |  | 0.624 | 1.9795 | 3.335 | 5.5515 | 7.768 | 8.928 | 10.088 | 10.4445 | 10.801 | 11.281 | 11.761
Option 2 - Pivot Table Compact
Data
Sector | Subsector | 2010 | 2020 | 2030 | 2040 | 2045 | 2050 | 2060
Residential | Residential | 0.168 | 1.775 | 4.493 | 6.109 | 6.3385 | 6.568 | 7.187
Commercial | Commercial | 0.132 | 0.573 | 1.319 | 1.794 | 1.8835 | 1.973 | 2.213
Industrial | Industrial | 0.07 | 0.223 | 0.48 | 0.607 | 0.607 | 0.607 | 0.607
Institutional | Institutional | 0 | 0 | 0 | 0 | 0 | 0 | 0
Non-Revenue | Other Non-Revenue | 0.091 | 0.249 | 0.435 | 0.576 | 0.5965 | 0.617 | 0.672
System Process | System Process | 0 | 0.058 | 0.139 | 0.184 | 0.1905 | 0.197 | 0.215
| WTP Process | 0.102 | 0.164 | 0.381 | 0.297 | 0.3075 | 0.318 | 0.346
TOTAL |  | 0.563 | 3.042 | 7.247 | 9.567 | 9.9235 | 10.28 | 11.24

## ContactInfo_Use Sector Desc
Contact Information
Local Government Entity | Town of Pittsboro
Water System PWSID # | 03-19-015
Contact Person | Fred Royal
Title | Town Engineer
Email | froyal@pittsboronc.gov
Phone 1 | 919-542-2063
Phone 2 | 919-369-8397
Provide a description of the groups of customers included in each use sector or sub-sector
Use Sector | Use Sub-sector | Description
Residential |  | Single family homes, duplexes, apartments - including apartments with a master meter, irrigation
to these buildings
Commercial | Includes Institutional | Commercial businesses and Institutional customers areboth included in this sector. Examples include;
county office buildings, schools, colleges, nursing homes, an daycares
as well as irrigation to these buildings.
Industrial | Manufacturing Plants | Currently serving: WDL, Biolex-1, Biolex-2, Piedmont Biofuel
Institutional | Included in Commercial | Included in commercial sector.
Bulk Sales |  | Master meter to Chapel Ridge subdivision. Not included in residential sector
because significant water demand is for golf course irrigation.
Non-Revenue | Distribution System Process | Included with Other Non-Revenue Water)
| Water Treatment Process | Raw water used at the WTP that is returned to the Haw River. This water is not sent into the distribution system.
| Other Non-Revenue | Fire fighting, leakage, and distribution system process water (flushing).

## Population&Demand Projections
Local Water Supply Plan supplemental information for Jordan Lake Allocation Application
Applicant | Pittsboro
Date | 2014-01-15
Projections
Type of Population to be Served
|  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Year-round population |  | 3700 | 13850 | 24000 | 41300 | 58600 | 69250 | 79900 | 83500 | 87100 | 91950 | 96800
Seasonal Population (if applicable)
Indicate months of seasonal use
| Jan | Feb | Mar | Apr | May | June | Jul | Aug | Sept | Oct | Nov | Dec
Type of Use (Average Daily Service Area Demand in Million Gallons per Day (MGD) Do not include sales to other systems)
|  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
(1) Residential |  | 0.168 | 0.9715 | 1.775 | 3.134 | 4.493 | 5.301 | 6.109 | 6.3385 | 6.568 | 6.8775 | 7.187
(2) Commercial |  | 0.132 | 0.3525 | 0.573 | 0.946 | 1.319 | 1.5565 | 1.794 | 1.8835 | 1.973 | 2.093 | 2.213
(3) Industrial |  | 0.07 | 0.1465 | 0.223 | 0.3515 | 0.48 | 0.5435 | 0.607 | 0.607 | 0.607 | 0.607 | 0.607
(4) Institutional |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sub-total |  | 0.37 | 1.4705 | 2.571 | 4.4315 | 6.292 | 7.401 | 8.51 | 8.829 | 9.148 | 9.5775 | 10.007
(5) System Process - Distribution Process | 0.03 | 0 | 0.029 | 0.058 | 0.0985 | 0.139 | 0.1615 | 0.184 | 0.1905 | 0.197 | 0.206 | 0.215
System Process - WTP Process |  | 0.102 | 0.133 | 0.164 | 0.2725 | 0.381 | 0.339 | 0.297 | 0.3075 | 0.318 | 0.332 | 0.346
(6) Other Non-revenue water (Unaccounted-for) | 0.05 | 0.091 | 0.17 | 0.249 | 0.342 | 0.435 | 0.5055 | 0.576 | 0.5965 | 0.617 | 0.6445 | 0.672
(7) Total Service Area Demand |  | 0.563 | 1.8025 | 3.042 | 5.1445 | 7.247 | 8.407 | 9.567 | 9.9235 | 10.28 | 10.76 | 11.24
Sales Commitments |  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Existing Sales Contracts (list buyer and years covered by contract)
Chatham County North | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chapel Ridge S/D | 0.52 | 0.061 | 0.177 | 0.293 | 0.407 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521
Existing commitments for additional Future Sales (list buyer)
Total Sales Contracts |  | 0.061 | 0.177 | 0.293 | 0.407 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521
Total System Demand |  | 0.624 | 1.9795 | 3.335 | 5.5515 | 7.768 | 8.928 | 10.088 | 10.4445 | 10.801 | 11.281 | 11.761
|  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
Future Sales Contracts that have already been agreed to. | bar: 2010 to 2030
Water Supplied to: |  | 2010: Contract Amount and Duration; 2025: Pipe Size; 2030: Regular or
System Name | PWSID | 2010: MGD; 2015: Year Begin; 2020: Year End; 2025: (inches); 2030: Emergency
none | bar: 2010 to 2030
Future Supplies List all new supplies or facilities which were under development as of July 1, 2012 | bar: 2010 to 2035
Source or Facility Name | PWSID | 2010: SW or GW; 2015: Sub-Basin; 2020: Wat Qual; 2025: Expected; 2030: Development; 2035: Year
|  |  |  | Classification | Supply | Time | Online
Demand - Supply Comparison (Show all quantities in Million Gallons per Day )
Available Supply , MGD | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
(1) Existing Surface Water Supply | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
(2) Existing Ground Water Supply
(3) Existing Purchase Contracts | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(4) Future Supplies | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(5) Total Available Supply | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
(6) Service Area Demand | 0.563 | 1.8025 | 3.042 | 5.1445 | 7.247 | 8.407 | 9.567 | 9.9235 | 10.28 | 10.76 | 11.24
(7) Existing Sales Contracts | 0.061 | 0.177 | 0.293 | 0.407 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521
(8) Contracts for Future Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(9) Total Average Daily Demand | 0.624 | 1.9795 | 3.335 | 5.5515 | 7.768 | 8.928 | 10.088 | 10.4445 | 10.801 | 11.281 | 11.761
(10) Demand as Percent of Supply | 31.2% | 98.97% | 166.8% | 277.6% | 388.4% | 446.4% | 504.4% | 522.2% | 540% | 564.1% | 588.1%
Additional Information for J.L. Allocation
(12) Sales Under Existing Contracts | 0.061 | 0.177 | 0.293 | 0.407 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521 | 0.521
(13) Expected Sales Under Future Contracts | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(14) Demand in Each Planning Period | 0.624 | 1.9795 | 3.335 | 5.5515 | 7.768 | 8.928 | 10.088 | 10.4445 | 10.801 | 11.281 | 11.761
(15) Supply Deficit (Demand minus Supply) | -1.376 | -0.0205 | 1.335 | 3.5515 | 5.768 | 6.928 | 8.088 | 8.4445 | 8.801 | 9.281 | 9.761
Note on C37: Donald Rayno: The number in this cell is calculated from the data entered for 2010. If it is not appropriate to use this value for estimating this category in future years enter a recommended value in this cell. If this value is changed explain why in the application.
Note on C39: Donald Rayno: The number in this cell is calculated from the data entered for 2010. If it is not appropriate to use this value for estimating this category in future years enter a recommended value in this cell. If this value is changed explain why in the application.

## Supply Alternative 1
| Pittsboro | Applicant
| 2014-01-15 | Date
Future Supply Alternative 1 - JLP Recommended Alternative
| List the Components of each alternative scenario including the expected period when each component will come online. | [6 empty] | Show all water volumes in millions of gallons per day
| [Name/Title here] | (label the alternative presented in this table)
|  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
| (1) Line (15) From Demand - Supply Comparison Table | -1.376 | -0.0205 | 1.335 | 3.5515 | 5.768 | 6.928 | 8.088 | 8.4445 | 8.801 | 9.281 | 9.761
| (2) Available supply from Expand Haw River | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
| Available supply from Expand Haw River | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
| Available supply from Jordan Lake Allocation | 0 | 0 | 0 | 0 | 3 | 3 | 6 | 6 | 6 | 6 | 3
| (3) Supply Available for future needs | 1.376 | 0.0205 | 0.665 | 0.4485 | 1.232 | 0.072 | 1.912 | 1.5555 | 1.199 | 0.719 | -2.761
| (4) Total discharge to Source Basin | 0.39 | 0.75 | 1.25 | 1.25 | 3.22 | 3.22 | 3.22 | 3.22 | 3.22 | 3.22 | 3.22
| (5) Consumptive Use in Source Basin | 0.234 | 1.2295 | 2.085 | 4.3015 | 4.548 | 5.708 | 6.868 | 7.2245 | 7.581 | 8.061 | 8.541
| (6) Total discharge to Receiving Basin | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| (7) Consumptive Use in Receiving Basin | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| (8) Amount NOT returned to Source Basin | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
List details of the future supply options included in this alternative scenario | bar: (label the alternative presented in this table) 2010 to (label the alternative presented in this table) 2040
| Future Source | PWSID | SW or GW | GS 143-215.22G | Wat. Qual | Additional | Development | Year
# |  | (label the alternative presented in this table) 2020: Basin; (label the alternative presented in this table) 2025: Classification; (label the alternative presented in this table) 2030: Supply mgd; (label the alternative presented in this table) 2035: Time (years); (label the alternative presented in this table) 2040: Online
3 | Jordan Lake Allocation | 03-19-015 | SW | Haw (2-1) | WS IV B NSW CA | 3 | 15 | 2030
4 | Jordan Lake Allocation | 03-19-015 | SW | Haw (2-1) | WS IV NSW | 3 | 25 | 2040
1 | Expand Haw River | 03-19-015 | SW | Haw (2-1) | WS IV NSW | 2 | 5 | 2020
2 | Expand Haw River | 03-19-015 | SW | Haw (2-1) | WS IV NSW | 2 | 10 | 2025
| 0 | 03-19-015 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 03-19-015 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 03-19-015 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 03-19-015 | 0 | 0 | 0 | 0 | 0 | 0
| Total System Demand | 0.624 | 1.9795 | 3.335 | 5.5515 | 7.768 | 8.928 | 10.088 | 10.4445 | 10.801 | 11.281 | 11.761
| Minumum Consumptive Use in Source Basin | 0.152 | 0.376 | 0.6 | 0.8475 | 1.095 | 1.188 | 1.281 | 1.308 | 1.335 | 1.3715 | 1.408
consumptive use = chapel ridge, reuse, septic, leaks, chatham park %
Note on A22: TJCOG: Enter numbers here for projects 1, 2, and 3 above.

## Supply Alternative 2
| Pittsboro | Applicant
| 2014-01-15 | Date
Future Supply Alternative 2
| List the Components of each alternative scenario including the expected period when each component will come online. | [6 empty] | Show all water volumes in millions of gallons per day
| [Name/Title here] | (label the alternative presented in this table)
|  | 2010 | 2015 | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 2055 | 2060
| (1) Line (15) From Demand - Supply Comparison Table | -1.376 | -0.0205 | 1.335 | 3.5515 | 5.768 | 6.928 | 8.088 | 8.4445 | 8.801 | 9.281 | 9.761
| (2) Available supply from Jordan Lake Allocation | 0 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
| Available supply from project 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Available supply from project 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| (3) Supply Available for future needs | 1.376 | 0.0205 | 8.665 | 6.4485 | 4.232 | 3.072 | 1.912 | 1.5555 | 1.199 | 0.719 | 0.239
| (4) Total discharge to Source Basin | 0.39 | 0.75 | 1.25 | 1.25 | 3.22 | 3.22 | 3.22 | 3.22 | 3.22 | 3.22 | 3.22
| (5) Consumptive Use in Source Basin | 0.234 | 1.2295 | 2.085 | 4.3015 | 4.548 | 5.708 | 6.868 | 7.2245 | 7.581 | 8.061 | 8.541
(6) Total discharge to Receiving Basin
(7) Consumptive Use in Receiving Basin
| (8) Amount NOT returned to Source Basin | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
List details of the future supply options included in this alternative scenario | bar: (label the alternative presented in this table) 2010 to (label the alternative presented in this table) 2040
| Future Source | PWSID | SW or GW | GS 143-215.22G | Wat. Qual | Additional | Development | Year
# |  | (label the alternative presented in this table) 2020: Basin; (label the alternative presented in this table) 2025: Classification; (label the alternative presented in this table) 2030: Supply mgd; (label the alternative presented in this table) 2035: Time (years); (label the alternative presented in this table) 2040: Online
1 | Jordan Lake Allocation | 03-19-015 | Jordan Lake | Haw (2-1) | WS IV B NSW CA | 10 | 5 | 2020
| Expand Haw River | 03-19-015 | Additional River Withdrawal | Haw (2-1) | WS IV NSW | 2 | 5 | 2020
| Expand Haw River | 03-19-015 | Additional River Withdrawal | Haw (2-1) | WS IV NSW | 2 | 10 | 2025
| 0 | 03-19-015 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 03-19-015 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 03-19-015 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 03-19-015 | 0 | 0 | 0 | 0 | 0 | 0
Note on A22: TJCOG: Enter numbers here for projects 1, 2, and 3 above.

## Supply Alternatives Summary
Applicant | Pittsboro
Date | 2014-01-15
Alternatives |  |  | Summary Description
Alternative 1 | Withdraw water from the Haw River while working with partners to build western intake on Jordan Lake
Alternative 2 | Work with partners to build western intake on Jordan Lake as quickly as possible
Alternative 3
Alternative 4
Alternative 5
| Alternative 1 | Alternative 2 | Alternative 3 | Alternative 4 | Alternative 5
Allocation Request (% of storage) | 6% | 10%
Total New Supply (MGD) | 10 | 10
Environmental Impacts | Less Than | More Than
Water Quality Classification | WS IV NSW | WS IV B NSW CA
Timeliness | Good | Good
Interbasin Transfer (MGD) | None | None
Regional Partnerships | JLP | JLP
Technical Complexity | Not Complex | Complex
Institutional Complexity | Not Complex | Complex
Political Complexity | Complex | Complex
Public Benefits | Few | None
Consistency with local plans | Yes | Yes
Total Capital Cost ($ millions) | 67.6 | 67.6
Unit Cost ($Million/MGD) | 6.76 | 6.76