Biocide/Chemical Treatment Worksheet – Form 101

The following calculations are to be performed on any biocidal or chemical products ultimately discharged to the surface waters of North Carolina through NPDES permits that aren’t required to routinely perform Whole Effluent Toxicity (WET) tests. This worksheet must be completed separately for each product in use. This worksheet is to be returned with all appropriate data entered into the designated areas with calculations performed as indicated.

I.	Facility Name

NPDES # NC	Outfall #____________

County

Receiving Stream	7Q10____________(cfs)

(All above information supplied by the Division of Water Quality)

What is the Average Daily Discharge (A.D.D.) volume of the water handling systems to the receiving water body?

A.D.D. = ____________ (in M.G.D.)

Please calculate the Instream Waste Concentration (IWC in percent) of this discharge using the data entered above.

IWC   =    =   =__________%

This value (IWC) represents the waste concentration to the receiving stream during low flow conditions.

II.	What is the name of the whole product chemical treatment proposed for use in the discharge identified in Part I?

Please list the active ingredients and percent composition:

_________%

_________%

_________%

What feed or dosage rate (D.R.) is used in this application? The units must be converted to maximum grams

of whole product used in a 24hr period.

D.R.=   ________________ grams/24hr period

Please note, fluid ounces (a volume) must be converted to grams (a mass). The formula for this conversion is:

Grams of product =  fluid oz. of product X 1 gal. water  X      8.34 lbs.    X  specific gravity of product  X 453.59g.

128 fl. oz.	  1 gal. water	 1 lb.

Estimate total volume of the water handling system between entry of biocidal product and NPDES discharge point. On an attached sheet please provide justification for this estimate (system volume, average cycles per blowdown, holding lagoon size, etc.)

Volume=   ________________ million gallons

What is the pH of the handling system prior to biocide addition? If unknown, enter N/A.  _______________

What is the decay rate (D.K.) of the product? If unknown, assume no decay (D.K.=0) and proceed to asterisk. The degradation must be stated at pH level within 1/2 pH standard unit within handling system. Enter the half-life (half-life is the time required for the initial product to degrade to half of its original concentration). Please provide copies of the sources of this data.

H.L. = _____________ Days

The decay rate is equal to  X  0.69  =  ____________=Decay Rate (D.K.)

Calculate degradation factor (D.F.).  This is the first order loss coefficient.

* D.F.  =  +  (D.K.)  =         +  (                   )  =  ____________

Calculate Steady State Discharge Concentration:

Dischg Conc.  =  =   =     ____________mg/l

Calculate concentration of biocide instream during low flow conditions.

(Receiving Stream Concentration)

=        =           __________________mg/l

Receiving Stream Concentration

III.	Calculate regulated limitation.

List all LC50 and EC50 data available for the whole product according to the following columns. (Note that units should be in mg/l). Please provide copies of the sources of this data.

Organism	Test Duration	LC50/EC50 (mg/l)

___________________________________       ______________________      _________________

___________________________________       ______________________      _________________

___________________________________       ______________________      _________________

___________________________________       ______________________      _________________

___________________________________       ______________________      _________________

___________________________________       ______________________      _________________

Choose the lowest LC50/EC50 listed above:

Enter the LC50/EC50:   _______________

If the half-life (H.L.) is less than 4 days, perform the following calculation.

Regulated Limitation  =  0.05   x   LC50   =   ________________mg/l

If the half-life (H.L.) is greater than or equal to 4 days or unknown, perform the following calculation.

Regulated Limitation  =  0.01   x   LC50   =   ________________mg/l

Choose the appropriate regulated limitation from the calculations immediately above and place in this blank:

____________________mg/liter

From Part II, enter the receiving stream concentration:

___________________mg/liter

IV.	Analysis.

If the receiving stream concentration is greater than the calculated regulated limitation, then this biocide is unacceptable for use.

Person in Responsible Charge

Name (Print)				    Email Address & Phone Number

______________  _____________________________

Signature	                                              Date                  Physical Address of Facility

Person Completing This Worksheet (If different from above)

Name (Print) 			  Email Address & Phone Number

Signature	Date

Please submit to: 	Division of Water Quality

Aquatic Toxicology Branch

1621 Mail Service Center

Raleigh, NC 27699-1621

Contact Info: Molly Nicholson (molly.nicholson@deq.nc.gov)

# Supplemental Metals Analysis

If copper, zinc, or chromium are present in the proposed biocidal compound, complete this worksheet. A separate form must be used for each metal and/or metal compound present in the biocide. List the metal, its chemical formula, molecular weight (MW), formula weight (FW), and the concentration of the metal compound in the biocide (MCC). Complete a separate form for every metal present in the biocide.

Metal_____	Chemical Formula	Molecular Weight of Metal	Formula Weight	Concentration in Biocide

EXAMPLE

Copper	CuSO4•5H2O	63.546 g/mole	249.680 g/mole	0.2 %

__________	_______________	_____________________	_____________	_________________

Dosage rate of Biocide (DR) (from page 1):

DR  =  ____________grams/day

Average Daily Discharge (ADD) (from page 1):

ADD  =  ___________million gallons/day

Discharge Concentration (DC) of Biocide:

DC  =  =  =  ____________grams/million gallons

Convert DC to micrograms/liter (ppb):

DC (µg/l)  =  _______DC (grams/million gal)  x  =  ___________µg/l

Calculate the fraction of metal in the metal-containing compound (MF):

MF  =  =    =  ______________

Calculate the fraction of metal in the biocidal compound (BF):

BF  =  MF  x  =  _____________   x                  =  ___________

Calculate the concentration of metal in the discharge (M):

M  =  DC x  BF  =  ______________µg/l  x  ______________  =  ______________µg/l

Calculate the instream metal concentration (IMC) at low-flow conditions:

IMC  =  M  x  =  ________µg/l  x                  =  __________µg/l

Regulated limitation of metal (from below): _______µg/l

NC General Statutes 15A NCAC 2B.0211 define:

Copper- 7 µg/l water quality action level*            Zinc- 50 µg/l water quality action level*

Chromium- 50 µg/l water quality standard

(*Values which exceed action levels must be addressed directly by aquatic toxicity testing.)