## Survey_Data_Download
NC's LEAD AND COPPER RULE RECORDS UPDATE - SURVEY DATA [includes data from the 2016 Construction Materials Report Form, Sampling Pool Siting Plan-Site Selection Process Form, and the Sampling Pool-Details Form (top portion)]
WATER SYSTEM INFORMATION | [7 empty] | CONSTRUCTION MATERIALS REPORT FORM | [19 empty] | SAMPLING POOL SITING PLAN - SITE SELECTION PROCESS FORM | [31 empty] | LCR SAMPLING POOL DETAILS FORM (Common Info. on Top of Form)
[28 empty] | Question 1 (Distribution system piping construction materials) | [12 empty] | Question 2 (Tier levels) |  |  |  | Question 3 (Methods used to determine Tier level designations) | [10 empty] | Question 4 |  | Question 5 | Date Form Completed
Water System ID (pwsid) | Water System Name (systemname) | Owners Name (ownername) | County (county) | Address (address) | City (city) | State (state) | Zip Code (zipcode) | Lead pipe, piping with lead-lined interior, or lead joint pipe in the distribution mains (leadpipe) | Lead service lines (water main to meter and/or meter to customerâ€™s building) (leadservice) | Lead goosenecks/pigtails (leadgooseneck) | Lead from solder, caulking, alloys and home plumbing (leadsolder) | Galvanized piping, service lines, and home plumbing (galvanized) | Brass (brass) | Steel (steel) | Cast Iron (cast) | Ductile Iron (ductile) | Copper from piping and alloys, service lines and home plumbing (copper) | Glass (glass) | Coal tar lined pipes and tanks (coaltar) | Asbestos cement pipe (asbestos) | Vinyl lined asbestos cement pipe (vinylasbestos) | Cement (non-asbestos) (cement) | PVC (pvc) | Polybutylene (polybutylene) | Polyethylene or Cross-linked polyethylene (PEX) (polyethylene) | Other construction materials (othermaterial) | Date Form Completed (completeddate) | Yes-No - Lead pipe, piping with lead-lined interior, or lead joint pipe in the distribution mains (leadpipe) | Lead pipe, piping with lead-lined interior, or lead joint pipe in the distribution mains (sys_leadpipe) | Lead pipe, piping with lead-lined interior, or lead joint pipe in the distribution mains (cus_leadpipe) | Yes-No - Lead service lines (leadserv) | Lead service lines (sys_leadserv) | Lead service lines (cus_leadserv) | Yes-No - Lead goosenecks/pigtails (goose) | Lead goosenecks/pigtails (sys_goose) | Lead goosenecks/pigtails (cus_goose) | Yes-No - Connections with lead solder (solder) | Connections with lead solder (sys_solder) | Connections with lead solder (cus_solder) | Explain if unable to answer (material_other) | Tier 1 Sites (tier1) | Tier 2 Sites (tier2) | Tier 3 Sites (tier3) | Other Sites (tierother) | Building/plumbing records (plumb) | Statement from former water system personnel (state_water) | Statement from homeowner (state_owner) | On-line parcel information (tax office website) (parcel) | Other methods used (other) | Tax office written records (taxinfo) | Construction under pre-1986 plumbing codes (pre1986) | On-site inspection of plumbing and/or meter box (inspect) | Lead solder swab/scratch test (scratch) | Certificate of occupancy (cert) | Original records from initial monitoring (original) | Were all available sites at the highest priority Tier level selected and listed in the Sampling Pool before adding sites of a lower priority level? (available) | Were all available sites at the highest priority Tier level selected and listed in the Sampling Pool before adding sites of a lower priority level? (avail_explain) | Are any of the sites listed on the attached "Lead and Copper Sampling Pool" a change from the sites sampled during previous monitoring periods? (site_change) | Date Form Completed (completeddate) | System Type (systemtype) | Population (population) | Existing Corrosion Control Treatment (corrosioncontrol) | Number of Samples Required for Standard Monitoring (samplesrequired) | Date Form Completed (completeddate)
Example Entries: | [7 empty] | Note: For all columns in the spreadsheet, "0" = "no" and "1" = "yes"
NC0123456 | SYSTEM A | [6 empty] | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 |  | 2016-10-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | Copper Soldered Plumbing | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 0 |  | 0 | 1 | 0 | 0 | 0 | 1 | 1 |  | 0 | 2016-10-31 | C | 1808 | Orthophosphate Injection | 20 | 2016-11-01
NC0789100 | SYSTEM B | [6 empty] | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 |  | 2016-11-01 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | System side of first question is due to Lead Joints in Distribution System. | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 |  | 0 | 0 | 1 | 0 | 0 | 1 | 1 |  | 0 | 2016-11-01 | C | 4245 | Phosphate and PH Adjustment | 40 | 2016-11-01
NC0212345 | SYSTEM C | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 |  | 2016-11-07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | Each kit includes a plumbing questionnaire. | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 0 | 2016-11-07 | C | 78 | Caustic Soda and PO4 | 5 | 2016-11-07
NC0345678 | SYSTEM D | [6 empty] | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 |  | 2016-11-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 |  | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | Blue Prints | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 0 | 2016-11-14 | N | 562 | Poly Phosphate, Sodas Ash and Chlorine | 20 | 2016-11-14
NC0478910 | SYSTEM E | [6 empty] | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 |  | 2016-11-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | Statement from homeowner/developer | 0 | 0 | 0 | 0 | 0 | 0 | 1 |  | 0 | 2016-11-30 | C | 75 | Soda ash | 5 | 2016-11-30
To access a "live" version of the Public Water Supply Section's database, go to: | [7 empty] | https://www.ncwater.org/?page=679&nohead=1&Action=PublicDataDownload
(Note: The column headings in this spreadsheet correspond to any "live" version's headings and denote the associated form, where applicable.) | [7 empty] | Disclaimer: This file contains system-reported data, which may be incomplete, as some systems have yet to complete all the associated forms.