Pursuant to 15A NCAC 02T .0107(b), if the application does not include all required information and the necessary supporting documentation, the application shall be returned.  The application and attachments shall be prepared in accordance with 15A NCAC 02T .0100, 15A NCAC 02T .0600, and Division Policies.  For more information, visit the Water Quality Permitting Section’s Non-Discharge Branch website.  The Applicant shall submit an electronic copy of the application and attachments uploaded as a single Portable Document Format (PDF) file to https://edocs.deq.nc.gov/Forms/NonDischarge-Branch-Submittal-Form-Ver2, or emailed to Non-Discharge.Reports@ncdenr.gov if less than 20 megabytes (MB).

| SECTION I – APPLICANT INFORMATION |  |  |  |
| --- | --- | --- | --- |
| - Applicant: |  |  |  |
| - Permit No.: WQ00 |  |  |  |
| - Signature authority: | Title: |  |  |
| - Mailing address: |  |  |  |
| City: | State: |  | Zip: - |
| - Contact person: | Email: |  |  |
| Primary phone number: ( ) - | Secondary phone number: ( ) - |  |  |
| - Secondary Contact person: | Email: |  |  |
| Primary phone number: ( ) - | Secondary phone number: ( ) - |  |  |

| SECTION II – FACILITY INFORMATION |  |  |
| --- | --- | --- |
| - Physical address: | County: |  |
| City: | State: NC | Zip: - |

| SECTION III – BILLING INFORMATION |  |  |
| --- | --- | --- |
| - Billing address: |  |  |
| City: | State: | Zip: - |

| SECTION IV – DEED INFORMATION |  |
| --- | --- |
| Has a deed been executed and recorded in the County Register of Deeds pursuant to 15A NCAC 02T .0604(e)(1)? |  |
| Yes – Complete Items 1 through 4 below. No – See Attachment B on Page 3. |  |
| - Parcel No.: | - Date of Purchase: |
| - Deed Book: | - Deed Page Nos.: - |

| SECTION V – OPERATION AND MAINTENANCE AGREEMENT |  |
| --- | --- |
| Permit No.: WQ00 | County: |
| Permittee: (i.e., all deeded property owners) |  |
| The Permittee agrees to operate and maintain the single-family residence wastewater treatment and irrigation system as follows: - Inspect the septic tank annually, and pump out solids as needed. - Inspect and clean the septic tank effluent filter annually. (if applicable) - Inspect the tablet chlorinator weekly. Add wastewater grade chlorine tablets (e.g., calcium hypochlorite) as needed. Swimming pool grade chlorine tablets are not acceptable. (if applicable) - Inspect the ultraviolet disinfection unit weekly. Clean or replace the lamps and quartz sleeves as needed. (if applicable) - Inspect all storage tanks, pumps, and alarms monthly. Remove the floating scum layer in all pump/storage tanks when pumping the septic tank solids out. - Inspect the spray irrigation system monthly to verify: proper operation of the spray heads; that there are no leaks; that vegetative growth does not obstruct the spray heads; that the irrigated wastewater is not ponding in or running off the designated irrigation area; and that there are no objectionable odors. (if applicable) - Inspect the drip irrigation system monthly to verify: proper operation of the drip lines; that there are no leaks; that vegetative growth does not obstruct the drip emitters; that the irrigated wastewater is not ponding in or running off the designated irrigation area; and that there are no objectionable odors. (if applicable) - Maintain a set of Division-approved engineering plans and specifications. - Pay the required annual fee. - Request renewal of this permit on Division-approved forms no later than 180 days prior to expiration. - Sign and provide a Change of Ownership application to any future owner of the single-family residence wastewater treatment and irrigation system for their completion and submission to the Division of Water Resources. I/We understand the above requirements and agree to these terms as part of the issued permit. Signature: Date: Signature: Date: Signature: Date: Signature: Date: All deeded property owners shall sign this Operation and Maintenance Agreement |  |

ATTACHMENT A – SIGNATURE AUTHORITY DELEGATION

Does the signature authority in Section I, Item 3 meet the requirements pursuant to 15A NCAC 02T .0106(b)?

Yes – Skip Attachment A. No – Submit a delegation letter pursuant to 15A NCAC 02T .0106(c) authorizing the signature authority to sign.

ATTACHMENT B – PROPERTY OWNERSHIP DOCUMENTATION

Has a deed been executed and recorded in the County Register of Deeds pursuant to 15A NCAC 02T .0604(f)(1)?

Yes – Complete Items 1 through 4 in Section IV on Page 1. No Submit a written notarized intent to purchase agreement sign by both parties with a plat or survey map pursuant to 15A NCAC 02T .0604(e)(2); or Submit a written notarized lease agreement that specifically indicates the intended use of the property and has been signed by both parties, as well as a plat or survey map pursuant to 15A NCAC 02T .0604(e)(3). Lease agreements shall adhere to the requirements of 15A NCAC 02L .0107.

APPLICANT’S CERTIFICATION

I, attest that this application (Signature authority’s name as noted in Section I, Item 3) has been reviewed by me and is accurate and complete to the best of my knowledge. I understand that if all required parts of this application package are not completed, and that if all required supporting information and attachments are not included, this application package will be returned as incomplete. I further certify pursuant to 15A NCAC 02T .0120(b), that the applicant, or any parent, subsidiary, or other affiliate of the applicant has: not been convicted of environmental crimes under; not previously abandoned a wastewater treatment facility without properly closing the facility; not paid a civil penalty; not been compliant with any compliance schedule in a permit, settlement agreement, or order; not paid an annual fee. Note: The Applicant’s Certification shall be signed pursuant to 15A NCAC 02T .0106(b). An alternate person may be delegated as the signing official if a letter is provided pursuant to 15A NCAC 02T .0106(c). Pursuant to § 143-215.6A and § 143-215.6B, any person who knowingly makes any false statement, representation, or certification in any application package shall be guilty of a Class 2 misdemeanor, which may include a fine not to exceed $10,000 as well as civil penalties up to $25,000 per violation. ## Signature: Date:

THE COMPLETED APPLICATION AND ATTACHMENTS SHALL BE SUBMITTED AS A SINGLE PDF FILE VIA:

| Email: | Laserfiche Upload: |
| --- | --- |
| Non-Discharge.Reports@ncdenr.gov | https://edocs.deq.nc.gov/Forms/NonDischarge-Branch-Submittal-Form-Ver2 |